## Results
Block Type | 384-Well Block
Calibration Background is expired | No
Calibration Background performed on | 07-19-2022
Calibration Normalization FAM-ROX is expired | No
Calibration Normalization FAM-ROX performed on | 04-21-2022
Calibration Normalization VIC-ROX is expired | No
Calibration Normalization VIC-ROX performed on | 04-21-2022
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 04-21-2022
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 04-21-2022
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 04-21-2022
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 04-21-2022
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 04-21-2022
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 04-21-2022
Calibration ROI is expired | No
Calibration ROI performed on | 04-21-2022
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 04-21-2022
Chemistry | TAQMAN
Date Created | 2022-07-28 16:10:22 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | D:\Users\Administrator\Desktop\FELIX\Felix HNM 2.eds
Experiment Name | Felix HNM 2
Experiment Run End Time | 2022-07-28 17:06:15 PM BST
Experiment Type | Standard Curve
Instrument Name | HotPants
Instrument Serial Number | 278871706
Instrument Type | QuantStudio(TM) 7 Flex System
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
User Name
Well Position | Sample Name | Target Name | CT | Sample
A1 |  | HMBS | Undetermined | BLANK
A2 |  | HMBS | Undetermined | BLANK
A3 |  | HMBS | Undetermined | BLANK
A4 |  | HMBS | 28.988 | 1:10
A5 |  | HMBS | 28.6494 | 1:10
A6 |  | HMBS | 29.0135 | 1:10
A7 |  | HMBS | 29.7732 | 1:20
A8 |  | HMBS | 29.7498 | 1:20
A9 |  | HMBS | 29.4934 | 1:20
A10 |  | HMBS | 30.7726 | 1:40
A11 |  | HMBS | 30.8326 | 1:40
A12 |  | HMBS | 30.7061 | 1:40
A13 |  | HMBS | 31.507 | 1:80
A14 |  | HMBS | 31.4464 | 1:80
A15 |  | HMBS | 31.8002 | 1:80
A16 |  | HMBS | 33.0179 | 1:160
A17 |  | HMBS | 32.9807 | 1:160
A18 |  | HMBS | 32.9095 | 1:160
A19 |  | HMBS | 33.7875 | 1:320
A20 |  | HMBS | 33.9713 | 1:320
A21 |  | HMBS | 33.9812 | 1:320
A22 |  | HMBS | 31.7206 | LC1
A23 |  | HMBS | 32.4005 | LC1
A24 |  | HMBS | 32.1827 | LC1
B1 |  | HMBS | 32.3385 | LO1
B2 |  | HMBS | 32.0926 | LO1
B3 |  | HMBS | 31.9414 | LO1
B4 |  | HMBS | 32.34 | LP1
B5 |  | HMBS | 32.3845 | LP1
B6 |  | HMBS | 32.1368 | LP1
B7 |  | HMBS | 35.2832 | HC1
B8 |  | HMBS | 34.655 | HC1
B9 |  | HMBS | 34.5168 | HC1
B10 |  | HMBS | 32.021 | HO1
B11 |  | HMBS | 31.9789 | HO1
B12 |  | HMBS | 31.5454 | HO1
B13 |  | HMBS | 35.4158 | HP1
B14 |  | HMBS | 36.7731 | HP1
B15 |  | HMBS | 35.6847 | HP1
B16 |  | HMBS | 32.2108 | LC2
B17 |  | HMBS | 31.9863 | LC2
B18 |  | HMBS | 31.9777 | LC2
B19 |  | HMBS | Undetermined | LO2
B20 |  | HMBS | 37.5884 | LO2
B21 |  | HMBS | 37.7447 | LO2
B22 |  | HMBS | 38.8751 | LP2
B23 |  | HMBS | 39.1137 | LP2
B24 |  | HMBS | Undetermined | LP2
C1 |  | HMBS | Undetermined | HC2
C2 |  | HMBS | 38.866 | HC2
C3 |  | HMBS | Undetermined | HC2
C4 |  | HMBS | 33.5078 | HO2
C5 |  | HMBS | 33.2447 | HO2
C6 |  | HMBS | 33.6102 | HO2
C7 |  | HMBS | 32.3686 | HP2
C8 |  | HMBS | 32.335 | HP2
C9 |  | HMBS | 32.3142 | HP2
C10 |  | HMBS | 33.0105 | LC3
C11 |  | HMBS | 33.2691 | LC3
C12 |  | HMBS | 32.985 | LC3
C13 |  | HMBS | 32.9655 | LO3
C14 |  | HMBS | 32.9797 | LO3
C15 |  | HMBS | 33.2647 | LO3
C16 |  | HMBS | 34.0877 | LP3
C17 |  | HMBS | 33.809 | LP3
C18 |  | HMBS | 34.0787 | LP3
C19 |  | HMBS | 35.863 | HC3
C20 |  | HMBS | 35.6685 | HC3
C21 |  | HMBS | 35.4568 | HC3
C22 |  | HMBS | 34.7666 | HO3
C23 |  | HMBS | 34.308 | HO3
C24 |  | HMBS | 34.2238 | HO3
D1 |  | HMBS | 35.5653 | HP3
D2 |  | HMBS | 34.8134 | HP3
D3 |  | HMBS | 35.4212 | HP3
D4 |  | HMBS | 31.7549 | LC4
D5 |  | HMBS | 31.4383 | LC4
D6 |  | HMBS | 31.4905 | LC4
D7 |  | HMBS | 32.5482 | LO4
D8 |  | HMBS | 32.2907 | LO4
D9 |  | HMBS | 31.9767 | LO4
D10 |  | HMBS | 33.7293 | LP4
D11 |  | HMBS | 33.3826 | LP4
D12 |  | HMBS | 34.2124 | LP4
D13 |  | HMBS | 33.5664 | HC4
D14 |  | HMBS | 32.9848 | HC4
D15 |  | HMBS | 33.3433 | HC4
D16 |  | HMBS | 36.4103 | HO4
D17 |  | HMBS | 36.5983 | HO4
D18 |  | HMBS | 36.3968 | HO4
D19 |  | HMBS | 32.8376 | HP4
D20 |  | HMBS | 32.2666 | HP4
D21 |  | HMBS | 32.201 | HP4
E1 |  | HMBS | 31.0819 | LC5
E2 |  | HMBS | 30.6546 | LC5
E3 |  | HMBS | 30.6401 | LC5
E4 |  | HMBS | 30.1488 | LO5
E5 |  | HMBS | 29.9832 | LO5
E6 |  | HMBS | 30.0378 | LO5
E7 |  | HMBS | 31.414 | LP5
E8 |  | HMBS | 31.3125 | LP5
E9 |  | HMBS | 31.0868 | LP5
E10 |  | HMBS | 30.96 | HC5
E11 |  | HMBS | 30.481 | HC5
E12 |  | HMBS | 30.7041 | HC5
E13 |  | HMBS | 30.1312 | HO5
E14 |  | HMBS | 29.7183 | HO5
E15 |  | HMBS | 29.6655 | HO5
E16 |  | HMBS | 30.1886 | HP5
E17 |  | HMBS | 29.9067 | HP5
E18 |  | HMBS | 29.9625 | HP5
E19 |  | HMBS | 30.4556 | LC6
E20 |  | HMBS | 30.1722 | LC6
E21 |  | HMBS | 30.2107 | LC6
E22 |  | HMBS | 30.265 | LO6
E23 |  | HMBS | 29.9832 | LO6
E24 |  | HMBS | 29.8903 | LO6
F1 |  | HMBS | 30.4898 | LP6
F2 |  | HMBS | 30.2914 | LP6
F3 |  | HMBS | 30.1412 | LP6
F4 |  | HMBS | 30.8415 | HC6
F5 |  | HMBS | 30.938 | HC6
F6 |  | HMBS | 30.7062 | HC6
F7 |  | HMBS | 30.2701 | HO6
F8 |  | HMBS | 29.9296 | HO6
F9 |  | HMBS | 29.8098 | HO6
F10 |  | HMBS | 30.0515 | HP6
F11 |  | HMBS | 29.9921 | HP6
F12 |  | HMBS | 30.141 | HP6
F13 |  | HMBS | 29.2908 | LPS1
F14 |  | HMBS | 28.9754 | LPS1
F15 |  | HMBS | 28.7615 | LPS1
F16 |  | HMBS | 30.3908 | LPS2
F17 |  | HMBS | 30.5674 | LPS2
F18 |  | HMBS | 30.4323 | LPS2
F19 |  | HMBS | 29.238 | LPS3
F20 |  | HMBS | 29.186 | LPS3
F21 |  | HMBS | 29.1049 | LPS3
F22 |  | HMBS | 29.231 | LPS4
F23 |  | HMBS | 28.8865 | LPS4
F24 |  | HMBS | 28.9463 | LPS4
G1 |  | HMBS | 29.3213 | LPS5
G2 |  | HMBS | 29.2975 | LPS5
G3 |  | HMBS | 29.3655 | LPS5
G4 |  | HMBS | 30.7077 | LPS6
G5 |  | HMBS | 30.1798 | LPS6
G6 |  | HMBS | 30.1505 | LPS6
G7 |  | HMBS | Undetermined | EMPTY
G8 |  | HMBS | Undetermined | EMPTY
G9 |  | HMBS | Undetermined | EMPTY
G10 |  | HMBS | Undetermined | EMPTY
G11 |  | HMBS | Undetermined | EMPTY
G12 |  | HMBS | Undetermined | EMPTY
G13 |  | HMBS | Undetermined | EMPTY
G14 |  | HMBS | Undetermined | EMPTY
G15 |  | HMBS | Undetermined | EMPTY
G16 |  | HMBS | Undetermined | EMPTY
G17 |  | HMBS | Undetermined | EMPTY
G18 |  | HMBS | Undetermined | EMPTY
G19 |  | HMBS | Undetermined | EMPTY
G20 |  | HMBS | Undetermined | EMPTY
G21 |  | HMBS | Undetermined | EMPTY
G22 |  | HMBS | Undetermined | EMPTY
G23 |  | HMBS | Undetermined | EMPTY
G24 |  | HMBS | Undetermined | EMPTY
H1 |  | HMBS | Undetermined | EMPTY
H2 |  | HMBS | Undetermined | EMPTY
H3 |  | HMBS | Undetermined | EMPTY
H4 |  | NFKB1 | Undetermined | BLANK
H5 |  | NFKB1 | Undetermined | BLANK
H6 |  | NFKB1 | Undetermined | BLANK
H7 |  | NFKB1 | 26.9488 | 1:10
H8 |  | NFKB1 | 26.9348 | 1:10
H9 |  | NFKB1 | 26.7925 | 1:10
H10 |  | NFKB1 | 27.9225 | 1:20
H11 |  | NFKB1 | 28.0189 | 1:20
H12 |  | NFKB1 | 27.7263 | 1:20
H13 |  | NFKB1 | 28.8227 | 1:40
H14 |  | NFKB1 | 28.5115 | 1:40
H15 |  | NFKB1 | 28.6884 | 1:40
H16 |  | NFKB1 | 29.8892 | 1:80
H17 |  | NFKB1 | 29.6976 | 1:80
H18 |  | NFKB1 | 29.9751 | 1:80
H19 |  | NFKB1 | 30.9132 | 1:160
H20 |  | NFKB1 | 30.5091 | 1:160
H21 |  | NFKB1 | 30.8125 | 1:160
I1 |  | NFKB1 | 31.7874 | 1:320
I2 |  | NFKB1 | 31.4883 | 1:320
I3 |  | NFKB1 | 31.9721 | 1:320
I4 |  | NFKB1 | 29.9746 | LC1
I5 |  | NFKB1 | 29.289 | LC1
I6 |  | NFKB1 | 29.6472 | LC1
I7 |  | NFKB1 | 29.659 | LO1
I8 |  | NFKB1 | 29.3346 | LO1
I9 |  | NFKB1 | 29.3029 | LO1
I10 |  | NFKB1 | 29.5012 | LP1
I11 |  | NFKB1 | 29.2856 | LP1
I12 |  | NFKB1 | 29.208 | LP1
I13 |  | NFKB1 | 32.5562 | HC1
I14 |  | NFKB1 | 32.1924 | HC1
I15 |  | NFKB1 | 31.9391 | HC1
I16 |  | NFKB1 | 28.9721 | HO1
I17 |  | NFKB1 | 28.7475 | HO1
I18 |  | NFKB1 | 29.0677 | HO1
I19 |  | NFKB1 | 33.5103 | HP1
I20 |  | NFKB1 | 33.4035 | HP1
I21 |  | NFKB1 | 33.4019 | HP1
I22 |  | NFKB1 | 29.5824 | LC2
I23 |  | NFKB1 | 29.3959 | LC2
I24 |  | NFKB1 | 29.1587 | LC2
J1 |  | NFKB1 | 36.7853 | LO2
J2 |  | NFKB1 | 35.9581 | LO2
J3 |  | NFKB1 | 35.5561 | LO2
J4 |  | NFKB1 | 35.0621 | LP2
J5 |  | NFKB1 | 35.2774 | LP2
J6 |  | NFKB1 | 34.6329 | LP2
J7 |  | NFKB1 | 38.357 | HC2
J8 |  | NFKB1 | 37.4452 | HC2
J9 |  | NFKB1 | 36.3443 | HC2
J10 |  | NFKB1 | 30.3564 | HO2
J11 |  | NFKB1 | 30.5264 | HO2
J12 |  | NFKB1 | 30.3181 | HO2
J13 |  | NFKB1 | 29.7005 | HP2
J14 |  | NFKB1 | 29.4423 | HP2
J15 |  | NFKB1 | 29.3502 | HP2
J16 |  | NFKB1 | 30.6693 | LC3
J17 |  | NFKB1 | 30.4985 | LC3
J18 |  | NFKB1 | 30.6165 | LC3
J19 |  | NFKB1 | 30.1261 | LO3
J20 |  | NFKB1 | 30.218 | LO3
J21 |  | NFKB1 | 30.0722 | LO3
J22 |  | NFKB1 | 30.8371 | LP3
J23 |  | NFKB1 | 30.9837 | LP3
J24 |  | NFKB1 | 30.6319 | LP3
K1 |  | NFKB1 | 32.2042 | HC3
K2 |  | NFKB1 | 32.4226 | HC3
K3 |  | NFKB1 | 32.0044 | HC3
K4 |  | NFKB1 | 31.9977 | HO3
K5 |  | NFKB1 | 31.2912 | HO3
K6 |  | NFKB1 | 31.3513 | HO3
K7 |  | NFKB1 | 31.2901 | HP3
K8 |  | NFKB1 | 30.5058 | HP3
K9 |  | NFKB1 | 30.944 | HP3
K10 |  | NFKB1 | 29.4384 | LC4
K11 |  | NFKB1 | 29.2192 | LC4
K12 |  | NFKB1 | 29.2981 | LC4
K13 |  | NFKB1 | 30.0908 | LO4
K14 |  | NFKB1 | 29.5227 | LO4
K15 |  | NFKB1 | 29.3517 | LO4
K16 |  | NFKB1 | 30.3725 | LP4
K17 |  | NFKB1 | 29.7708 | LP4
K18 |  | NFKB1 | 29.8559 | LP4
K19 |  | NFKB1 | 30.8301 | HC4
K20 |  | NFKB1 | 30.4486 | HC4
K21 |  | NFKB1 | 30.2109 | HC4
K22 |  | NFKB1 | 33.1207 | HO4
K23 |  | NFKB1 | 32.9625 | HO4
K24 |  | NFKB1 | 33.0566 | HO4
L1 |  | NFKB1 | 29.5694 | HP4
L2 |  | NFKB1 | 29.184 | HP4
L3 |  | NFKB1 | 29.4132 | HP4
L4 |  | NFKB1 | 28.383 | LC5
L5 |  | NFKB1 | 28.2407 | LC5
L6 |  | NFKB1 | 28.3501 | LC5
L7 |  | NFKB1 | 28.6208 | LO5
L8 |  | NFKB1 | 28.4665 | LO5
L9 |  | NFKB1 | 28.184 | LO5
L10 |  | NFKB1 | 28.5229 | LP5
L11 |  | NFKB1 | 28.292 | LP5
L12 |  | NFKB1 | 28.5334 | LP5
L13 |  | NFKB1 | 28.1199 | HC5
L14 |  | NFKB1 | 28.2807 | HC5
L15 |  | NFKB1 | 28.2267 | HC5
L16 |  | NFKB1 | 28.2461 | HO5
L17 |  | NFKB1 | 28.1543 | HO5
L18 |  | NFKB1 | 27.9258 | HO5
L19 |  | NFKB1 | 28.72 | HP5
L20 |  | NFKB1 | 28.3155 | HP5
L21 |  | NFKB1 | 28.4287 | HP5
M1 |  | NFKB1 | 28.26 | LC6
M2 |  | NFKB1 | 27.9346 | LC6
M3 |  | NFKB1 | 27.9413 | LC6
M4 |  | NFKB1 | 28.3141 | LO6
M5 |  | NFKB1 | 28.0538 | LO6
M6 |  | NFKB1 | 28.1307 | LO6
M7 |  | NFKB1 | 28.3414 | LP6
M8 |  | NFKB1 | 28.1449 | LP6
M9 |  | NFKB1 | 28.0274 | LP6
M10 |  | NFKB1 | 28.499 | HC6
M11 |  | NFKB1 | 28.3223 | HC6
M12 |  | NFKB1 | 28.4445 | HC6
M13 |  | NFKB1 | 28.3222 | HO6
M14 |  | NFKB1 | 28.2444 | HO6
M15 |  | NFKB1 | 28.0838 | HO6
M16 |  | NFKB1 | 28.5793 | HP6
M17 |  | NFKB1 | 28.3919 | HP6
M18 |  | NFKB1 | 28.3478 | HP6
M19 |  | NFKB1 | 27.8858 | LPS1
M20 |  | NFKB1 | 27.5389 | LPS1
M21 |  | NFKB1 | 27.4146 | LPS1
M22 |  | NFKB1 | 28.3564 | LPS2
M23 |  | NFKB1 | 28.8252 | LPS2
M24 |  | NFKB1 | 28.8936 | LPS2
N1 |  | NFKB1 | 27.6349 | LPS3
N2 |  | NFKB1 | 27.447 | LPS3
N3 |  | NFKB1 | 27.6823 | LPS3
N4 |  | NFKB1 | 27.397 | LPS4
N5 |  | NFKB1 | 27.3782 | LPS4
N6 |  | NFKB1 | 27.2927 | LPS4
N7 |  | NFKB1 | 27.8318 | LPS5
N8 |  | NFKB1 | 27.64 | LPS5
N9 |  | NFKB1 | 27.4757 | LPS5
N10 |  | NFKB1 | 28.0208 | LPS6
N11 |  | NFKB1 | 27.9198 | LPS6
N12 |  | NFKB1 | 27.7271 | LPS6
N13 |  | NFKB1 | Undetermined | EMPTY
N14 |  | NFKB1 | Undetermined | EMPTY
N15 |  | NFKB1 | Undetermined | EMPTY
N16 |  | NFKB1 | Undetermined | EMPTY
N17 |  | NFKB1 | Undetermined | EMPTY
N18 |  | NFKB1 | Undetermined | EMPTY
N19 |  | NFKB1 | Undetermined | EMPTY
N20 |  | NFKB1 | Undetermined | EMPTY
N21 |  | NFKB1 | Undetermined | EMPTY
N22 |  | NFKB1 | Undetermined | EMPTY
N23 |  | NFKB1 | Undetermined | EMPTY
N24 |  | NFKB1 | Undetermined | EMPTY
O1 |  | NFKB1 | Undetermined | EMPTY
O2 |  | NFKB1 | Undetermined | EMPTY
O3 |  | NFKB1 | Undetermined | EMPTY
O4 |  | NFKB1 | Undetermined | EMPTY
O5 |  | NFKB1 | Undetermined | EMPTY
O6 |  | NFKB1 | Undetermined | EMPTY
O7 |  | NFKB1 | Undetermined | EMPTY
O8 |  | NFKB1 | Undetermined | EMPTY
O9 |  | NFKB1 | Undetermined | EMPTY
How to use improved spreadsheet
1. Copy results into the 'Results sheet' , in the same format as shown here
2. Check that everything has copies over to the 'Results Workspace' (pull down the formula to add more rows). The sample names and genes should change automatically, and the helper column should format itself as "Sample Name""|""Gene Name" (e.g "BLANK|PGCK1")
3. On the individual gene spreadsheet, add the correct sample names to the 'Sample' column. Then, for the 'Helper' column, change the gene name in the first cell in the row and drag the formula down to the other rows.
4. This will fill in all the CT values for you
5. Edit the results workspace to get rid of red highlighted 'CV Ct' values. Do this by going through and removing outliers.
6. Change the names in the 'Housekeeper deltaCT' sheet (if you need to), and copy the formula down. Repeat for the 'Summary' page, which is for your target genes
7. If you have questions, then ask Emily. Apologies for the messy example data. The robot didn't pipette very well.

## Results Workspace
Well | Ct from reader | Corrected Cts | Sample Name | Average Ct | STDEV | Target Name | Helper
A1 | Undetermined | 40.1 | BLANK | 40.1 | 0 | HMBS | BLANK¦HMBS
A2 | Undetermined | 40.1 |  |  |  | HMBS
A3 | Undetermined | 40.1 |  |  |  | HMBS
A4 | 28.988 | 28.988 | 1:10 | 28.8836 | 0.16592 | HMBS | 1:10¦HMBS
A5 | 28.6494 | 28.6494 |  |  |  | HMBS
A6 | 29.0135 | 29.0135 |  |  |  | HMBS
A7 | 29.7732 | 29.7732 | 1:20 | 29.6721 | 0.12674 | HMBS | 1:20¦HMBS
A8 | 29.7498 | 29.7498 |  |  |  | HMBS
A9 | 29.4934 | 29.4934 |  |  |  | HMBS
A10 | 30.7726 | 30.7726 | 1:40 | 30.7705 | 0.051673 | HMBS | 1:40¦HMBS
A11 | 30.8326 | 30.8326 |  |  |  | HMBS
A12 | 30.7061 | 30.7061 |  |  |  | HMBS
A13 | 31.507 | 31.507 | 1:80 | 31.5845 | 0.1545 | HMBS | 1:80¦HMBS
A14 | 31.4464 | 31.4464 |  |  |  | HMBS
A15 | 31.8002 | 31.8002 |  |  |  | HMBS
A16 | 33.0179 | 33.0179 | 1:160 | 32.9694 | 0.044983 | HMBS | 1:160¦HMBS
A17 | 32.9807 | 32.9807 |  |  |  | HMBS
A18 | 32.9095 | 32.9095 |  |  |  | HMBS
A19 | 33.7875 | 33.7875 | 1:320 | 33.9133 | 0.089053 | HMBS | 1:320¦HMBS
A20 | 33.9713 | 33.9713 |  |  |  | HMBS
A21 | 33.9812 | 33.9812 |  |  |  | HMBS
A22 | 31.7206 | 31.7206 | LC1 | 32.1012 | 0.28347 | HMBS | LC1¦HMBS
A23 | 32.4005 | 32.4005 |  |  |  | HMBS
A24 | 32.1827 | 32.1827 |  |  |  | HMBS
B1 | 32.3385 | 32.3385 | LO1 | 32.1241 | 0.16363 | HMBS | LO1¦HMBS
B2 | 32.0926 | 32.0926 |  |  |  | HMBS
B3 | 31.9414 | 31.9414 |  |  |  | HMBS
B4 | 32.34 | 32.34 | LP1 | 32.2871 | 0.10783 | HMBS | LP1¦HMBS
B5 | 32.3845 | 32.3845 |  |  |  | HMBS
B6 | 32.1368 | 32.1368 |  |  |  | HMBS
B7 | 35.2832 | 35.2832 | HC1 | 34.8183 | 0.33352 | HMBS | HC1¦HMBS
B8 | 34.655 | 34.655 |  |  |  | HMBS
B9 | 34.5168 | 34.5168 |  |  |  | HMBS
B10 | 32.021 | 32.021 | HO1 | 31.8485 | 0.21497 | HMBS | HO1¦HMBS
B11 | 31.9789 | 31.9789 |  |  |  | HMBS
B12 | 31.5454 | 31.5454 |  |  |  | HMBS
B13 | 35.4158 | 35.4158 | HP1 | 35.5503 | 0.13445 | HMBS | HP1¦HMBS
B14 | 36.7731 |  |  |  |  | HMBS
B15 | 35.6847 | 35.6847 |  |  |  | HMBS
B16 | 32.2108 | 32.2108 | LC2 | 32.0583 | 0.10792 | HMBS | LC2¦HMBS
B17 | 31.9863 | 31.9863 |  |  |  | HMBS
B18 | 31.9777 | 31.9777 |  |  |  | HMBS
B19 | Undetermined |  | LO2 | 37.6665 | 0.078146 | HMBS | LO2¦HMBS
B20 | 37.5884 | 37.5884 |  |  |  | HMBS
B21 | 37.7447 | 37.7447 |  |  |  | HMBS
B22 | 38.8751 | 38.8751 | LP2 | 38.9944 | 0.11929 | HMBS | LP2¦HMBS
B23 | 39.1137 | 39.1137 |  |  |  | HMBS
B24 | Undetermined |  |  |  |  | HMBS
C1 | Undetermined |  | HC2 | 38.866 | 0 | HMBS | HC2¦HMBS
C2 | 38.866 | 38.866 |  |  |  | HMBS
C3 | Undetermined |  |  |  |  | HMBS
C4 | 33.5078 | 33.5078 | HO2 | 33.4542 | 0.15398 | HMBS | HO2¦HMBS
C5 | 33.2447 | 33.2447 |  |  |  | HMBS
C6 | 33.6102 | 33.6102 |  |  |  | HMBS
C7 | 32.3686 | 32.3686 | HP2 | 32.3393 | 0.02242 | HMBS | HP2¦HMBS
C8 | 32.335 | 32.335 |  |  |  | HMBS
C9 | 32.3142 | 32.3142 |  |  |  | HMBS
C10 | 33.0105 | 33.0105 | LC3 | 33.0882 | 0.12835 | HMBS | LC3¦HMBS
C11 | 33.2691 | 33.2691 |  |  |  | HMBS
C12 | 32.985 | 32.985 |  |  |  | HMBS
C13 | 32.9655 | 32.9655 | LO3 | 33.07 | 0.1378 | HMBS | LO3¦HMBS
C14 | 32.9797 | 32.9797 |  |  |  | HMBS
C15 | 33.2647 | 33.2647 |  |  |  | HMBS
C16 | 34.0877 | 34.0877 | LP3 | 33.9918 | 0.12933 | HMBS | LP3¦HMBS
C17 | 33.809 | 33.809 |  |  |  | HMBS
C18 | 34.0787 | 34.0787 |  |  |  | HMBS
C19 | 35.863 | 35.863 | HC3 | 35.6628 | 0.16585 | HMBS | HC3¦HMBS
C20 | 35.6685 | 35.6685 |  |  |  | HMBS
C21 | 35.4568 | 35.4568 |  |  |  | HMBS
C22 | 34.7666 | 34.7666 | HO3 | 34.4328 | 0.23854 | HMBS | HO3¦HMBS
C23 | 34.308 | 34.308 |  |  |  | HMBS
C24 | 34.2238 | 34.2238 |  |  |  | HMBS
D1 | 35.5653 | 35.5653 | HP3 | 35.2667 | 0.32584 | HMBS | HP3¦HMBS
D2 | 34.8134 | 34.8134 |  |  |  | HMBS
D3 | 35.4212 | 35.4212 |  |  |  | HMBS
D4 | 31.7549 | 31.7549 | LC4 | 31.5612 | 0.13861 | HMBS | LC4¦HMBS
D5 | 31.4383 | 31.4383 |  |  |  | HMBS
D6 | 31.4905 | 31.4905 |  |  |  | HMBS
D7 | 32.5482 | 32.5482 | LO4 | 32.2719 | 0.23367 | HMBS | LO4¦HMBS
D8 | 32.2907 | 32.2907 |  |  |  | HMBS
D9 | 31.9767 | 31.9767 |  |  |  | HMBS
D10 | 33.7293 | 33.7293 | LP4 | 33.556 | 0.17331 | HMBS | LP4¦HMBS
D11 | 33.3826 | 33.3826 |  |  |  | HMBS
D12 | 34.2124 |  |  |  |  | HMBS
D13 | 33.5664 | 33.5664 | HC4 | 33.2982 | 0.23958 | HMBS | HC4¦HMBS
D14 | 32.9848 | 32.9848 |  |  |  | HMBS
D15 | 33.3433 | 33.3433 |  |  |  | HMBS
D16 | 36.4103 | 36.4103 | HO4 | 36.4684 | 0.091975 | HMBS | HO4¦HMBS
D17 | 36.5983 | 36.5983 |  |  |  | HMBS
D18 | 36.3968 | 36.3968 |  |  |  | HMBS
D19 | 32.8376 | 32.8376 | HP4 | 32.4351 | 0.28587 | HMBS | HP4¦HMBS
D20 | 32.2666 | 32.2666 |  |  |  | HMBS
D21 | 32.201 | 32.201 |  |  |  | HMBS
E1 | 31.0819 | 31.0819 | LC5 | 30.7922 | 0.20492 | HMBS | LC5¦HMBS
E2 | 30.6546 | 30.6546 |  |  |  | HMBS
E3 | 30.6401 | 30.6401 |  |  |  | HMBS
E4 | 30.1488 | 30.1488 | LO5 | 30.0566 | 0.068905 | HMBS | LO5¦HMBS
E5 | 29.9832 | 29.9832 |  |  |  | HMBS
E6 | 30.0378 | 30.0378 |  |  |  | HMBS
E7 | 31.414 | 31.414 | LP5 | 31.2711 | 0.13673 | HMBS | LP5¦HMBS
E8 | 31.3125 | 31.3125 |  |  |  | HMBS
E9 | 31.0868 | 31.0868 |  |  |  | HMBS
E10 | 30.96 | 30.96 | HC5 | 30.715 | 0.19569 | HMBS | HC5¦HMBS
E11 | 30.481 | 30.481 |  |  |  | HMBS
E12 | 30.7041 | 30.7041 |  |  |  | HMBS
E13 | 30.1312 | 30.1312 | HO5 | 29.8383 | 0.20822 | HMBS | HO5¦HMBS
E14 | 29.7183 | 29.7183 |  |  |  | HMBS
E15 | 29.6655 | 29.6655 |  |  |  | HMBS
E16 | 30.1886 | 30.1886 | HP5 | 30.0193 | 0.12189 | HMBS | HP5¦HMBS
E17 | 29.9067 | 29.9067 |  |  |  | HMBS
E18 | 29.9625 | 29.9625 |  |  |  | HMBS
E19 | 30.4556 | 30.4556 | LC6 | 30.2795 | 0.12552 | HMBS | LC6¦HMBS
E20 | 30.1722 | 30.1722 |  |  |  | HMBS
E21 | 30.2107 | 30.2107 |  |  |  | HMBS
E22 | 30.265 | 30.265 | LO6 | 30.0462 | 0.15929 | HMBS | LO6¦HMBS
E23 | 29.9832 | 29.9832 |  |  |  | HMBS
E24 | 29.8903 | 29.8903 |  |  |  | HMBS
F1 | 30.4898 | 30.4898 | LP6 | 30.3074 | 0.14276 | HMBS | LP6¦HMBS
F2 | 30.2914 | 30.2914 |  |  |  | HMBS
F3 | 30.1412 | 30.1412 |  |  |  | HMBS
F4 | 30.8415 | 30.8415 | HC6 | 30.8285 | 0.095078 | HMBS | HC6¦HMBS
F5 | 30.938 | 30.938 |  |  |  | HMBS
F6 | 30.7062 | 30.7062 |  |  |  | HMBS
F7 | 30.2701 | 30.2701 | HO6 | 30.0031 | 0.19498 | HMBS | HO6¦HMBS
F8 | 29.9296 | 29.9296 |  |  |  | HMBS
F9 | 29.8098 | 29.8098 |  |  |  | HMBS
F10 | 30.0515 | 30.0515 | HP6 | 30.0616 | 0.06118 | HMBS | HP6¦HMBS
F11 | 29.9921 | 29.9921 |  |  |  | HMBS
F12 | 30.141 | 30.141 |  |  |  | HMBS
F13 | 29.2908 | 29.2908 | LPS1 | 29.0092 | 0.2174 | HMBS | LPS1¦HMBS
F14 | 28.9754 | 28.9754 |  |  |  | HMBS
F15 | 28.7615 | 28.7615 |  |  |  | HMBS
F16 | 30.3908 | 30.3908 | LPS2 | 30.4635 | 0.075367 | HMBS | LPS2¦HMBS
F17 | 30.5674 | 30.5674 |  |  |  | HMBS
F18 | 30.4323 | 30.4323 |  |  |  | HMBS
F19 | 29.238 | 29.238 | LPS3 | 29.1763 | 0.054781 | HMBS | LPS3¦HMBS
F20 | 29.186 | 29.186 |  |  |  | HMBS
F21 | 29.1049 | 29.1049 |  |  |  | HMBS
F22 | 29.231 | 29.231 | LPS4 | 29.0212 | 0.15029 | HMBS | LPS4¦HMBS
F23 | 28.8865 | 28.8865 |  |  |  | HMBS
F24 | 28.9463 | 28.9463 |  |  |  | HMBS
G1 | 29.3213 | 29.3213 | LPS5 | 29.3281 | 0.028203 | HMBS | LPS5¦HMBS
G2 | 29.2975 | 29.2975 |  |  |  | HMBS
G3 | 29.3655 | 29.3655 |  |  |  | HMBS
G4 | 30.7077 | 30.7077 | LPS6 | 30.346 | 0.25605 | HMBS | LPS6¦HMBS
G5 | 30.1798 | 30.1798 |  |  |  | HMBS
G6 | 30.1505 | 30.1505 |  |  |  | HMBS
G7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HMBS | EMPTY¦HMBS
G8 | Undetermined | 40.1 |  |  |  | HMBS
G9 | Undetermined | 40.1 |  |  |  | HMBS
G10 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HMBS | EMPTY¦HMBS
G11 | Undetermined | 40.1 |  |  |  | HMBS
G12 | Undetermined | 40.1 |  |  |  | HMBS
G13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HMBS | EMPTY¦HMBS
G14 | Undetermined | 40.1 |  |  |  | HMBS
G15 | Undetermined | 40.1 |  |  |  | HMBS
G16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HMBS | EMPTY¦HMBS
G17 | Undetermined | 40.1 |  |  |  | HMBS
G18 | Undetermined | 40.1 |  |  |  | HMBS
G19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HMBS | EMPTY¦HMBS
G20 | Undetermined | 40.1 |  |  |  | HMBS
G21 | Undetermined | 40.1 |  |  |  | HMBS
G22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HMBS | EMPTY¦HMBS
G23 | Undetermined | 40.1 |  |  |  | HMBS
G24 | Undetermined | 40.1 |  |  |  | HMBS
H1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HMBS | EMPTY¦HMBS
H2 | Undetermined | 40.1 |  |  |  | HMBS
H3 | Undetermined | 40.1 |  |  |  | HMBS
H4 | Undetermined | 40.1 | BLANK | 40.1 | 0 | NFKB1 | BLANK¦NFKB1
H5 | Undetermined | 40.1 |  |  |  | NFKB1
H6 | Undetermined | 40.1 |  |  |  | NFKB1
H7 | 26.9488 | 26.9488 | 1:10 | 26.892 | 0.070613 | NFKB1 | 1:10¦NFKB1
H8 | 26.9348 | 26.9348 |  |  |  | NFKB1
H9 | 26.7925 | 26.7925 |  |  |  | NFKB1
H10 | 27.9225 | 27.9225 | 1:20 | 27.8892 | 0.12174 | NFKB1 | 1:20¦NFKB1
H11 | 28.0189 | 28.0189 |  |  |  | NFKB1
H12 | 27.7263 | 27.7263 |  |  |  | NFKB1
H13 | 28.8227 | 28.8227 | 1:40 | 28.6742 | 0.12741 | NFKB1 | 1:40¦NFKB1
H14 | 28.5115 | 28.5115 |  |  |  | NFKB1
H15 | 28.6884 | 28.6884 |  |  |  | NFKB1
H16 | 29.8892 | 29.8892 | 1:80 | 29.854 | 0.11603 | NFKB1 | 1:80¦NFKB1
H17 | 29.6976 | 29.6976 |  |  |  | NFKB1
H18 | 29.9751 | 29.9751 |  |  |  | NFKB1
H19 | 30.9132 | 30.9132 | 1:160 | 30.7449 | 0.17178 | NFKB1 | 1:160¦NFKB1
H20 | 30.5091 | 30.5091 |  |  |  | NFKB1
H21 | 30.8125 | 30.8125 |  |  |  | NFKB1
I1 | 31.7874 | 31.7874 | 1:320 | 31.7493 | 0.19934 | NFKB1 | 1:320¦NFKB1
I2 | 31.4883 | 31.4883 |  |  |  | NFKB1
I3 | 31.9721 | 31.9721 |  |  |  | NFKB1
I4 | 29.9746 | 29.9746 | LC1 | 29.6369 | 0.28001 | NFKB1 | LC1¦NFKB1
I5 | 29.289 | 29.289 |  |  |  | NFKB1
I6 | 29.6472 | 29.6472 |  |  |  | NFKB1
I7 | 29.659 | 29.659 | LO1 | 29.4322 | 0.16093 | NFKB1 | LO1¦NFKB1
I8 | 29.3346 | 29.3346 |  |  |  | NFKB1
I9 | 29.3029 | 29.3029 |  |  |  | NFKB1
I10 | 29.5012 | 29.5012 | LP1 | 29.3316 | 0.12405 | NFKB1 | LP1¦NFKB1
I11 | 29.2856 | 29.2856 |  |  |  | NFKB1
I12 | 29.208 | 29.208 |  |  |  | NFKB1
I13 | 32.5562 | 32.5562 | HC1 | 32.2292 | 0.25325 | NFKB1 | HC1¦NFKB1
I14 | 32.1924 | 32.1924 |  |  |  | NFKB1
I15 | 31.9391 | 31.9391 |  |  |  | NFKB1
I16 | 28.9721 | 28.9721 | HO1 | 28.9291 | 0.1342 | NFKB1 | HO1¦NFKB1
I17 | 28.7475 | 28.7475 |  |  |  | NFKB1
I18 | 29.0677 | 29.0677 |  |  |  | NFKB1
I19 | 33.5103 | 33.5103 | HP1 | 33.4386 | 0.050738 | NFKB1 | HP1¦NFKB1
I20 | 33.4035 | 33.4035 |  |  |  | NFKB1
I21 | 33.4019 | 33.4019 |  |  |  | NFKB1
I22 | 29.5824 | 29.5824 | LC2 | 29.379 | 0.1734 | NFKB1 | LC2¦NFKB1
I23 | 29.3959 | 29.3959 |  |  |  | NFKB1
I24 | 29.1587 | 29.1587 |  |  |  | NFKB1
J1 | 36.7853 |  | LO2 | 35.7571 | 0.20096 | NFKB1 | LO2¦NFKB1
J2 | 35.9581 | 35.9581 |  |  |  | NFKB1
J3 | 35.5561 | 35.5561 |  |  |  | NFKB1
J4 | 35.0621 | 35.0621 | LP2 | 34.9908 | 0.26791 | NFKB1 | LP2¦NFKB1
J5 | 35.2774 | 35.2774 |  |  |  | NFKB1
J6 | 34.6329 | 34.6329 |  |  |  | NFKB1
J7 | 38.357 | 38.357 | HC2 | 37.3821 | 0.82288 | NFKB1 | HC2¦NFKB1
J8 | 37.4452 | 37.4452 |  |  |  | NFKB1
J9 | 36.3443 | 36.3443 |  |  |  | NFKB1
J10 | 30.3564 | 30.3564 | HO2 | 30.4003 | 0.090546 | NFKB1 | HO2¦NFKB1
J11 | 30.5264 | 30.5264 |  |  |  | NFKB1
J12 | 30.3181 | 30.3181 |  |  |  | NFKB1
J13 | 29.7005 | 29.7005 | HP2 | 29.4977 | 0.14828 | NFKB1 | HP2¦NFKB1
J14 | 29.4423 | 29.4423 |  |  |  | NFKB1
J15 | 29.3502 | 29.3502 |  |  |  | NFKB1
J16 | 30.6693 | 30.6693 | LC3 | 30.5948 | 0.071399 | NFKB1 | LC3¦NFKB1
J17 | 30.4985 | 30.4985 |  |  |  | NFKB1
J18 | 30.6165 | 30.6165 |  |  |  | NFKB1
J19 | 30.1261 | 30.1261 | LO3 | 30.1388 | 0.060198 | NFKB1 | LO3¦NFKB1
J20 | 30.218 | 30.218 |  |  |  | NFKB1
J21 | 30.0722 | 30.0722 |  |  |  | NFKB1
J22 | 30.8371 | 30.8371 | LP3 | 30.8176 | 0.14432 | NFKB1 | LP3¦NFKB1
J23 | 30.9837 | 30.9837 |  |  |  | NFKB1
J24 | 30.6319 | 30.6319 |  |  |  | NFKB1
K1 | 32.2042 | 32.2042 | HC3 | 32.2104 | 0.17078 | NFKB1 | HC3¦NFKB1
K2 | 32.4226 | 32.4226 |  |  |  | NFKB1
K3 | 32.0044 | 32.0044 |  |  |  | NFKB1
K4 | 31.9977 |  | HO3 | 31.3213 | 0.030049 | NFKB1 | HO3¦NFKB1
K5 | 31.2912 | 31.2912 |  |  |  | NFKB1
K6 | 31.3513 | 31.3513 |  |  |  | NFKB1
K7 | 31.2901 | 31.2901 | HP3 | 30.9133 | 0.32095 | NFKB1 | HP3¦NFKB1
K8 | 30.5058 | 30.5058 |  |  |  | NFKB1
K9 | 30.944 | 30.944 |  |  |  | NFKB1
K10 | 29.4384 | 29.4384 | LC4 | 29.3185 | 0.090667 | NFKB1 | LC4¦NFKB1
K11 | 29.2192 | 29.2192 |  |  |  | NFKB1
K12 | 29.2981 | 29.2981 |  |  |  | NFKB1
K13 | 30.0908 |  | LO4 | 29.4372 | 0.085489 | NFKB1 | LO4¦NFKB1
K14 | 29.5227 | 29.5227 |  |  |  | NFKB1
K15 | 29.3517 | 29.3517 |  |  |  | NFKB1
K16 | 30.3725 | 30.3725 | LP4 | 29.9997 | 0.26587 | NFKB1 | LP4¦NFKB1
K17 | 29.7708 | 29.7708 |  |  |  | NFKB1
K18 | 29.8559 | 29.8559 |  |  |  | NFKB1
K19 | 30.8301 | 30.8301 | HC4 | 30.4965 | 0.25507 | NFKB1 | HC4¦NFKB1
K20 | 30.4486 | 30.4486 |  |  |  | NFKB1
K21 | 30.2109 | 30.2109 |  |  |  | NFKB1
K22 | 33.1207 | 33.1207 | HO4 | 33.0466 | 0.064951 | NFKB1 | HO4¦NFKB1
K23 | 32.9625 | 32.9625 |  |  |  | NFKB1
K24 | 33.0566 | 33.0566 |  |  |  | NFKB1
L1 | 29.5694 | 29.5694 | HP4 | 29.3889 | 0.15828 | NFKB1 | HP4¦NFKB1
L2 | 29.184 | 29.184 |  |  |  | NFKB1
L3 | 29.4132 | 29.4132 |  |  |  | NFKB1
L4 | 28.383 | 28.383 | LC5 | 28.3246 | 0.060818 | NFKB1 | LC5¦NFKB1
L5 | 28.2407 | 28.2407 |  |  |  | NFKB1
L6 | 28.3501 | 28.3501 |  |  |  | NFKB1
L7 | 28.6208 | 28.6208 | LO5 | 28.4237 | 0.18084 | NFKB1 | LO5¦NFKB1
L8 | 28.4665 | 28.4665 |  |  |  | NFKB1
L9 | 28.184 | 28.184 |  |  |  | NFKB1
L10 | 28.5229 | 28.5229 | LP5 | 28.4494 | 0.11142 | NFKB1 | LP5¦NFKB1
L11 | 28.292 | 28.292 |  |  |  | NFKB1
L12 | 28.5334 | 28.5334 |  |  |  | NFKB1
L13 | 28.1199 | 28.1199 | HC5 | 28.2091 | 0.066846 | NFKB1 | HC5¦NFKB1
L14 | 28.2807 | 28.2807 |  |  |  | NFKB1
L15 | 28.2267 | 28.2267 |  |  |  | NFKB1
L16 | 28.2461 | 28.2461 | HO5 | 28.1087 | 0.13467 | NFKB1 | HO5¦NFKB1
L17 | 28.1543 | 28.1543 |  |  |  | NFKB1
L18 | 27.9258 | 27.9258 |  |  |  | NFKB1
L19 | 28.72 | 28.72 | HP5 | 28.4881 | 0.1704 | NFKB1 | HP5¦NFKB1
L20 | 28.3155 | 28.3155 |  |  |  | NFKB1
L21 | 28.4287 | 28.4287 |  |  |  | NFKB1
M1 | 28.26 | 28.26 | LC6 | 28.0453 | 0.15183 | NFKB1 | LC6¦NFKB1
M2 | 27.9346 | 27.9346 |  |  |  | NFKB1
M3 | 27.9413 | 27.9413 |  |  |  | NFKB1
M4 | 28.3141 | 28.3141 | LO6 | 28.1662 | 0.1092 | NFKB1 | LO6¦NFKB1
M5 | 28.0538 | 28.0538 |  |  |  | NFKB1
M6 | 28.1307 | 28.1307 |  |  |  | NFKB1
M7 | 28.3414 | 28.3414 | LP6 | 28.1713 | 0.12955 | NFKB1 | LP6¦NFKB1
M8 | 28.1449 | 28.1449 |  |  |  | NFKB1
M9 | 28.0274 | 28.0274 |  |  |  | NFKB1
M10 | 28.499 | 28.499 | HC6 | 28.4219 | 0.073868 | NFKB1 | HC6¦NFKB1
M11 | 28.3223 | 28.3223 |  |  |  | NFKB1
M12 | 28.4445 | 28.4445 |  |  |  | NFKB1
M13 | 28.3222 | 28.3222 | HO6 | 28.2168 | 0.099239 | NFKB1 | HO6¦NFKB1
M14 | 28.2444 | 28.2444 |  |  |  | NFKB1
M15 | 28.0838 | 28.0838 |  |  |  | NFKB1
M16 | 28.5793 | 28.5793 | HP6 | 28.4396 | 0.10038 | NFKB1 | HP6¦NFKB1
M17 | 28.3919 | 28.3919 |  |  |  | NFKB1
M18 | 28.3478 | 28.3478 |  |  |  | NFKB1
M19 | 27.8858 | 27.8858 | LPS1 | 27.6131 | 0.19938 | NFKB1 | LPS1¦NFKB1
M20 | 27.5389 | 27.5389 |  |  |  | NFKB1
M21 | 27.4146 | 27.4146 |  |  |  | NFKB1
M22 | 28.3564 | 28.3564 | LPS2 | 28.6917 | 0.23879 | NFKB1 | LPS2¦NFKB1
M23 | 28.8252 | 28.8252 |  |  |  | NFKB1
M24 | 28.8936 | 28.8936 |  |  |  | NFKB1
N1 | 27.6349 | 27.6349 | LPS3 | 27.5881 | 0.10163 | NFKB1 | LPS3¦NFKB1
N2 | 27.447 | 27.447 |  |  |  | NFKB1
N3 | 27.6823 | 27.6823 |  |  |  | NFKB1
N4 | 27.397 | 27.397 | LPS4 | 27.3559 | 0.045387 | NFKB1 | LPS4¦NFKB1
N5 | 27.3782 | 27.3782 |  |  |  | NFKB1
N6 | 27.2927 | 27.2927 |  |  |  | NFKB1
N7 | 27.8318 | 27.8318 | LPS5 | 27.6492 | 0.14553 | NFKB1 | LPS5¦NFKB1
N8 | 27.64 | 27.64 |  |  |  | NFKB1
N9 | 27.4757 | 27.4757 |  |  |  | NFKB1
N10 | 28.0208 | 28.0208 | LPS6 | 27.8893 | 0.12183 | NFKB1 | LPS6¦NFKB1
N11 | 27.9198 | 27.9198 |  |  |  | NFKB1
N12 | 27.7271 | 27.7271 |  |  |  | NFKB1
N13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | NFKB1 | EMPTY¦NFKB1
N14 | Undetermined | 40.1 |  |  |  | NFKB1
N15 | Undetermined | 40.1 |  |  |  | NFKB1
N16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | NFKB1 | EMPTY¦NFKB1
N17 | Undetermined | 40.1 |  |  |  | NFKB1
N18 | Undetermined | 40.1 |  |  |  | NFKB1
N19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | NFKB1 | EMPTY¦NFKB1
N20 | Undetermined | 40.1 |  |  |  | NFKB1
N21 | Undetermined | 40.1 |  |  |  | NFKB1
N22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | NFKB1 | EMPTY¦NFKB1
N23 | Undetermined | 40.1 |  |  |  | NFKB1
N24 | Undetermined | 40.1 |  |  |  | NFKB1
O1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | NFKB1 | EMPTY¦NFKB1
O2 | Undetermined | 40.1 |  |  |  | NFKB1
O3 | Undetermined | 40.1 |  |  |  | NFKB1
O4 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | NFKB1 | EMPTY¦NFKB1
O5 | Undetermined | 40.1 |  |  |  | NFKB1
O6 | Undetermined | 40.1 |  |  |  | NFKB1
O7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | NFKB1 | EMPTY¦NFKB1
O8 | Undetermined | 40.1 |  |  |  | NFKB1
O9 | Undetermined | 40.1 |  |  |  | NFKB1

## HMBS
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 28.8836 | 0.16592 | 0.5745% | 0.1 | -1
1:20 | 29.6721 | 0.12674 | 0.4271% | 0.05 | -1.301
1:40 | 30.7705 | 0.051673 | 0.1679% | 0.025 | -1.6021
1:80 | 31.5845 | 0.1545 | 0.4892% | 0.0125 | -1.9031
1:160 | 32.9694 | 0.044983 | 0.1364% | 0.00625 | -2.2041
1:320 | 33.9133 | 0.089053 | 0.2626% | 0.003125 | -2.5051
| Slope | -3.403
| Efficiency | 1.9672
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20)
BLANK¦HMBS | BLANK | 40.1 | 0 | 0% | 0.00086236
1:10¦HMBS | 1:10 | 28.8836 | 0.16592 | 0.5745% | 1.7049
1:20¦HMBS | 1:20 | 29.6721 | 0.12674 | 0.4271% | 1
1:40¦HMBS | 1:40 | 30.7705 | 0.051673 | 0.1679% | 0.4756
1:80¦HMBS | 1:80 | 31.5845 | 0.1545 | 0.4892% | 0.27417
1:160¦HMBS | 1:160 | 32.9694 | 0.044983 | 0.1364% | 0.10742
1:320¦HMBS | 1:320 | 33.9133 | 0.089053 | 0.2626% | 0.056714
LC1¦HMBS | LC1 | 32.1012 | 0.28347 | 0.883% | 0.19328
LO1¦HMBS | LO1 | 32.1241 | 0.16363 | 0.5094% | 0.19031
LP1¦HMBS | LP1 | 32.2871 | 0.10783 | 0.334% | 0.17044
HC1¦HMBS | HC1 | 34.8183 | 0.33352 | 0.9579% | 0.030743
HO1¦HMBS | HO1 | 31.8485 | 0.21497 | 0.675% | 0.22933
HP1¦HMBS | HP1 | 35.5503 | 0.13445 | 0.3782% | 0.018735
LC2¦HMBS | LC2 | 32.0583 | 0.10792 | 0.3366% | 0.19898
LO2¦HMBS | LO2 | 37.6665 | 0.078146 | 0.2075% | 0.0044749
LP2¦HMBS | LP2 | 38.9944 | 0.11929 | 0.3059% | 0.0018221
HC2¦HMBS | HC2 | 38.866 | 0 | 0% | 0.0019875
HO2¦HMBS | HO2 | 33.4542 | 0.15398 | 0.4603% | 0.077373
HP2¦HMBS | HP2 | 32.3393 | 0.02242 | 0.06933% | 0.16453
LC3¦HMBS | LC3 | 33.0882 | 0.12835 | 0.3879% | 0.099117
LO3¦HMBS | LO3 | 33.07 | 0.1378 | 0.4167% | 0.10035
LP3¦HMBS | LP3 | 33.9918 | 0.12933 | 0.3805% | 0.053781
HC3¦HMBS | HC3 | 35.6628 | 0.16585 | 0.4651% | 0.017362
HO3¦HMBS | HO3 | 34.4328 | 0.23854 | 0.6928% | 0.039906
HP3¦HMBS | HP3 | 35.2667 | 0.32584 | 0.9239% | 0.022699
LC4¦HMBS | LC4 | 31.5612 | 0.13861 | 0.4392% | 0.27853
LO4¦HMBS | LO4 | 32.2719 | 0.23367 | 0.7241% | 0.1722
LP4¦HMBS | LP4 | 33.556 | 0.17331 | 0.5165% | 0.072227
HC4¦HMBS | HC4 | 33.2982 | 0.23958 | 0.7195% | 0.085992
HO4¦HMBS | HO4 | 36.4684 | 0.091975 | 0.2522% | 0.010066
HP4¦HMBS | HP4 | 32.4351 | 0.28587 | 0.8814% | 0.1542
LC5¦HMBS | LC5 | 30.7922 | 0.20492 | 0.6655% | 0.46866
LO5¦HMBS | LO5 | 30.0566 | 0.068905 | 0.2293% | 0.77093
LP5¦HMBS | LP5 | 31.2711 | 0.13673 | 0.4372% | 0.33894
HC5¦HMBS | HC5 | 30.715 | 0.19569 | 0.6371% | 0.49377
HO5¦HMBS | HO5 | 29.8383 | 0.20822 | 0.6978% | 0.89364
HP5¦HMBS | HP5 | 30.0193 | 0.12189 | 0.406% | 0.79064
LC6¦HMBS | LC6 | 30.2795 | 0.12552 | 0.4145% | 0.66299
LO6¦HMBS | LO6 | 30.0462 | 0.15929 | 0.5301% | 0.77639
LP6¦HMBS | LP6 | 30.3074 | 0.14276 | 0.4711% | 0.65059
HC6¦HMBS | HC6 | 30.8285 | 0.095078 | 0.3084% | 0.45727
HO6¦HMBS | HO6 | 30.0031 | 0.19498 | 0.6499% | 0.79933
HP6¦HMBS | HP6 | 30.0616 | 0.06118 | 0.2035% | 0.76835
LPS1¦HMBS | LPS1 | 29.0092 | 0.2174 | 0.7494% | 1.566
LPS2¦HMBS | LPS2 | 30.4635 | 0.075367 | 0.2474% | 0.58538
LPS3¦HMBS | LPS3 | 29.1763 | 0.054781 | 0.1878% | 1.3986
LPS4¦HMBS | LPS4 | 29.0212 | 0.15029 | 0.5179% | 1.5533
LPS5¦HMBS | LPS5 | 29.3281 | 0.028203 | 0.09616% | 1.2621
LPS6¦HMBS | LPS6 | 30.346 | 0.25605 | 0.8438% | 0.63382

## NFKB1
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 26.892 | 0.070613 | 0.2626% | 0.1 | -1
1:20 | 27.8892 | 0.12174 | 0.4365% | 0.05 | -1.301
1:40 | 28.6742 | 0.12741 | 0.4443% | 0.025 | -1.6021
1:80 | 29.854 | 0.11603 | 0.3887% | 0.0125 | -1.9031
1:160 | 30.7449 | 0.17178 | 0.5587% | 0.00625 | -2.2041
1:320 | 31.7493 | 0.19934 | 0.6279% | 0.003125 | -2.5051
| Slope | -3.2301
| Efficiency | 2.0398
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | delta delta Ct (to Housekeepers)
BLANK¦NFKB1 | BLANK | 40.1 | 0 | 0% | 0.00016586
1:10¦NFKB1 | 1:10 | 26.892 | 0.070613 | 0.2626% | 2.0357
1:20¦NFKB1 | 1:20 | 27.8892 | 0.12174 | 0.4365% | 1
1:40¦NFKB1 | 1:40 | 28.6742 | 0.12741 | 0.4443% | 0.57146
1:80¦NFKB1 | 1:80 | 29.854 | 0.11603 | 0.3887% | 0.24646
1:160¦NFKB1 | 1:160 | 30.7449 | 0.17178 | 0.5587% | 0.13059
1:320¦NFKB1 | 1:320 | 31.7493 | 0.19934 | 0.6279% | 0.063827
LC1¦NFKB1 | LC1 | 29.6369 | 0.28001 | 0.9448% | 0.2877 | 1.2717
LO1¦NFKB1 | LO1 | 29.4322 | 0.16093 | 0.5468% | 0.33291 | 1.2606
LP1¦NFKB1 | LP1 | 29.3316 | 0.12405 | 0.4229% | 0.35766 | 1.5147
HC1¦NFKB1 | HC1 | 32.2292 | 0.25325 | 0.7858% | 0.045332 | 0.91845
HO1¦NFKB1 | HO1 | 28.9291 | 0.1342 | 0.4639% | 0.47651 | 1.5924
HP1¦NFKB1 | HP1 | 33.4386 | 0.050738 | 0.1517% | 0.019144 | 0.69275
LC2¦NFKB1 | LC2 | 29.379 | 0.1734 | 0.5902% | 0.34578 | 1.2872
LO2¦NFKB1 | LO2 | 35.7571 | 0.20096 | 0.562% | 0.0036664 | 0.72432
LP2¦NFKB1 | LP2 | 34.9908 | 0.26791 | 0.7657% | 0.0063311 | 1.1566
HC2¦NFKB1 | HC2 | 37.3821 | 0.82288 | 2.201% | 0.0011512 | 0.43128
HO2¦NFKB1 | HO2 | 30.4003 | 0.090546 | 0.2978% | 0.16696 | 1.438
HP2¦NFKB1 | HP2 | 29.4977 | 0.14828 | 0.5027% | 0.31772 | 1.3778
LC3¦NFKB1 | LC3 | 30.5948 | 0.071399 | 0.2334% | 0.14535 | 1.1062
LO3¦NFKB1 | LO3 | 30.1388 | 0.060198 | 0.1997% | 0.20118 | 1.3751
LP3¦NFKB1 | LP3 | 30.8176 | 0.14432 | 0.4683% | 0.124 | 1.279
HC3¦NFKB1 | HC3 | 32.2104 | 0.17078 | 0.5302% | 0.045946 | 1.4037
HO3¦NFKB1 | HO3 | 31.3213 | 0.030049 | 0.09594% | 0.086595 | 1.396
HP3¦NFKB1 | HP3 | 30.9133 | 0.32095 | 1.038% | 0.11583 | 1.4213
LC4¦NFKB1 | LC4 | 29.3185 | 0.090667 | 0.3092% | 0.36101 | 1.0749
LO4¦NFKB1 | LO4 | 29.4372 | 0.085489 | 0.2904% | 0.33172 | 1.4552
LP4¦NFKB1 | LP4 | 29.9997 | 0.26587 | 0.8863% | 0.22214 | 1.4409
HC4¦NFKB1 | HC4 | 30.4965 | 0.25507 | 0.8364% | 0.15589 | 1.1244
HO4¦NFKB1 | HO4 | 33.0466 | 0.064951 | 0.1965% | 0.025314 | 1.1103
HP4¦NFKB1 | HP4 | 29.3889 | 0.15828 | 0.5386% | 0.34335 | 1.4504
LC5¦NFKB1 | LC5 | 28.3246 | 0.060818 | 0.2147% | 0.73321 | 1.1922
LO5¦NFKB1 | LO5 | 28.4237 | 0.18084 | 0.6362% | 0.68316 | 0.81698
LP5¦NFKB1 | LP5 | 28.4494 | 0.11142 | 0.3916% | 0.67078 | 1.1851
HC5¦NFKB1 | HC5 | 28.2091 | 0.066846 | 0.237% | 0.79611 | 1.0981
HO5¦NFKB1 | HO5 | 28.1087 | 0.13467 | 0.4791% | 0.85516 | 0.83479
HP5¦NFKB1 | HP5 | 28.4881 | 0.1704 | 0.5981% | 0.65254 | 0.7419
LC6¦NFKB1 | LC6 | 28.0453 | 0.15183 | 0.5414% | 0.8947 | 1.0965
LO6¦NFKB1 | LO6 | 28.1662 | 0.1092 | 0.3877% | 0.82083 | 0.97191
LP6¦NFKB1 | LP6 | 28.1713 | 0.12955 | 0.4599% | 0.81788 | 1.0378
HC6¦NFKB1 | HC6 | 28.4219 | 0.073868 | 0.2599% | 0.68405 | 1.0778
HO6¦NFKB1 | HO6 | 28.2168 | 0.099239 | 0.3517% | 0.79175 | 0.89636
HP6¦NFKB1 | HP6 | 28.4396 | 0.10038 | 0.353% | 0.67547 | 0.77962
LPS1¦NFKB1 | LPS1 | 27.6131 | 0.19938 | 0.722% | 1.2176 | 1.1509
LPS2¦NFKB1 | LPS2 | 28.6917 | 0.23879 | 0.8322% | 0.56436 | 1.7382
LPS3¦NFKB1 | LPS3 | 27.5881 | 0.10163 | 0.3684% | 1.2395 | 1.3367
LPS4¦NFKB1 | LPS4 | 27.3559 | 0.045387 | 0.1659% | 1.4625 | 1.3548
LPS5¦NFKB1 | LPS5 | 27.6492 | 0.14553 | 0.5263% | 1.1866 | 1.2532
LPS6¦NFKB1 | LPS6 | 27.8893 | 0.12183 | 0.4368% | 0.99998 | 1.6693

## Housekeeper deltaCT
| B2M | YWHAZ | HMBS | Geometric mean
LC1 | 0.25259 | 0.23717 | 0.19328 | 0.22623
LO1 | 0.29458 | 0.32852 | 0.19031 | 0.26408
LP1 | 0.26458 | 0.29195 | 0.17044 | 0.23613
HC1 | 0.07449 | 0.052506 | 0.030743 | 0.049357
HO1 | 0.31041 | 0.3764 | 0.22933 | 0.29924
HP1 | 0.03263 | 0.034519 | 0.018735 | 0.027634
LC2 | 0.3212 | 0.30329 | 0.19898 | 0.26862
LO2 | 0.0055929 | 0.0051822 | 0.0044749 | 0.0050619
LP2 | 0.0073561 | 0.012238 | 0.0018221 | 0.0054741
HC2 | 0.0031007 | 0.0030862 | 0.0019875 | 0.0026693
HO2 | 0.13342 | 0.15163 | 0.077373 | 0.11611
HP2 | 0.24133 | 0.30885 | 0.16453 | 0.2306
LC3 | 0.17176 | 0.13323 | 0.099117 | 0.13139
LO3 | 0.17467 | 0.17864 | 0.10035 | 0.1463
LP3 | 0.13877 | 0.12213 | 0.053781 | 0.096956
HC3 | 0.048799 | 0.041388 | 0.017362 | 0.032731
HO3 | 0.074273 | 0.080536 | 0.039906 | 0.062033
HP3 | 0.14781 | 0.16129 | 0.022699 | 0.081491
LC4 | 0.38684 | 0.3516 | 0.27853 | 0.33585
LO4 | 0.26705 | 0.25761 | 0.1722 | 0.22796
LP4 | 0.18798 | 0.26986 | 0.072227 | 0.15417
HC4 | 0.21047 | 0.14724 | 0.085992 | 0.13864
HO4 | 0.036248 | 0.032479 | 0.010066 | 0.022799
HP4 | 0.29693 | 0.28977 | 0.1542 | 0.23674
LC5 | 0.72919 | 0.68067 | 0.46866 | 0.615
LO5 | 0.92663 | 0.81851 | 0.77093 | 0.83621
LP5 | 0.7055 | 0.75831 | 0.33894 | 0.56601
HC5 | 1.0646 | 0.7249 | 0.49377 | 0.72498
HO5 | 1.241 | 0.96931 | 0.89364 | 1.0244
HP5 | 1.0078 | 0.85395 | 0.79064 | 0.87955
LC6 | 0.94466 | 0.86751 | 0.66299 | 0.81599
LO6 | 0.85151 | 0.91121 | 0.77639 | 0.84456
LP6 | 0.84148 | 0.89419 | 0.65059 | 0.78812
HC6 | 0.80347 | 0.69576 | 0.45727 | 0.63465
HO6 | 0.97148 | 0.88748 | 0.79933 | 0.8833
HP6 | 1.0014 | 0.84528 | 0.76835 | 0.86641
LPS1 | 0.68008 | 1.1117 | 1.566 | 1.0579
LPS2 | 0.19942 | 0.2932 | 0.58538 | 0.32468
LPS3 | 0.53459 | 1.0664 | 1.3986 | 0.92728
LPS4 | 0.66935 | 1.21 | 1.5533 | 1.0795
LPS5 | 0.61262 | 1.0979 | 1.2621 | 0.94685
LPS6 | 0.42663 | 0.79491 | 0.63382 | 0.59903