## Results
Block Type | 384-Well Block
Calibration Background is expired | No
Calibration Background performed on | 07-19-2022
Calibration Normalization FAM-ROX is expired | No
Calibration Normalization FAM-ROX performed on | 04-21-2022
Calibration Normalization VIC-ROX is expired | No
Calibration Normalization VIC-ROX performed on | 04-21-2022
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 04-21-2022
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 04-21-2022
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 04-21-2022
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 04-21-2022
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 04-21-2022
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 04-21-2022
Calibration ROI is expired | No
Calibration ROI performed on | 04-21-2022
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 04-21-2022
Chemistry | TAQMAN
Date Created | 2022-07-29 17:28:05 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | D:\Users\Administrator\Desktop\FELIX\Felix HNM 6.eds
Experiment Name | Felix HNM 6
Experiment Run End Time | 2022-07-29 18:19:43 PM BST
Experiment Type | Standard Curve
Instrument Name | HotPants
Instrument Serial Number | 278871706
Instrument Type | QuantStudio(TM) 7 Flex System
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
User Name
Well Position | Sample Name | Target Name | CT | Sample
A1 |  | ATF4 | Undetermined | BLANK
A2 |  | ATF4 | Undetermined | BLANK
A3 |  | ATF4 | Undetermined | BLANK
A4 |  | ATF4 | 23.4647 | 1:10
A5 |  | ATF4 | 23.3421 | 1:10
A6 |  | ATF4 | 23.2721 | 1:10
A7 |  | ATF4 | 24.3572 | 1:20
A8 |  | ATF4 | 24.3333 | 1:20
A9 |  | ATF4 | 24.3023 | 1:20
A10 |  | ATF4 | 25.3664 | 1:40
A11 |  | ATF4 | 25.2744 | 1:40
A12 |  | ATF4 | 25.371 | 1:40
A13 |  | ATF4 | 26.0091 | 1:80
A14 |  | ATF4 | 26.3053 | 1:80
A15 |  | ATF4 | 26.4491 | 1:80
A16 |  | ATF4 | 27.4025 | 1:160
A17 |  | ATF4 | 27.3715 | 1:160
A18 |  | ATF4 | 27.4489 | 1:160
A19 |  | ATF4 | 28.5071 | 1:320
A20 |  | ATF4 | 28.5501 | 1:320
A21 |  | ATF4 | 28.5003 | 1:320
A22 |  | ATF4 | 26.2809 | LC1
A23 |  | ATF4 | 26.2747 | LC1
A24 |  | ATF4 | 26.2114 | LC1
B1 |  | ATF4 | 25.9535 | LO1
B2 |  | ATF4 | 26.2423 | LO1
B3 |  | ATF4 | 25.9856 | LO1
B4 |  | ATF4 | 26.2799 | LP1
B5 |  | ATF4 | 26.1409 | LP1
B6 |  | ATF4 | 26.1292 | LP1
B7 |  | ATF4 | 28.0046 | HC1
B8 |  | ATF4 | 28.016 | HC1
B9 |  | ATF4 | 27.9616 | HC1
B10 |  | ATF4 | 25.9951 | HO1
B11 |  | ATF4 | 25.8896 | HO1
B12 |  | ATF4 | 25.8572 | HO1
B13 |  | ATF4 | 29.1068 | HP1
B14 |  | ATF4 | 28.9624 | HP1
B15 |  | ATF4 | 28.9813 | HP1
B16 |  | ATF4 | 26.1151 | LC2
B17 |  | ATF4 | 25.9241 | LC2
B18 |  | ATF4 | 25.8834 | LC2
B19 |  | ATF4 | 32.1252 | LO2
B20 |  | ATF4 | 32.0148 | LO2
B21 |  | ATF4 | 32.1259 | LO2
B22 |  | ATF4 | 31.814 | LP2
B23 |  | ATF4 | 31.5253 | LP2
B24 |  | ATF4 | 31.4585 | LP2
C1 |  | ATF4 | 33.4644 | HC2
C2 |  | ATF4 | 33.6302 | HC2
C3 |  | ATF4 | 33.3041 | HC2
C4 |  | ATF4 | 27.0775 | HO2
C5 |  | ATF4 | 26.7166 | HO2
C6 |  | ATF4 | 26.6256 | HO2
C7 |  | ATF4 | 26.3007 | HP2
C8 |  | ATF4 | 26.2298 | HP2
C9 |  | ATF4 | 26.1214 | HP2
C10 |  | ATF4 | 27.1809 | LC3
C11 |  | ATF4 | 26.9376 | LC3
C12 |  | ATF4 | 26.7058 | LC3
C13 |  | ATF4 | 26.665 | LO3
C14 |  | ATF4 | 26.7396 | LO3
C15 |  | ATF4 | 26.8713 | LO3
C16 |  | ATF4 | 27.2444 | LP3
C17 |  | ATF4 | 26.9427 | LP3
C18 |  | ATF4 | 27.1123 | LP3
C19 |  | ATF4 | 28.7504 | HC3
C20 |  | ATF4 | 28.4969 | HC3
C21 |  | ATF4 | 28.4767 | HC3
C22 |  | ATF4 | 27.8884 | HO3
C23 |  | ATF4 | 27.9453 | HO3
C24 |  | ATF4 | 27.8502 | HO3
D1 |  | ATF4 | 26.968 | HP3
D2 |  | ATF4 | 26.6669 | HP3
D3 |  | ATF4 | 26.6665 | HP3
D4 |  | ATF4 | 26.0998 | LC4
D5 |  | ATF4 | 25.9024 | LC4
D6 |  | ATF4 | 25.9124 | LC4
D7 |  | ATF4 | 26.4285 | LO4
D8 |  | ATF4 | 26.2288 | LO4
D9 |  | ATF4 | 26.163 | LO4
D10 |  | ATF4 | 26.7264 | LP4
D11 |  | ATF4 | 26.5282 | LP4
D12 |  | ATF4 | 26.4295 | LP4
D13 |  | ATF4 | 27.1907 | HC4
D14 |  | ATF4 | 26.4861 | HC4
D15 |  | ATF4 | 26.4991 | HC4
D16 |  | ATF4 | 28.7861 | HO4
D17 |  | ATF4 | 29.2624 | HO4
D18 |  | ATF4 | 28.7454 | HO4
D19 |  | ATF4 | 26.324 | HP4
D20 |  | ATF4 | 25.9518 | HP4
D21 |  | ATF4 | 25.9616 | HP4
E1 |  | ATF4 | 25.3114 | LC5
E2 |  | ATF4 | 25.0964 | LC5
E3 |  | ATF4 | 24.9659 | LC5
E4 |  | ATF4 | 24.9711 | LO5
E5 |  | ATF4 | 24.916 | LO5
E6 |  | ATF4 | 24.8571 | LO5
E7 |  | ATF4 | 24.9606 | LP5
E8 |  | ATF4 | 24.7629 | LP5
E9 |  | ATF4 | 24.7543 | LP5
E10 |  | ATF4 | 25.0978 | HC5
E11 |  | ATF4 | 24.8816 | HC5
E12 |  | ATF4 | 24.9022 | HC5
E13 |  | ATF4 | 25.0493 | HO5
E14 |  | ATF4 | 24.6985 | HO5
E15 |  | ATF4 | 24.4799 | HO5
E16 |  | ATF4 | 24.9671 | HP5
E17 |  | ATF4 | 24.7317 | HP5
E18 |  | ATF4 | 24.5589 | HP5
E19 |  | ATF4 | 25.2638 | LC6
E20 |  | ATF4 | 24.8013 | LC6
E21 |  | ATF4 | 24.9143 | LC6
E22 |  | ATF4 | 25.0533 | LO6
E23 |  | ATF4 | 24.6121 | LO6
E24 |  | ATF4 | 24.6289 | LO6
F1 |  | ATF4 | 24.9771 | LP6
F2 |  | ATF4 | 24.9415 | LP6
F3 |  | ATF4 | 24.874 | LP6
F4 |  | ATF4 | 25.1966 | HC6
F5 |  | ATF4 | 25.1916 | HC6
F6 |  | ATF4 | 25.158 | HC6
F7 |  | ATF4 | 24.98 | HO6
F8 |  | ATF4 | 24.6637 | HO6
F9 |  | ATF4 | 24.6475 | HO6
F10 |  | ATF4 | 24.7727 | HP6
F11 |  | ATF4 | 24.7177 | HP6
F12 |  | ATF4 | 25.0554 | HP6
F13 |  | ATF4 | 24.4062 | LPS1
F14 |  | ATF4 | 24.3449 | LPS1
F15 |  | ATF4 | 24.2531 | LPS1
F16 |  | ATF4 | 25.4821 | LPS2
F17 |  | ATF4 | 25.3274 | LPS2
F18 |  | ATF4 | 25.5222 | LPS2
F19 |  | ATF4 | 24.6563 | LPS3
F20 |  | ATF4 | 24.4852 | LPS3
F21 |  | ATF4 | 24.3921 | LPS3
F22 |  | ATF4 | 24.4862 | LPS4
F23 |  | ATF4 | 24.2708 | LPS4
F24 |  | ATF4 | 24.1926 | LPS4
G1 |  | ATF4 | 24.419 | LPS5
G2 |  | ATF4 | 24.3909 | LPS5
G3 |  | ATF4 | 24.4971 | LPS5
G4 |  | ATF4 | 24.827 | LPS6
G5 |  | ATF4 | 24.7653 | LPS6
G6 |  | ATF4 | 24.4675 | LPS6
G7 |  | ATF4 | Undetermined | EMPTY
G8 |  | ATF4 | Undetermined | EMPTY
G9 |  | ATF4 | Undetermined | EMPTY
G10 |  | ATF4 | Undetermined | EMPTY
G11 |  | ATF4 | Undetermined | EMPTY
G12 |  | ATF4 | Undetermined | EMPTY
G13 |  | ATF4 | Undetermined | EMPTY
G14 |  | ATF4 | Undetermined | EMPTY
G15 |  | ATF4 | Undetermined | EMPTY
G16 |  | ATF4 | Undetermined | EMPTY
G17 |  | ATF4 | Undetermined | EMPTY
G18 |  | ATF4 | Undetermined | EMPTY
G19 |  | ATF4 | Undetermined | EMPTY
G20 |  | ATF4 | 36.2152 | EMPTY
G21 |  | ATF4 | Undetermined | EMPTY
G22 |  | ATF4 | Undetermined | EMPTY
G23 |  | ATF4 | Undetermined | EMPTY
G24 |  | ATF4 | Undetermined | EMPTY
H1 |  | ATF4 | Undetermined | EMPTY
H2 |  | ATF4 | Undetermined | EMPTY
H3 |  | ATF4 | Undetermined | EMPTY
H4 |  | ATF6 | Undetermined | BLANK
H5 |  | ATF6 | Undetermined | BLANK
H6 |  | ATF6 | Undetermined | BLANK
H7 |  | ATF6 | 27.4648 | 1:10
H8 |  | ATF6 | 27.3242 | 1:10
H9 |  | ATF6 | 27.3717 | 1:10
H10 |  | ATF6 | 28.1233 | 1:20
H11 |  | ATF6 | 28.4048 | 1:20
H12 |  | ATF6 | 28.3554 | 1:20
H13 |  | ATF6 | 29.2938 | 1:40
H14 |  | ATF6 | 29.3694 | 1:40
H15 |  | ATF6 | 29.2788 | 1:40
H16 |  | ATF6 | 30.523 | 1:80
H17 |  | ATF6 | 30.559 | 1:80
H18 |  | ATF6 | 30.521 | 1:80
H19 |  | ATF6 | 31.6565 | 1:160
H20 |  | ATF6 | 31.6769 | 1:160
H21 |  | ATF6 | 31.6258 | 1:160
I1 |  | ATF6 | 32.3585 | 1:320
I2 |  | ATF6 | 33.0809 | 1:320
I3 |  | ATF6 | 32.8081 | 1:320
I4 |  | ATF6 | 30.8415 | LC1
I5 |  | ATF6 | 30.3661 | LC1
I6 |  | ATF6 | 30.6092 | LC1
I7 |  | ATF6 | 30.1826 | LO1
I8 |  | ATF6 | 29.7877 | LO1
I9 |  | ATF6 | 29.9709 | LO1
I10 |  | ATF6 | 30.2985 | LP1
I11 |  | ATF6 | 30.1878 | LP1
I12 |  | ATF6 | 30.014 | LP1
I13 |  | ATF6 | 32.9576 | HC1
I14 |  | ATF6 | 33.5474 | HC1
I15 |  | ATF6 | 33.3906 | HC1
I16 |  | ATF6 | 30.0967 | HO1
I17 |  | ATF6 | 29.9416 | HO1
I18 |  | ATF6 | 29.8046 | HO1
I19 |  | ATF6 | 34.0474 | HP1
I20 |  | ATF6 | 33.6125 | HP1
I21 |  | ATF6 | 34.0013 | HP1
I22 |  | ATF6 | 30.2785 | LC2
I23 |  | ATF6 | 30.1276 | LC2
I24 |  | ATF6 | 29.967 | LC2
J1 |  | ATF6 | Undetermined | LO2
J2 |  | ATF6 | 37.9419 | LO2
J3 |  | ATF6 | 37.7204 | LO2
J4 |  | ATF6 | 36.8423 | LP2
J5 |  | ATF6 | 36.123 | LP2
J6 |  | ATF6 | 39.0197 | LP2
J7 |  | ATF6 | 38.8748 | HC2
J8 |  | ATF6 | 38.1484 | HC2
J9 |  | ATF6 | 38.6448 | HC2
J10 |  | ATF6 | 31.5906 | HO2
J11 |  | ATF6 | 31.4227 | HO2
J12 |  | ATF6 | 31.4265 | HO2
J13 |  | ATF6 | 30.3287 | HP2
J14 |  | ATF6 | 30.3089 | HP2
J15 |  | ATF6 | 30.2838 | HP2
J16 |  | ATF6 | 31.4334 | LC3
J17 |  | ATF6 | 31.1537 | LC3
J18 |  | ATF6 | 31.2644 | LC3
J19 |  | ATF6 | 30.9443 | LO3
J20 |  | ATF6 | 30.6558 | LO3
J21 |  | ATF6 | 31.1568 | LO3
J22 |  | ATF6 | 31.8297 | LP3
J23 |  | ATF6 | 31.3149 | LP3
J24 |  | ATF6 | 31.4862 | LP3
K1 |  | ATF6 | 33.7253 | HC3
K2 |  | ATF6 | 33.7443 | HC3
K3 |  | ATF6 | 33.4262 | HC3
K4 |  | ATF6 | 32.9426 | HO3
K5 |  | ATF6 | 32.4571 | HO3
K6 |  | ATF6 | 32.5179 | HO3
K7 |  | ATF6 | 32.3137 | HP3
K8 |  | ATF6 | 31.7809 | HP3
K9 |  | ATF6 | 32.0662 | HP3
K10 |  | ATF6 | 29.9251 | LC4
K11 |  | ATF6 | 29.7388 | LC4
K12 |  | ATF6 | 29.7739 | LC4
K13 |  | ATF6 | 30.5701 | LO4
K14 |  | ATF6 | 30.2046 | LO4
K15 |  | ATF6 | 30.1263 | LO4
K16 |  | ATF6 | 31.0197 | LP4
K17 |  | ATF6 | 30.3401 | LP4
K18 |  | ATF6 | 30.6644 | LP4
K19 |  | ATF6 | 31.6683 | HC4
K20 |  | ATF6 | 31.302 | HC4
K21 |  | ATF6 | 31.1832 | HC4
K22 |  | ATF6 | 34.5068 | HO4
K23 |  | ATF6 | 34.0331 | HO4
K24 |  | ATF6 | 34.1917 | HO4
L1 |  | ATF6 | 30.3672 | HP4
L2 |  | ATF6 | 30.0539 | HP4
L3 |  | ATF6 | 30.2978 | HP4
L4 |  | ATF6 | 28.9123 | LC5
L5 |  | ATF6 | 28.7944 | LC5
L6 |  | ATF6 | 28.9617 | LC5
L7 |  | ATF6 | 29.0292 | LO5
L8 |  | ATF6 | 28.7193 | LO5
L9 |  | ATF6 | 28.6226 | LO5
L10 |  | ATF6 | 28.5917 | LP5
L11 |  | ATF6 | 28.5357 | LP5
L12 |  | ATF6 | 28.6598 | LP5
L13 |  | ATF6 | 28.8566 | HC5
L14 |  | ATF6 | 28.7216 | HC5
L15 |  | ATF6 | 28.4532 | HC5
L16 |  | ATF6 | 28.7443 | HO5
L17 |  | ATF6 | 28.6803 | HO5
L18 |  | ATF6 | 28.5526 | HO5
L19 |  | ATF6 | 29.0599 | HP5
L20 |  | ATF6 | 28.7042 | HP5
L21 |  | ATF6 | 28.7861 | HP5
M1 |  | ATF6 | 28.9708 | LC6
M2 |  | ATF6 | 28.5085 | LC6
M3 |  | ATF6 | 28.6168 | LC6
M4 |  | ATF6 | 28.961 | LO6
M5 |  | ATF6 | 28.5607 | LO6
M6 |  | ATF6 | 28.718 | LO6
M7 |  | ATF6 | 28.9477 | LP6
M8 |  | ATF6 | 28.6 | LP6
M9 |  | ATF6 | 28.4693 | LP6
M10 |  | ATF6 | 29.0475 | HC6
M11 |  | ATF6 | 28.9936 | HC6
M12 |  | ATF6 | 28.7439 | HC6
M13 |  | ATF6 | 29.0689 | HO6
M14 |  | ATF6 | 28.3439 | HO6
M15 |  | ATF6 | 28.5079 | HO6
M16 |  | ATF6 | 28.7994 | HP6
M17 |  | ATF6 | 28.7497 | HP6
M18 |  | ATF6 | 28.6084 | HP6
M19 |  | ATF6 | 29.0785 | LPS1
M20 |  | ATF6 | 28.816 | LPS1
M21 |  | ATF6 | 28.66 | LPS1
M22 |  | ATF6 | 30.0575 | LPS2
M23 |  | ATF6 | 29.9656 | LPS2
M24 |  | ATF6 | 30.0855 | LPS2
N1 |  | ATF6 | 28.9406 | LPS3
N2 |  | ATF6 | 29.0862 | LPS3
N3 |  | ATF6 | 29.0864 | LPS3
N4 |  | ATF6 | 29.0083 | LPS4
N5 |  | ATF6 | 28.949 | LPS4
N6 |  | ATF6 | 28.7145 | LPS4
N7 |  | ATF6 | 29.1245 | LPS5
N8 |  | ATF6 | 28.88 | LPS5
N9 |  | ATF6 | 28.6876 | LPS5
N10 |  | ATF6 | 29.4423 | LPS6
N11 |  | ATF6 | 28.9784 | LPS6
N12 |  | ATF6 | 29.0985 | LPS6
N13 |  | ATF6 | Undetermined | EMPTY
N14 |  | ATF6 | Undetermined | EMPTY
N15 |  | ATF6 | Undetermined | EMPTY
N16 |  | ATF6 | Undetermined | EMPTY
N17 |  | ATF6 | Undetermined | EMPTY
N18 |  | ATF6 | Undetermined | EMPTY
N19 |  | ATF6 | Undetermined | EMPTY
N20 |  | ATF6 | Undetermined | EMPTY
N21 |  | ATF6 | Undetermined | EMPTY
N22 |  | ATF6 | Undetermined | EMPTY
N23 |  | ATF6 | Undetermined | EMPTY
N24 |  | ATF6 | Undetermined | EMPTY
O1 |  | ATF6 | Undetermined | EMPTY
O2 |  | ATF6 | Undetermined | EMPTY
O3 |  | ATF6 | Undetermined | EMPTY
O4 |  | ATF6 | Undetermined | EMPTY
O5 |  | ATF6 | Undetermined | EMPTY
O6 |  | ATF6 | Undetermined | EMPTY
O7 |  | ATF6 | Undetermined | EMPTY
O8 |  | ATF6 | Undetermined | EMPTY
O9 |  | ATF6 | Undetermined | EMPTY
How to use improved spreadsheet
1. Copy results into the 'Results sheet' , in the same format as shown here
2. Check that everything has copies over to the 'Results Workspace' (pull down the formula to add more rows). The sample names and genes should change automatically, and the helper column should format itself as "Sample Name""|""Gene Name" (e.g "BLANK|PGCK1")
3. On the individual gene spreadsheet, add the correct sample names to the 'Sample' column. Then, for the 'Helper' column, change the gene name in the first cell in the row and drag the formula down to the other rows.
4. This will fill in all the CT values for you
5. Edit the results workspace to get rid of red highlighted 'CV Ct' values. Do this by going through and removing outliers.
6. Change the names in the 'Housekeeper deltaCT' sheet (if you need to), and copy the formula down. Repeat for the 'Summary' page, which is for your target genes
7. If you have questions, then ask Emily. Apologies for the messy example data. The robot didn't pipette very well.

## Results Workspace
Well | Ct from reader | Corrected Cts | Sample Name | Average Ct | STDEV | Target Name | Helper
A1 | Undetermined | 40.1 | BLANK | 40.1 | 0 | ATF4 | BLANK¦ATF4
A2 | Undetermined | 40.1 |  |  |  | ATF4
A3 | Undetermined | 40.1 |  |  |  | ATF4
A4 | 23.4647 | 23.4647 | 1:10 | 23.3596 | 0.079628 | ATF4 | 1:10¦ATF4
A5 | 23.3421 | 23.3421 |  |  |  | ATF4
A6 | 23.2721 | 23.2721 |  |  |  | ATF4
A7 | 24.3572 | 24.3572 | 1:20 | 24.3309 | 0.022511 | ATF4 | 1:20¦ATF4
A8 | 24.3333 | 24.3333 |  |  |  | ATF4
A9 | 24.3023 | 24.3023 |  |  |  | ATF4
A10 | 25.3664 | 25.3664 | 1:40 | 25.3373 | 0.0445 | ATF4 | 1:40¦ATF4
A11 | 25.2744 | 25.2744 |  |  |  | ATF4
A12 | 25.371 | 25.371 |  |  |  | ATF4
A13 | 26.0091 | 26.0091 | 1:80 | 26.2545 | 0.18319 | ATF4 | 1:80¦ATF4
A14 | 26.3053 | 26.3053 |  |  |  | ATF4
A15 | 26.4491 | 26.4491 |  |  |  | ATF4
A16 | 27.4025 | 27.4025 | 1:160 | 27.4076 | 0.031785 | ATF4 | 1:160¦ATF4
A17 | 27.3715 | 27.3715 |  |  |  | ATF4
A18 | 27.4489 | 27.4489 |  |  |  | ATF4
A19 | 28.5071 | 28.5071 | 1:320 | 28.5192 | 0.022053 | ATF4 | 1:320¦ATF4
A20 | 28.5501 | 28.5501 |  |  |  | ATF4
A21 | 28.5003 | 28.5003 |  |  |  | ATF4
A22 | 26.2809 | 26.2809 | LC1 | 26.2557 | 0.03141 | ATF4 | LC1¦ATF4
A23 | 26.2747 | 26.2747 |  |  |  | ATF4
A24 | 26.2114 | 26.2114 |  |  |  | ATF4
B1 | 25.9535 | 25.9535 | LO1 | 26.0605 | 0.12923 | ATF4 | LO1¦ATF4
B2 | 26.2423 | 26.2423 |  |  |  | ATF4
B3 | 25.9856 | 25.9856 |  |  |  | ATF4
B4 | 26.2799 | 26.2799 | LP1 | 26.1833 | 0.068464 | ATF4 | LP1¦ATF4
B5 | 26.1409 | 26.1409 |  |  |  | ATF4
B6 | 26.1292 | 26.1292 |  |  |  | ATF4
B7 | 28.0046 | 28.0046 | HC1 | 27.994 | 0.023423 | ATF4 | HC1¦ATF4
B8 | 28.016 | 28.016 |  |  |  | ATF4
B9 | 27.9616 | 27.9616 |  |  |  | ATF4
B10 | 25.9951 | 25.9951 | HO1 | 25.9139 | 0.058885 | ATF4 | HO1¦ATF4
B11 | 25.8896 | 25.8896 |  |  |  | ATF4
B12 | 25.8572 | 25.8572 |  |  |  | ATF4
B13 | 29.1068 | 29.1068 | HP1 | 29.0169 | 0.064081 | ATF4 | HP1¦ATF4
B14 | 28.9624 | 28.9624 |  |  |  | ATF4
B15 | 28.9813 | 28.9813 |  |  |  | ATF4
B16 | 26.1151 | 26.1151 | LC2 | 25.9742 | 0.10101 | ATF4 | LC2¦ATF4
B17 | 25.9241 | 25.9241 |  |  |  | ATF4
B18 | 25.8834 | 25.8834 |  |  |  | ATF4
B19 | 32.1252 | 32.1252 | LO2 | 32.0886 | 0.052226 | ATF4 | LO2¦ATF4
B20 | 32.0148 | 32.0148 |  |  |  | ATF4
B21 | 32.1259 | 32.1259 |  |  |  | ATF4
B22 | 31.814 | 31.814 | LP2 | 31.5993 | 0.15429 | ATF4 | LP2¦ATF4
B23 | 31.5253 | 31.5253 |  |  |  | ATF4
B24 | 31.4585 | 31.4585 |  |  |  | ATF4
C1 | 33.4644 | 33.4644 | HC2 | 33.4662 | 0.13312 | ATF4 | HC2¦ATF4
C2 | 33.6302 | 33.6302 |  |  |  | ATF4
C3 | 33.3041 | 33.3041 |  |  |  | ATF4
C4 | 27.0775 | 27.0775 | HO2 | 26.8065 | 0.19515 | ATF4 | HO2¦ATF4
C5 | 26.7166 | 26.7166 |  |  |  | ATF4
C6 | 26.6256 | 26.6256 |  |  |  | ATF4
C7 | 26.3007 | 26.3007 | HP2 | 26.2173 | 0.073699 | ATF4 | HP2¦ATF4
C8 | 26.2298 | 26.2298 |  |  |  | ATF4
C9 | 26.1214 | 26.1214 |  |  |  | ATF4
C10 | 27.1809 | 27.1809 | LC3 | 26.9414 | 0.194 | ATF4 | LC3¦ATF4
C11 | 26.9376 | 26.9376 |  |  |  | ATF4
C12 | 26.7058 | 26.7058 |  |  |  | ATF4
C13 | 26.665 | 26.665 | LO3 | 26.7586 | 0.08529 | ATF4 | LO3¦ATF4
C14 | 26.7396 | 26.7396 |  |  |  | ATF4
C15 | 26.8713 | 26.8713 |  |  |  | ATF4
C16 | 27.2444 | 27.2444 | LP3 | 27.0998 | 0.1235 | ATF4 | LP3¦ATF4
C17 | 26.9427 | 26.9427 |  |  |  | ATF4
C18 | 27.1123 | 27.1123 |  |  |  | ATF4
C19 | 28.7504 | 28.7504 | HC3 | 28.5746 | 0.12453 | ATF4 | HC3¦ATF4
C20 | 28.4969 | 28.4969 |  |  |  | ATF4
C21 | 28.4767 | 28.4767 |  |  |  | ATF4
C22 | 27.8884 | 27.8884 | HO3 | 27.8947 | 0.039078 | ATF4 | HO3¦ATF4
C23 | 27.9453 | 27.9453 |  |  |  | ATF4
C24 | 27.8502 | 27.8502 |  |  |  | ATF4
D1 | 26.968 | 26.968 | HP3 | 26.7671 | 0.14202 | ATF4 | HP3¦ATF4
D2 | 26.6669 | 26.6669 |  |  |  | ATF4
D3 | 26.6665 | 26.6665 |  |  |  | ATF4
D4 | 26.0998 | 26.0998 | LC4 | 25.9716 | 0.090791 | ATF4 | LC4¦ATF4
D5 | 25.9024 | 25.9024 |  |  |  | ATF4
D6 | 25.9124 | 25.9124 |  |  |  | ATF4
D7 | 26.4285 | 26.4285 | LO4 | 26.2734 | 0.11287 | ATF4 | LO4¦ATF4
D8 | 26.2288 | 26.2288 |  |  |  | ATF4
D9 | 26.163 | 26.163 |  |  |  | ATF4
D10 | 26.7264 | 26.7264 | LP4 | 26.5614 | 0.12345 | ATF4 | LP4¦ATF4
D11 | 26.5282 | 26.5282 |  |  |  | ATF4
D12 | 26.4295 | 26.4295 |  |  |  | ATF4
D13 | 27.1907 |  | HC4 | 26.4926 | 0.0064888 | ATF4 | HC4¦ATF4
D14 | 26.4861 | 26.4861 |  |  |  | ATF4
D15 | 26.4991 | 26.4991 |  |  |  | ATF4
D16 | 28.7861 | 28.7861 | HO4 | 28.9313 | 0.23472 | ATF4 | HO4¦ATF4
D17 | 29.2624 | 29.2624 |  |  |  | ATF4
D18 | 28.7454 | 28.7454 |  |  |  | ATF4
D19 | 26.324 | 26.324 | HP4 | 26.0791 | 0.17319 | ATF4 | HP4¦ATF4
D20 | 25.9518 | 25.9518 |  |  |  | ATF4
D21 | 25.9616 | 25.9616 |  |  |  | ATF4
E1 | 25.3114 | 25.3114 | LC5 | 25.1246 | 0.14245 | ATF4 | LC5¦ATF4
E2 | 25.0964 | 25.0964 |  |  |  | ATF4
E3 | 24.9659 | 24.9659 |  |  |  | ATF4
E4 | 24.9711 | 24.9711 | LO5 | 24.9147 | 0.04658 | ATF4 | LO5¦ATF4
E5 | 24.916 | 24.916 |  |  |  | ATF4
E6 | 24.8571 | 24.8571 |  |  |  | ATF4
E7 | 24.9606 | 24.9606 | LP5 | 24.826 | 0.095293 | ATF4 | LP5¦ATF4
E8 | 24.7629 | 24.7629 |  |  |  | ATF4
E9 | 24.7543 | 24.7543 |  |  |  | ATF4
E10 | 25.0978 | 25.0978 | HC5 | 24.9605 | 0.097413 | ATF4 | HC5¦ATF4
E11 | 24.8816 | 24.8816 |  |  |  | ATF4
E12 | 24.9022 | 24.9022 |  |  |  | ATF4
E13 | 25.0493 | 25.0493 | HO5 | 24.7425 | 0.23452 | ATF4 | HO5¦ATF4
E14 | 24.6985 | 24.6985 |  |  |  | ATF4
E15 | 24.4799 | 24.4799 |  |  |  | ATF4
E16 | 24.9671 | 24.9671 | HP5 | 24.7526 | 0.16729 | ATF4 | HP5¦ATF4
E17 | 24.7317 | 24.7317 |  |  |  | ATF4
E18 | 24.5589 | 24.5589 |  |  |  | ATF4
E19 | 25.2638 | 25.2638 | LC6 | 24.9931 | 0.19688 | ATF4 | LC6¦ATF4
E20 | 24.8013 | 24.8013 |  |  |  | ATF4
E21 | 24.9143 | 24.9143 |  |  |  | ATF4
E22 | 25.0533 | 25.0533 | LO6 | 24.7648 | 0.20412 | ATF4 | LO6¦ATF4
E23 | 24.6121 | 24.6121 |  |  |  | ATF4
E24 | 24.6289 | 24.6289 |  |  |  | ATF4
F1 | 24.9771 | 24.9771 | LP6 | 24.9309 | 0.042779 | ATF4 | LP6¦ATF4
F2 | 24.9415 | 24.9415 |  |  |  | ATF4
F3 | 24.874 | 24.874 |  |  |  | ATF4
F4 | 25.1966 | 25.1966 | HC6 | 25.1821 | 0.017158 | ATF4 | HC6¦ATF4
F5 | 25.1916 | 25.1916 |  |  |  | ATF4
F6 | 25.158 | 25.158 |  |  |  | ATF4
F7 | 24.98 | 24.98 | HO6 | 24.7637 | 0.15308 | ATF4 | HO6¦ATF4
F8 | 24.6637 | 24.6637 |  |  |  | ATF4
F9 | 24.6475 | 24.6475 |  |  |  | ATF4
F10 | 24.7727 | 24.7727 | HP6 | 24.8486 | 0.14795 | ATF4 | HP6¦ATF4
F11 | 24.7177 | 24.7177 |  |  |  | ATF4
F12 | 25.0554 | 25.0554 |  |  |  | ATF4
F13 | 24.4062 | 24.4062 | LPS1 | 24.3347 | 0.062934 | ATF4 | LPS1¦ATF4
F14 | 24.3449 | 24.3449 |  |  |  | ATF4
F15 | 24.2531 | 24.2531 |  |  |  | ATF4
F16 | 25.4821 | 25.4821 | LPS2 | 25.4439 | 0.08399 | ATF4 | LPS2¦ATF4
F17 | 25.3274 | 25.3274 |  |  |  | ATF4
F18 | 25.5222 | 25.5222 |  |  |  | ATF4
F19 | 24.6563 | 24.6563 | LPS3 | 24.5112 | 0.10941 | ATF4 | LPS3¦ATF4
F20 | 24.4852 | 24.4852 |  |  |  | ATF4
F21 | 24.3921 | 24.3921 |  |  |  | ATF4
F22 | 24.4862 | 24.4862 | LPS4 | 24.3165 | 0.12413 | ATF4 | LPS4¦ATF4
F23 | 24.2708 | 24.2708 |  |  |  | ATF4
F24 | 24.1926 | 24.1926 |  |  |  | ATF4
G1 | 24.419 | 24.419 | LPS5 | 24.4356 | 0.04493 | ATF4 | LPS5¦ATF4
G2 | 24.3909 | 24.3909 |  |  |  | ATF4
G3 | 24.4971 | 24.4971 |  |  |  | ATF4
G4 | 24.827 | 24.827 | LPS6 | 24.6866 | 0.15695 | ATF4 | LPS6¦ATF4
G5 | 24.7653 | 24.7653 |  |  |  | ATF4
G6 | 24.4675 | 24.4675 |  |  |  | ATF4
G7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF4 | EMPTY¦ATF4
G8 | Undetermined | 40.1 |  |  |  | ATF4
G9 | Undetermined | 40.1 |  |  |  | ATF4
G10 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF4 | EMPTY¦ATF4
G11 | Undetermined | 40.1 |  |  |  | ATF4
G12 | Undetermined | 40.1 |  |  |  | ATF4
G13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF4 | EMPTY¦ATF4
G14 | Undetermined | 40.1 |  |  |  | ATF4
G15 | Undetermined | 40.1 |  |  |  | ATF4
G16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF4 | EMPTY¦ATF4
G17 | Undetermined | 40.1 |  |  |  | ATF4
G18 | Undetermined | 40.1 |  |  |  | ATF4
G19 | Undetermined | 40.1 | EMPTY | 38.8051 | 1.8313 | ATF4 | EMPTY¦ATF4
G20 | 36.2152 | 36.2152 |  |  |  | ATF4
G21 | Undetermined | 40.1 |  |  |  | ATF4
G22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF4 | EMPTY¦ATF4
G23 | Undetermined | 40.1 |  |  |  | ATF4
G24 | Undetermined | 40.1 |  |  |  | ATF4
H1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF4 | EMPTY¦ATF4
H2 | Undetermined | 40.1 |  |  |  | ATF4
H3 | Undetermined | 40.1 |  |  |  | ATF4
H4 | Undetermined | 40.1 | BLANK | 40.1 | 0 | ATF6 | BLANK¦ATF6
H5 | Undetermined | 40.1 |  |  |  | ATF6
H6 | Undetermined | 40.1 |  |  |  | ATF6
H7 | 27.4648 | 27.4648 | 1:10 | 27.3869 | 0.058399 | ATF6 | 1:10¦ATF6
H8 | 27.3242 | 27.3242 |  |  |  | ATF6
H9 | 27.3717 | 27.3717 |  |  |  | ATF6
H10 | 28.1233 | 28.1233 | 1:20 | 28.2945 | 0.12274 | ATF6 | 1:20¦ATF6
H11 | 28.4048 | 28.4048 |  |  |  | ATF6
H12 | 28.3554 | 28.3554 |  |  |  | ATF6
H13 | 29.2938 | 29.2938 | 1:40 | 29.314 | 0.039682 | ATF6 | 1:40¦ATF6
H14 | 29.3694 | 29.3694 |  |  |  | ATF6
H15 | 29.2788 | 29.2788 |  |  |  | ATF6
H16 | 30.523 | 30.523 | 1:80 | 30.5344 | 0.017475 | ATF6 | 1:80¦ATF6
H17 | 30.559 | 30.559 |  |  |  | ATF6
H18 | 30.521 | 30.521 |  |  |  | ATF6
H19 | 31.6565 | 31.6565 | 1:160 | 31.6531 | 0.021011 | ATF6 | 1:160¦ATF6
H20 | 31.6769 | 31.6769 |  |  |  | ATF6
H21 | 31.6258 | 31.6258 |  |  |  | ATF6
I1 | 32.3585 | 32.3585 | 1:320 | 32.7492 | 0.29785 | ATF6 | 1:320¦ATF6
I2 | 33.0809 | 33.0809 |  |  |  | ATF6
I3 | 32.8081 | 32.8081 |  |  |  | ATF6
I4 | 30.8415 | 30.8415 | LC1 | 30.6056 | 0.1941 | ATF6 | LC1¦ATF6
I5 | 30.3661 | 30.3661 |  |  |  | ATF6
I6 | 30.6092 | 30.6092 |  |  |  | ATF6
I7 | 30.1826 | 30.1826 | LO1 | 29.9804 | 0.16137 | ATF6 | LO1¦ATF6
I8 | 29.7877 | 29.7877 |  |  |  | ATF6
I9 | 29.9709 | 29.9709 |  |  |  | ATF6
I10 | 30.2985 | 30.2985 | LP1 | 30.1667 | 0.11709 | ATF6 | LP1¦ATF6
I11 | 30.1878 | 30.1878 |  |  |  | ATF6
I12 | 30.014 | 30.014 |  |  |  | ATF6
I13 | 32.9576 | 32.9576 | HC1 | 33.2986 | 0.24944 | ATF6 | HC1¦ATF6
I14 | 33.5474 | 33.5474 |  |  |  | ATF6
I15 | 33.3906 | 33.3906 |  |  |  | ATF6
I16 | 30.0967 | 30.0967 | HO1 | 29.9476 | 0.11934 | ATF6 | HO1¦ATF6
I17 | 29.9416 | 29.9416 |  |  |  | ATF6
I18 | 29.8046 | 29.8046 |  |  |  | ATF6
I19 | 34.0474 | 34.0474 | HP1 | 33.8871 | 0.19507 | ATF6 | HP1¦ATF6
I20 | 33.6125 | 33.6125 |  |  |  | ATF6
I21 | 34.0013 | 34.0013 |  |  |  | ATF6
I22 | 30.2785 | 30.2785 | LC2 | 30.1244 | 0.12718 | ATF6 | LC2¦ATF6
I23 | 30.1276 | 30.1276 |  |  |  | ATF6
I24 | 29.967 | 29.967 |  |  |  | ATF6
J1 | Undetermined |  | LO2 | 37.8312 | 0.11077 | ATF6 | LO2¦ATF6
J2 | 37.9419 | 37.9419 |  |  |  | ATF6
J3 | 37.7204 | 37.7204 |  |  |  | ATF6
J4 | 36.8423 | 36.8423 | LP2 | 36.4827 | 0.35966 | ATF6 | LP2¦ATF6
J5 | 36.123 | 36.123 |  |  |  | ATF6
J6 | 39.0197 |  |  |  |  | ATF6
J7 | 38.8748 | 38.8748 | HC2 | 38.556 | 0.30309 | ATF6 | HC2¦ATF6
J8 | 38.1484 | 38.1484 |  |  |  | ATF6
J9 | 38.6448 | 38.6448 |  |  |  | ATF6
J10 | 31.5906 | 31.5906 | HO2 | 31.48 | 0.078285 | ATF6 | HO2¦ATF6
J11 | 31.4227 | 31.4227 |  |  |  | ATF6
J12 | 31.4265 | 31.4265 |  |  |  | ATF6
J13 | 30.3287 | 30.3287 | HP2 | 30.3071 | 0.018387 | ATF6 | HP2¦ATF6
J14 | 30.3089 | 30.3089 |  |  |  | ATF6
J15 | 30.2838 | 30.2838 |  |  |  | ATF6
J16 | 31.4334 | 31.4334 | LC3 | 31.2838 | 0.11504 | ATF6 | LC3¦ATF6
J17 | 31.1537 | 31.1537 |  |  |  | ATF6
J18 | 31.2644 | 31.2644 |  |  |  | ATF6
J19 | 30.9443 | 30.9443 | LO3 | 30.919 | 0.20533 | ATF6 | LO3¦ATF6
J20 | 30.6558 | 30.6558 |  |  |  | ATF6
J21 | 31.1568 | 31.1568 |  |  |  | ATF6
J22 | 31.8297 | 31.8297 | LP3 | 31.5436 | 0.21408 | ATF6 | LP3¦ATF6
J23 | 31.3149 | 31.3149 |  |  |  | ATF6
J24 | 31.4862 | 31.4862 |  |  |  | ATF6
K1 | 33.7253 | 33.7253 | HC3 | 33.6319 | 0.14567 | ATF6 | HC3¦ATF6
K2 | 33.7443 | 33.7443 |  |  |  | ATF6
K3 | 33.4262 | 33.4262 |  |  |  | ATF6
K4 | 32.9426 | 32.9426 | HO3 | 32.6392 | 0.21597 | ATF6 | HO3¦ATF6
K5 | 32.4571 | 32.4571 |  |  |  | ATF6
K6 | 32.5179 | 32.5179 |  |  |  | ATF6
K7 | 32.3137 | 32.3137 | HP3 | 32.0536 | 0.21769 | ATF6 | HP3¦ATF6
K8 | 31.7809 | 31.7809 |  |  |  | ATF6
K9 | 32.0662 | 32.0662 |  |  |  | ATF6
K10 | 29.9251 | 29.9251 | LC4 | 29.8126 | 0.080824 | ATF6 | LC4¦ATF6
K11 | 29.7388 | 29.7388 |  |  |  | ATF6
K12 | 29.7739 | 29.7739 |  |  |  | ATF6
K13 | 30.5701 | 30.5701 | LO4 | 30.3003 | 0.19343 | ATF6 | LO4¦ATF6
K14 | 30.2046 | 30.2046 |  |  |  | ATF6
K15 | 30.1263 | 30.1263 |  |  |  | ATF6
K16 | 31.0197 | 31.0197 | LP4 | 30.6747 | 0.27755 | ATF6 | LP4¦ATF6
K17 | 30.3401 | 30.3401 |  |  |  | ATF6
K18 | 30.6644 | 30.6644 |  |  |  | ATF6
K19 | 31.6683 | 31.6683 | HC4 | 31.3845 | 0.20643 | ATF6 | HC4¦ATF6
K20 | 31.302 | 31.302 |  |  |  | ATF6
K21 | 31.1832 | 31.1832 |  |  |  | ATF6
K22 | 34.5068 | 34.5068 | HO4 | 34.2439 | 0.19687 | ATF6 | HO4¦ATF6
K23 | 34.0331 | 34.0331 |  |  |  | ATF6
K24 | 34.1917 | 34.1917 |  |  |  | ATF6
L1 | 30.3672 | 30.3672 | HP4 | 30.2396 | 0.13433 | ATF6 | HP4¦ATF6
L2 | 30.0539 | 30.0539 |  |  |  | ATF6
L3 | 30.2978 | 30.2978 |  |  |  | ATF6
L4 | 28.9123 | 28.9123 | LC5 | 28.8895 | 0.070195 | ATF6 | LC5¦ATF6
L5 | 28.7944 | 28.7944 |  |  |  | ATF6
L6 | 28.9617 | 28.9617 |  |  |  | ATF6
L7 | 29.0292 | 29.0292 | LO5 | 28.7904 | 0.1734 | ATF6 | LO5¦ATF6
L8 | 28.7193 | 28.7193 |  |  |  | ATF6
L9 | 28.6226 | 28.6226 |  |  |  | ATF6
L10 | 28.5917 | 28.5917 | LP5 | 28.5957 | 0.050759 | ATF6 | LP5¦ATF6
L11 | 28.5357 | 28.5357 |  |  |  | ATF6
L12 | 28.6598 | 28.6598 |  |  |  | ATF6
L13 | 28.8566 | 28.8566 | HC5 | 28.6771 | 0.16768 | ATF6 | HC5¦ATF6
L14 | 28.7216 | 28.7216 |  |  |  | ATF6
L15 | 28.4532 | 28.4532 |  |  |  | ATF6
L16 | 28.7443 | 28.7443 | HO5 | 28.659 | 0.079675 | ATF6 | HO5¦ATF6
L17 | 28.6803 | 28.6803 |  |  |  | ATF6
L18 | 28.5526 | 28.5526 |  |  |  | ATF6
L19 | 29.0599 | 29.0599 | HP5 | 28.8501 | 0.15211 | ATF6 | HP5¦ATF6
L20 | 28.7042 | 28.7042 |  |  |  | ATF6
L21 | 28.7861 | 28.7861 |  |  |  | ATF6
M1 | 28.9708 | 28.9708 | LC6 | 28.6987 | 0.19744 | ATF6 | LC6¦ATF6
M2 | 28.5085 | 28.5085 |  |  |  | ATF6
M3 | 28.6168 | 28.6168 |  |  |  | ATF6
M4 | 28.961 | 28.961 | LO6 | 28.7466 | 0.16469 | ATF6 | LO6¦ATF6
M5 | 28.5607 | 28.5607 |  |  |  | ATF6
M6 | 28.718 | 28.718 |  |  |  | ATF6
M7 | 28.9477 | 28.9477 | LP6 | 28.6723 | 0.20191 | ATF6 | LP6¦ATF6
M8 | 28.6 | 28.6 |  |  |  | ATF6
M9 | 28.4693 | 28.4693 |  |  |  | ATF6
M10 | 29.0475 | 29.0475 | HC6 | 28.9283 | 0.13227 | ATF6 | HC6¦ATF6
M11 | 28.9936 | 28.9936 |  |  |  | ATF6
M12 | 28.7439 | 28.7439 |  |  |  | ATF6
M13 | 29.0689 |  | HO6 | 28.4259 | 0.081999 | ATF6 | HO6¦ATF6
M14 | 28.3439 | 28.3439 |  |  |  | ATF6
M15 | 28.5079 | 28.5079 |  |  |  | ATF6
M16 | 28.7994 | 28.7994 | HP6 | 28.7192 | 0.080952 | ATF6 | HP6¦ATF6
M17 | 28.7497 | 28.7497 |  |  |  | ATF6
M18 | 28.6084 | 28.6084 |  |  |  | ATF6
M19 | 29.0785 | 29.0785 | LPS1 | 28.8515 | 0.17271 | ATF6 | LPS1¦ATF6
M20 | 28.816 | 28.816 |  |  |  | ATF6
M21 | 28.66 | 28.66 |  |  |  | ATF6
M22 | 30.0575 | 30.0575 | LPS2 | 30.0362 | 0.051204 | ATF6 | LPS2¦ATF6
M23 | 29.9656 | 29.9656 |  |  |  | ATF6
M24 | 30.0855 | 30.0855 |  |  |  | ATF6
N1 | 28.9406 | 28.9406 | LPS3 | 29.0377 | 0.068672 | ATF6 | LPS3¦ATF6
N2 | 29.0862 | 29.0862 |  |  |  | ATF6
N3 | 29.0864 | 29.0864 |  |  |  | ATF6
N4 | 29.0083 | 29.0083 | LPS4 | 28.8906 | 0.12687 | ATF6 | LPS4¦ATF6
N5 | 28.949 | 28.949 |  |  |  | ATF6
N6 | 28.7145 | 28.7145 |  |  |  | ATF6
N7 | 29.1245 | 29.1245 | LPS5 | 28.8974 | 0.17879 | ATF6 | LPS5¦ATF6
N8 | 28.88 | 28.88 |  |  |  | ATF6
N9 | 28.6876 | 28.6876 |  |  |  | ATF6
N10 | 29.4423 | 29.4423 | LPS6 | 29.1731 | 0.19659 | ATF6 | LPS6¦ATF6
N11 | 28.9784 | 28.9784 |  |  |  | ATF6
N12 | 29.0985 | 29.0985 |  |  |  | ATF6
N13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF6 | EMPTY¦ATF6
N14 | Undetermined | 40.1 |  |  |  | ATF6
N15 | Undetermined | 40.1 |  |  |  | ATF6
N16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF6 | EMPTY¦ATF6
N17 | Undetermined | 40.1 |  |  |  | ATF6
N18 | Undetermined | 40.1 |  |  |  | ATF6
N19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF6 | EMPTY¦ATF6
N20 | Undetermined | 40.1 |  |  |  | ATF6
N21 | Undetermined | 40.1 |  |  |  | ATF6
N22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF6 | EMPTY¦ATF6
N23 | Undetermined | 40.1 |  |  |  | ATF6
N24 | Undetermined | 40.1 |  |  |  | ATF6
O1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF6 | EMPTY¦ATF6
O2 | Undetermined | 40.1 |  |  |  | ATF6
O3 | Undetermined | 40.1 |  |  |  | ATF6
O4 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF6 | EMPTY¦ATF6
O5 | Undetermined | 40.1 |  |  |  | ATF6
O6 | Undetermined | 40.1 |  |  |  | ATF6
O7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | ATF6 | EMPTY¦ATF6
O8 | Undetermined | 40.1 |  |  |  | ATF6
O9 | Undetermined | 40.1 |  |  |  | ATF6

## ATF4
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 23.3596 | 0.079628 | 0.3409% | 0.1 | -1
1:20 | 24.3309 | 0.022511 | 0.09252% | 0.05 | -1.301
1:40 | 25.3373 | 0.0445 | 0.1756% | 0.025 | -1.6021
1:80 | 26.2545 | 0.18319 | 0.6978% | 0.0125 | -1.9031
1:160 | 27.4076 | 0.031785 | 0.116% | 0.00625 | -2.2041
1:320 | 28.5192 | 0.022053 | 0.07733% | 0.003125 | -2.5051
| Slope | -3.4116
| Efficiency | 1.9639
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | delta delta Ct (to Housekeepers)
BLANK¦ATF4 | BLANK | 40.1 | 0 | 0% | 2.3869e-05
1:10¦ATF4 | 1:10 | 23.3596 | 0.079628 | 0.3409% | 1.9262
1:20¦ATF4 | 1:20 | 24.3309 | 0.022511 | 0.09252% | 1
1:40¦ATF4 | 1:40 | 25.3373 | 0.0445 | 0.1756% | 0.50702
1:80¦ATF4 | 1:80 | 26.2545 | 0.18319 | 0.6978% | 0.27301
1:160¦ATF4 | 1:160 | 27.4076 | 0.031785 | 0.116% | 0.12536
1:320¦ATF4 | 1:320 | 28.5192 | 0.022053 | 0.07733% | 0.059206
LC1¦ATF4 | LC1 | 26.2557 | 0.03141 | 0.1196% | 0.27279 | 1.2058
LO1¦ATF4 | LO1 | 26.0605 | 0.12923 | 0.4959% | 0.31121 | 1.1784
LP1¦ATF4 | LP1 | 26.1833 | 0.068464 | 0.2615% | 0.28645 | 1.2131
HC1¦ATF4 | HC1 | 27.994 | 0.023423 | 0.08367% | 0.084389 | 1.7098
HO1¦ATF4 | HO1 | 25.9139 | 0.058885 | 0.2272% | 0.34356 | 1.1481
HP1¦ATF4 | HP1 | 29.0169 | 0.064081 | 0.2208% | 0.042314 | 1.5312
LC2¦ATF4 | LC2 | 25.9742 | 0.10101 | 0.3889% | 0.32986 | 1.2279
LO2¦ATF4 | LO2 | 32.0886 | 0.052226 | 0.1628% | 0.0053223 | 1.0514
LP2¦ATF4 | LP2 | 31.5993 | 0.15429 | 0.4883% | 0.0074052 | 1.3528
HC2¦ATF4 | HC2 | 33.4662 | 0.13312 | 0.3978% | 0.0021004 | 0.78688
HO2¦ATF4 | HO2 | 26.8065 | 0.19515 | 0.728% | 0.18809 | 1.6199
HP2¦ATF4 | HP2 | 26.2173 | 0.073699 | 0.2811% | 0.27995 | 1.214
LC3¦ATF4 | LC3 | 26.9414 | 0.194 | 0.7201% | 0.17172 | 1.307
LO3¦ATF4 | LO3 | 26.7586 | 0.08529 | 0.3187% | 0.19427 | 1.3279
LP3¦ATF4 | LP3 | 27.0998 | 0.1235 | 0.4557% | 0.15431 | 1.5916
HC3¦ATF4 | HC3 | 28.5746 | 0.12453 | 0.4358% | 0.05703 | 1.7424
HO3¦ATF4 | HO3 | 27.8947 | 0.039078 | 0.1401% | 0.090243 | 1.4548
HP3¦ATF4 | HP3 | 26.7671 | 0.14202 | 0.5306% | 0.19316 | 2.3703
LC4¦ATF4 | LC4 | 25.9716 | 0.090791 | 0.3496% | 0.33045 | 0.98391
LO4¦ATF4 | LO4 | 26.2734 | 0.11287 | 0.4296% | 0.26954 | 1.1824
LP4¦ATF4 | LP4 | 26.5614 | 0.12345 | 0.4648% | 0.22193 | 1.4396
HC4¦ATF4 | HC4 | 26.4926 | 0.0064888 | 0.02449% | 0.23248 | 1.6768
HO4¦ATF4 | HO4 | 28.9313 | 0.23472 | 0.8113% | 0.044828 | 1.9663
HP4¦ATF4 | HP4 | 26.0791 | 0.17319 | 0.6641% | 0.30732 | 1.2981
LC5¦ATF4 | LC5 | 25.1246 | 0.14245 | 0.567% | 0.5853 | 0.9517
LO5¦ATF4 | LO5 | 24.9147 | 0.04658 | 0.187% | 0.67435 | 0.80644
LP5¦ATF4 | LP5 | 24.826 | 0.095293 | 0.3838% | 0.71598 | 1.265
HC5¦ATF4 | HC5 | 24.9605 | 0.097413 | 0.3903% | 0.65382 | 0.90185
HO5¦ATF4 | HO5 | 24.7425 | 0.23452 | 0.9478% | 0.75744 | 0.7394
HP5¦ATF4 | HP5 | 24.7526 | 0.16729 | 0.6758% | 0.75232 | 0.85536
LC6¦ATF4 | LC6 | 24.9931 | 0.19688 | 0.7878% | 0.6396 | 0.78383
LO6¦ATF4 | LO6 | 24.7648 | 0.20412 | 0.8242% | 0.74616 | 0.88349
LP6¦ATF4 | LP6 | 24.9309 | 0.042779 | 0.1716% | 0.66703 | 0.84636
HC6¦ATF4 | HC6 | 25.1821 | 0.017158 | 0.06813% | 0.56301 | 0.88713
HO6¦ATF4 | HO6 | 24.7637 | 0.15308 | 0.6182% | 0.74668 | 0.84534
HP6¦ATF4 | HP6 | 24.8486 | 0.14795 | 0.5954% | 0.70514 | 0.81386
LPS1¦ATF4 | LPS1 | 24.3347 | 0.062934 | 0.2586% | 0.99745 | 0.94285
LPS2¦ATF4 | LPS2 | 25.4439 | 0.08399 | 0.3301% | 0.47181 | 1.4531
LPS3¦ATF4 | LPS3 | 24.5112 | 0.10941 | 0.4464% | 0.88544 | 0.95488
LPS4¦ATF4 | LPS4 | 24.3165 | 0.12413 | 0.5105% | 1.0098 | 0.93539
LPS5¦ATF4 | LPS5 | 24.4356 | 0.04493 | 0.1839% | 0.93178 | 0.98408
LPS6¦ATF4 | LPS6 | 24.6866 | 0.15695 | 0.6358% | 0.78658 | 1.3131

## ATF6
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 27.3869 | 0.058399 | 0.2132% | 0.1 | -1
1:20 | 28.2945 | 0.12274 | 0.4338% | 0.05 | -1.301
1:40 | 29.314 | 0.039682 | 0.1354% | 0.025 | -1.6021
1:80 | 30.5344 | 0.017475 | 0.05723% | 0.0125 | -1.9031
1:160 | 31.6531 | 0.021011 | 0.06638% | 0.00625 | -2.2041
1:320 | 32.7492 | 0.29785 | 0.9095% | 0.003125 | -2.5051
| Slope | -3.6169
| Efficiency | 1.8901
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | delta delta Ct (to Housekeepers)
BLANK¦ATF6 | BLANK | 40.1 | 0 | 0% | 0.00054447
1:10¦ATF6 | 1:10 | 27.3869 | 0.058399 | 0.2132% | 1.7821
1:20¦ATF6 | 1:20 | 28.2945 | 0.12274 | 0.4338% | 1
1:40¦ATF6 | 1:40 | 29.314 | 0.039682 | 0.1354% | 0.52255
1:80¦ATF6 | 1:80 | 30.5344 | 0.017475 | 0.05723% | 0.24028
1:160¦ATF6 | 1:160 | 31.6531 | 0.021011 | 0.06638% | 0.11787
1:320¦ATF6 | 1:320 | 32.7492 | 0.29785 | 0.9095% | 0.058662
LC1¦ATF6 | LC1 | 30.6056 | 0.1941 | 0.6342% | 0.22962 | 1.015
LO1¦ATF6 | LO1 | 29.9804 | 0.16137 | 0.5382% | 0.34188 | 1.2946
LP1¦ATF6 | LP1 | 30.1667 | 0.11709 | 0.3881% | 0.30364 | 1.2859
HC1¦ATF6 | HC1 | 33.2986 | 0.24944 | 0.7491% | 0.041348 | 0.83774
HO1¦ATF6 | HO1 | 29.9476 | 0.11934 | 0.3985% | 0.34909 | 1.1666
HP1¦ATF6 | HP1 | 33.8871 | 0.19507 | 0.5756% | 0.028428 | 1.0287
LC2¦ATF6 | LC2 | 30.1244 | 0.12718 | 0.4222% | 0.31194 | 1.1613
LO2¦ATF6 | LO2 | 37.8312 | 0.11077 | 0.2928% | 0.0023082 | 0.45599
LP2¦ATF6 | LP2 | 36.4827 | 0.35966 | 0.9858% | 0.0054463 | 0.99493
HC2¦ATF6 | HC2 | 38.556 | 0.30309 | 0.7861% | 0.001455 | 0.5451
HO2¦ATF6 | HO2 | 31.48 | 0.078285 | 0.2487% | 0.13161 | 1.1335
HP2¦ATF6 | HP2 | 30.3071 | 0.018387 | 0.06067% | 0.27768 | 1.2042
LC3¦ATF6 | LC3 | 31.2838 | 0.11504 | 0.3677% | 0.14911 | 1.1349
LO3¦ATF6 | LO3 | 30.919 | 0.20533 | 0.6641% | 0.1881 | 1.2857
LP3¦ATF6 | LP3 | 31.5436 | 0.21408 | 0.6787% | 0.12638 | 1.3035
HC3¦ATF6 | HC3 | 33.6319 | 0.14567 | 0.4331% | 0.033442 | 1.0217
HO3¦ATF6 | HO3 | 32.6392 | 0.21597 | 0.6617% | 0.062917 | 1.0143
HP3¦ATF6 | HP3 | 32.0536 | 0.21769 | 0.6791% | 0.091341 | 1.1209
LC4¦ATF6 | LC4 | 29.8126 | 0.080824 | 0.2711% | 0.38042 | 1.1327
LO4¦ATF6 | LO4 | 30.3003 | 0.19343 | 0.6384% | 0.27888 | 1.2234
LP4¦ATF6 | LP4 | 30.6747 | 0.27755 | 0.9048% | 0.21974 | 1.4254
HC4¦ATF6 | HC4 | 31.3845 | 0.20643 | 0.6577% | 0.13985 | 1.0087
HO4¦ATF6 | HO4 | 34.2439 | 0.19687 | 0.5749% | 0.022652 | 0.99355
HP4¦ATF6 | HP4 | 30.2396 | 0.13433 | 0.4442% | 0.28987 | 1.2244
LC5¦ATF6 | LC5 | 28.8895 | 0.070195 | 0.243% | 0.68471 | 1.1133
LO5¦ATF6 | LO5 | 28.7904 | 0.1734 | 0.6023% | 0.7293 | 0.87215
LP5¦ATF6 | LP5 | 28.5957 | 0.050759 | 0.1775% | 0.8255 | 1.4585
HC5¦ATF6 | HC5 | 28.6771 | 0.16768 | 0.5847% | 0.78382 | 1.0812
HO5¦ATF6 | HO5 | 28.659 | 0.079675 | 0.278% | 0.79289 | 0.774
HP5¦ATF6 | HP5 | 28.8501 | 0.15211 | 0.5272% | 0.7021 | 0.79825
LC6¦ATF6 | LC6 | 28.6987 | 0.19744 | 0.688% | 0.77314 | 0.94748
LO6¦ATF6 | LO6 | 28.7466 | 0.16469 | 0.5729% | 0.74992 | 0.88794
LP6¦ATF6 | LP6 | 28.6723 | 0.20191 | 0.7042% | 0.78621 | 0.99758
HC6¦ATF6 | HC6 | 28.9283 | 0.13227 | 0.4572% | 0.66798 | 1.0525
HO6¦ATF6 | HO6 | 28.4259 | 0.081999 | 0.2885% | 0.91975 | 1.0413
HP6¦ATF6 | HP6 | 28.7192 | 0.080952 | 0.2819% | 0.76311 | 0.88077
LPS1¦ATF6 | LPS1 | 28.8515 | 0.17271 | 0.5986% | 0.70146 | 0.66307
LPS2¦ATF6 | LPS2 | 30.0362 | 0.051204 | 0.1705% | 0.32995 | 1.0162
LPS3¦ATF6 | LPS3 | 29.0377 | 0.068672 | 0.2365% | 0.62303 | 0.67189
LPS4¦ATF6 | LPS4 | 28.8906 | 0.12687 | 0.4392% | 0.68422 | 0.63381
LPS5¦ATF6 | LPS5 | 28.8974 | 0.17879 | 0.6187% | 0.68128 | 0.71952
LPS6¦ATF6 | LPS6 | 29.1731 | 0.19659 | 0.6739% | 0.5716 | 0.95421

## Housekeeper deltaCT
| B2M | YWHAZ | HMBS | Geometric mean
LC1 | 0.25259 | 0.23717 | 0.19328 | 0.22623
LO1 | 0.29458 | 0.32852 | 0.19031 | 0.26408
LP1 | 0.26458 | 0.29195 | 0.17044 | 0.23613
HC1 | 0.07449 | 0.052506 | 0.030743 | 0.049357
HO1 | 0.31041 | 0.3764 | 0.22933 | 0.29924
HP1 | 0.03263 | 0.034519 | 0.018735 | 0.027634
LC2 | 0.3212 | 0.30329 | 0.19898 | 0.26862
LO2 | 0.0055929 | 0.0051822 | 0.0044749 | 0.0050619
LP2 | 0.0073561 | 0.012238 | 0.0018221 | 0.0054741
HC2 | 0.0031007 | 0.0030862 | 0.0019875 | 0.0026693
HO2 | 0.13342 | 0.15163 | 0.077373 | 0.11611
HP2 | 0.24133 | 0.30885 | 0.16453 | 0.2306
LC3 | 0.17176 | 0.13323 | 0.099117 | 0.13139
LO3 | 0.17467 | 0.17864 | 0.10035 | 0.1463
LP3 | 0.13877 | 0.12213 | 0.053781 | 0.096956
HC3 | 0.048799 | 0.041388 | 0.017362 | 0.032731
HO3 | 0.074273 | 0.080536 | 0.039906 | 0.062033
HP3 | 0.14781 | 0.16129 | 0.022699 | 0.081491
LC4 | 0.38684 | 0.3516 | 0.27853 | 0.33585
LO4 | 0.26705 | 0.25761 | 0.1722 | 0.22796
LP4 | 0.18798 | 0.26986 | 0.072227 | 0.15417
HC4 | 0.21047 | 0.14724 | 0.085992 | 0.13864
HO4 | 0.036248 | 0.032479 | 0.010066 | 0.022799
HP4 | 0.29693 | 0.28977 | 0.1542 | 0.23674
LC5 | 0.72919 | 0.68067 | 0.46866 | 0.615
LO5 | 0.92663 | 0.81851 | 0.77093 | 0.83621
LP5 | 0.7055 | 0.75831 | 0.33894 | 0.56601
HC5 | 1.0646 | 0.7249 | 0.49377 | 0.72498
HO5 | 1.241 | 0.96931 | 0.89364 | 1.0244
HP5 | 1.0078 | 0.85395 | 0.79064 | 0.87955
LC6 | 0.94466 | 0.86751 | 0.66299 | 0.81599
LO6 | 0.85151 | 0.91121 | 0.77639 | 0.84456
LP6 | 0.84148 | 0.89419 | 0.65059 | 0.78812
HC6 | 0.80347 | 0.69576 | 0.45727 | 0.63465
HO6 | 0.97148 | 0.88748 | 0.79933 | 0.8833
HP6 | 1.0014 | 0.84528 | 0.76835 | 0.86641
LPS1 | 0.68008 | 1.1117 | 1.566 | 1.0579
LPS2 | 0.19942 | 0.2932 | 0.58538 | 0.32468
LPS3 | 0.53459 | 1.0664 | 1.3986 | 0.92728
LPS4 | 0.66935 | 1.21 | 1.5533 | 1.0795
LPS5 | 0.61262 | 1.0979 | 1.2621 | 0.94685
LPS6 | 0.42663 | 0.79491 | 0.63382 | 0.59903