## Results
Block Type | 384-Well Block
Calibration Background is expired | No
Calibration Background performed on | 07-19-2022
Calibration Normalization FAM-ROX is expired | No
Calibration Normalization FAM-ROX performed on | 04-21-2022
Calibration Normalization VIC-ROX is expired | No
Calibration Normalization VIC-ROX performed on | 04-21-2022
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 04-21-2022
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 04-21-2022
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 04-21-2022
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 04-21-2022
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 04-21-2022
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 04-21-2022
Calibration ROI is expired | No
Calibration ROI performed on | 04-21-2022
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 04-21-2022
Chemistry | TAQMAN
Date Created | 2022-07-29 15:14:19 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | D:\Users\Administrator\Desktop\FELIX\Felix HNM 4.eds
Experiment Name | Felix HNM 4
Experiment Run End Time | 2022-07-29 16:06:15 PM BST
Experiment Type | Standard Curve
Instrument Name | HotPants
Instrument Serial Number | 278871706
Instrument Type | QuantStudio(TM) 7 Flex System
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
User Name
Well Position | Sample Name | Target Name | CT | Sample
A1 |  | CXCL8 | Undetermined | BLANK
A2 |  | CXCL8 | Undetermined | BLANK
A3 |  | CXCL8 | Undetermined | BLANK
A4 |  | CXCL8 | 27.7025 | 1:10
A5 |  | CXCL8 | 27.5764 | 1:10
A6 |  | CXCL8 | 27.5777 | 1:10
A7 |  | CXCL8 | 28.8059 | 1:20
A8 |  | CXCL8 | 28.6217 | 1:20
A9 |  | CXCL8 | 28.4849 | 1:20
A10 |  | CXCL8 | 29.6247 | 1:40
A11 |  | CXCL8 | 29.7348 | 1:40
A12 |  | CXCL8 | 29.4778 | 1:40
A13 |  | CXCL8 | 30.2257 | 1:80
A14 |  | CXCL8 | 30.6428 | 1:80
A15 |  | CXCL8 | 30.6184 | 1:80
A16 |  | CXCL8 | 31.6005 | 1:160
A17 |  | CXCL8 | 31.5191 | 1:160
A18 |  | CXCL8 | 31.5802 | 1:160
A19 |  | CXCL8 | 32.9508 | 1:320
A20 |  | CXCL8 | 33.0043 | 1:320
A21 |  | CXCL8 | 32.8744 | 1:320
A22 |  | CXCL8 | 30.0803 | LC1
A23 |  | CXCL8 | 30.3316 | LC1
A24 |  | CXCL8 | 30.3137 | LC1
B1 |  | CXCL8 | 29.3026 | LO1
B2 |  | CXCL8 | 29.6035 | LO1
B3 |  | CXCL8 | 29.4728 | LO1
B4 |  | CXCL8 | 30.3097 | LP1
B5 |  | CXCL8 | 30.1215 | LP1
B6 |  | CXCL8 | 29.8868 | LP1
B7 |  | CXCL8 | 32.6131 | HC1
B8 |  | CXCL8 | 32.6695 | HC1
B9 |  | CXCL8 | 32.6712 | HC1
B10 |  | CXCL8 | 29.202 | HO1
B11 |  | CXCL8 | 29.0048 | HO1
B12 |  | CXCL8 | 28.9678 | HO1
B13 |  | CXCL8 | 33.3881 | HP1
B14 |  | CXCL8 | 32.9253 | HP1
B15 |  | CXCL8 | 33.0303 | HP1
B16 |  | CXCL8 | 30.1601 | LC2
B17 |  | CXCL8 | 30.0573 | LC2
B18 |  | CXCL8 | 30.0039 | LC2
B19 |  | CXCL8 | 34.4076 | LO2
B20 |  | CXCL8 | 34.1899 | LO2
B21 |  | CXCL8 | 34.5533 | LO2
B22 |  | CXCL8 | 34.3779 | LP2
B23 |  | CXCL8 | 33.9895 | LP2
B24 |  | CXCL8 | 34.4793 | LP2
C1 |  | CXCL8 | 38.1839 | HC2
C2 |  | CXCL8 | 36.2705 | HC2
C3 |  | CXCL8 | 37.1561 | HC2
C4 |  | CXCL8 | 30.8402 | HO2
C5 |  | CXCL8 | 29.9545 | HO2
C6 |  | CXCL8 | 30.0643 | HO2
C7 |  | CXCL8 | 30.0343 | HP2
C8 |  | CXCL8 | 30.1346 | HP2
C9 |  | CXCL8 | 30.0965 | HP2
C10 |  | CXCL8 | 30.3458 | LC3
C11 |  | CXCL8 | 29.9041 | LC3
C12 |  | CXCL8 | 29.9807 | LC3
C13 |  | CXCL8 | 29.5835 | LO3
C14 |  | CXCL8 | 29.6416 | LO3
C15 |  | CXCL8 | 29.6858 | LO3
C16 |  | CXCL8 | 30.3607 | LP3
C17 |  | CXCL8 | 29.9632 | LP3
C18 |  | CXCL8 | 30.4449 | LP3
C19 |  | CXCL8 | 32.212 | HC3
C20 |  | CXCL8 | 31.7653 | HC3
C21 |  | CXCL8 | 31.9353 | HC3
C22 |  | CXCL8 | 30.9753 | HO3
C23 |  | CXCL8 | 31.0367 | HO3
C24 |  | CXCL8 | 31.2032 | HO3
D1 |  | CXCL8 | 30.3896 | HP3
D2 |  | CXCL8 | 30.1139 | HP3
D3 |  | CXCL8 | 30.19 | HP3
D4 |  | CXCL8 | 29.0506 | LC4
D5 |  | CXCL8 | 28.9321 | LC4
D6 |  | CXCL8 | 28.9554 | LC4
D7 |  | CXCL8 | 29.2869 | LO4
D8 |  | CXCL8 | 29.1822 | LO4
D9 |  | CXCL8 | 28.9468 | LO4
D10 |  | CXCL8 | 29.7868 | LP4
D11 |  | CXCL8 | 29.7765 | LP4
D12 |  | CXCL8 | 29.5667 | LP4
D13 |  | CXCL8 | 30.2725 | HC4
D14 |  | CXCL8 | 29.7607 | HC4
D15 |  | CXCL8 | 29.9222 | HC4
D16 |  | CXCL8 | 32.0984 | HO4
D17 |  | CXCL8 | 32.0003 | HO4
D18 |  | CXCL8 | 31.963 | HO4
D19 |  | CXCL8 | 29.5899 | HP4
D20 |  | CXCL8 | 29.1173 | HP4
D21 |  | CXCL8 | 29.1878 | HP4
E1 |  | CXCL8 | 28.8525 | LC5
E2 |  | CXCL8 | 28.6464 | LC5
E3 |  | CXCL8 | 28.4176 | LC5
E4 |  | CXCL8 | 29.0354 | LO5
E5 |  | CXCL8 | 28.9571 | LO5
E6 |  | CXCL8 | 28.9467 | LO5
E7 |  | CXCL8 | 29.1775 | LP5
E8 |  | CXCL8 | 29.2041 | LP5
E9 |  | CXCL8 | 29.1321 | LP5
E10 |  | CXCL8 | 28.6557 | HC5
E11 |  | CXCL8 | 28.4007 | HC5
E12 |  | CXCL8 | 28.3508 | HC5
E13 |  | CXCL8 | 29.0745 | HO5
E14 |  | CXCL8 | 28.5178 | HO5
E15 |  | CXCL8 | 28.6257 | HO5
E16 |  | CXCL8 | 29.1179 | HP5
E17 |  | CXCL8 | 29.0077 | HP5
E18 |  | CXCL8 | 28.9565 | HP5
E19 |  | CXCL8 | 28.5339 | LC6
E20 |  | CXCL8 | 28.2764 | LC6
E21 |  | CXCL8 | 28.3766 | LC6
E22 |  | CXCL8 | 29.0023 | LO6
E23 |  | CXCL8 | 28.4972 | LO6
E24 |  | CXCL8 | 28.606 | LO6
F1 |  | CXCL8 | 29.1276 | LP6
F2 |  | CXCL8 | 28.8437 | LP6
F3 |  | CXCL8 | 29.0118 | LP6
F4 |  | CXCL8 | 28.9397 | HC6
F5 |  | CXCL8 | 28.9618 | HC6
F6 |  | CXCL8 | 28.8992 | HC6
F7 |  | CXCL8 | 29.0235 | HO6
F8 |  | CXCL8 | 28.7156 | HO6
F9 |  | CXCL8 | 28.8215 | HO6
F10 |  | CXCL8 | 29.0797 | HP6
F11 |  | CXCL8 | 29.2493 | HP6
F12 |  | CXCL8 | 29.1256 | HP6
F13 |  | CXCL8 | 31.004 | LPS1
F14 |  | CXCL8 | 31.0783 | LPS1
F15 |  | CXCL8 | 30.6958 | LPS1
F16 |  | CXCL8 | 32.2413 | LPS2
F17 |  | CXCL8 | 32.2475 | LPS2
F18 |  | CXCL8 | 32.2854 | LPS2
F19 |  | CXCL8 | 30.946 | LPS3
F20 |  | CXCL8 | 30.8109 | LPS3
F21 |  | CXCL8 | 30.7056 | LPS3
F22 |  | CXCL8 | 30.9513 | LPS4
F23 |  | CXCL8 | 30.4969 | LPS4
F24 |  | CXCL8 | 30.5957 | LPS4
G1 |  | CXCL8 | 30.9626 | LPS5
G2 |  | CXCL8 | 31.1425 | LPS5
G3 |  | CXCL8 | 30.9797 | LPS5
G4 |  | CXCL8 | 31.8966 | LPS6
G5 |  | CXCL8 | 31.567 | LPS6
G6 |  | CXCL8 | 31.2245 | LPS6
G7 |  | CXCL8 | Undetermined | EMPTY
G8 |  | CXCL8 | Undetermined | EMPTY
G9 |  | CXCL8 | Undetermined | EMPTY
G10 |  | CXCL8 | Undetermined | EMPTY
G11 |  | CXCL8 | Undetermined | EMPTY
G12 |  | CXCL8 | Undetermined | EMPTY
G13 |  | CXCL8 | Undetermined | EMPTY
G14 |  | CXCL8 | Undetermined | EMPTY
G15 |  | CXCL8 | Undetermined | EMPTY
G16 |  | CXCL8 | Undetermined | EMPTY
G17 |  | CXCL8 | Undetermined | EMPTY
G18 |  | CXCL8 | Undetermined | EMPTY
G19 |  | CXCL8 | Undetermined | EMPTY
G20 |  | CXCL8 | Undetermined | EMPTY
G21 |  | CXCL8 | Undetermined | EMPTY
G22 |  | CXCL8 | Undetermined | EMPTY
G23 |  | CXCL8 | Undetermined | EMPTY
G24 |  | CXCL8 | Undetermined | EMPTY
H1 |  | CXCL8 | Undetermined | EMPTY
H2 |  | CXCL8 | Undetermined | EMPTY
H3 |  | CXCL8 | Undetermined | EMPTY
H4 |  | CASP3 | Undetermined | BLANK
H5 |  | CASP3 | Undetermined | BLANK
H6 |  | CASP3 | Undetermined | BLANK
H7 |  | CASP3 | 26.8551 | 1:10
H8 |  | CASP3 | 26.8618 | 1:10
H9 |  | CASP3 | 26.8446 | 1:10
H10 |  | CASP3 | 27.614 | 1:20
H11 |  | CASP3 | 27.587 | 1:20
H12 |  | CASP3 | 27.6741 | 1:20
H13 |  | CASP3 | 28.7188 | 1:40
H14 |  | CASP3 | 28.7254 | 1:40
H15 |  | CASP3 | 28.6572 | 1:40
H16 |  | CASP3 | 29.9507 | 1:80
H17 |  | CASP3 | 29.8482 | 1:80
H18 |  | CASP3 | 29.9044 | 1:80
H19 |  | CASP3 | 30.9287 | 1:160
H20 |  | CASP3 | 30.8671 | 1:160
H21 |  | CASP3 | 30.9572 | 1:160
I1 |  | CASP3 | 31.8218 | 1:320
I2 |  | CASP3 | 32.0213 | 1:320
I3 |  | CASP3 | 31.8419 | 1:320
I4 |  | CASP3 | 30.0938 | LC1
I5 |  | CASP3 | 29.9313 | LC1
I6 |  | CASP3 | 30.0379 | LC1
I7 |  | CASP3 | 29.8079 | LO1
I8 |  | CASP3 | 29.5801 | LO1
I9 |  | CASP3 | 29.581 | LO1
I10 |  | CASP3 | 29.6823 | LP1
I11 |  | CASP3 | 29.9012 | LP1
I12 |  | CASP3 | 29.6784 | LP1
I13 |  | CASP3 | 32.9052 | HC1
I14 |  | CASP3 | 32.3141 | HC1
I15 |  | CASP3 | 32.6722 | HC1
I16 |  | CASP3 | 29.9407 | HO1
I17 |  | CASP3 | 29.8151 | HO1
I18 |  | CASP3 | 29.5433 | HO1
I19 |  | CASP3 | 34.1962 | HP1
I20 |  | CASP3 | 34.0577 | HP1
I21 |  | CASP3 | 34.1438 | HP1
I22 |  | CASP3 | 29.7681 | LC2
I23 |  | CASP3 | 29.3136 | LC2
I24 |  | CASP3 | 29.4519 | LC2
J1 |  | CASP3 | 36.3886 | LO2
J2 |  | CASP3 | 37.3542 | LO2
J3 |  | CASP3 | 35.7894 | LO2
J4 |  | CASP3 | 35.1985 | LP2
J5 |  | CASP3 | 36.1129 | LP2
J6 |  | CASP3 | 35.3328 | LP2
J7 |  | CASP3 | 38.5857 | HC2
J8 |  | CASP3 | 36.2338 | HC2
J9 |  | CASP3 | Undetermined | HC2
J10 |  | CASP3 | 31.3193 | HO2
J11 |  | CASP3 | 31.0039 | HO2
J12 |  | CASP3 | 31.139 | HO2
J13 |  | CASP3 | 30.0389 | HP2
J14 |  | CASP3 | 29.9092 | HP2
J15 |  | CASP3 | 29.6154 | HP2
J16 |  | CASP3 | 30.7044 | LC3
J17 |  | CASP3 | 30.5248 | LC3
J18 |  | CASP3 | 30.6986 | LC3
J19 |  | CASP3 | 30.6536 | LO3
J20 |  | CASP3 | 30.5483 | LO3
J21 |  | CASP3 | 30.5397 | LO3
J22 |  | CASP3 | 31.3421 | LP3
J23 |  | CASP3 | 31.0593 | LP3
J24 |  | CASP3 | 30.858 | LP3
K1 |  | CASP3 | 32.957 | HC3
K2 |  | CASP3 | 33.1833 | HC3
K3 |  | CASP3 | 32.9393 | HC3
K4 |  | CASP3 | 32.1586 | HO3
K5 |  | CASP3 | 31.6371 | HO3
K6 |  | CASP3 | 32.1354 | HO3
K7 |  | CASP3 | 31.703 | HP3
K8 |  | CASP3 | 31.3579 | HP3
K9 |  | CASP3 | 31.7864 | HP3
K10 |  | CASP3 | 29.5789 | LC4
K11 |  | CASP3 | 29.5409 | LC4
K12 |  | CASP3 | 29.5345 | LC4
K13 |  | CASP3 | 30.2247 | LO4
K14 |  | CASP3 | 29.7195 | LO4
K15 |  | CASP3 | 29.8459 | LO4
K16 |  | CASP3 | 30.6193 | LP4
K17 |  | CASP3 | 30.0222 | LP4
K18 |  | CASP3 | 30.2037 | LP4
K19 |  | CASP3 | 30.5484 | HC4
K20 |  | CASP3 | 30.6033 | HC4
K21 |  | CASP3 | 30.8066 | HC4
K22 |  | CASP3 | 34.1785 | HO4
K23 |  | CASP3 | 33.3488 | HO4
K24 |  | CASP3 | 33.7452 | HO4
L1 |  | CASP3 | 29.9705 | HP4
L2 |  | CASP3 | 29.8499 | HP4
L3 |  | CASP3 | 30.0363 | HP4
L4 |  | CASP3 | 28.0675 | LC5
L5 |  | CASP3 | 27.9262 | LC5
L6 |  | CASP3 | 28.1063 | LC5
L7 |  | CASP3 | 28.0578 | LO5
L8 |  | CASP3 | 27.9347 | LO5
L9 |  | CASP3 | 27.4183 | LO5
L10 |  | CASP3 | 28.0556 | LP5
L11 |  | CASP3 | 28.0624 | LP5
L12 |  | CASP3 | 27.8489 | LP5
L13 |  | CASP3 | 27.9133 | HC5
L14 |  | CASP3 | 27.8405 | HC5
L15 |  | CASP3 | 27.5051 | HC5
L16 |  | CASP3 | 27.966 | HO5
L17 |  | CASP3 | 27.7753 | HO5
L18 |  | CASP3 | 27.8272 | HO5
L19 |  | CASP3 | 27.9812 | HP5
L20 |  | CASP3 | 27.9712 | HP5
L21 |  | CASP3 | 27.9012 | HP5
M1 |  | CASP3 | 27.8536 | LC6
M2 |  | CASP3 | 27.4849 | LC6
M3 |  | CASP3 | 27.5809 | LC6
M4 |  | CASP3 | 28.0104 | LO6
M5 |  | CASP3 | 27.8131 | LO6
M6 |  | CASP3 | 27.9609 | LO6
M7 |  | CASP3 | 27.9688 | LP6
M8 |  | CASP3 | 27.7503 | LP6
M9 |  | CASP3 | 27.5873 | LP6
M10 |  | CASP3 | 27.9774 | HC6
M11 |  | CASP3 | 27.8811 | HC6
M12 |  | CASP3 | 27.8807 | HC6
M13 |  | CASP3 | 28.0724 | HO6
M14 |  | CASP3 | 27.863 | HO6
M15 |  | CASP3 | 27.6047 | HO6
M16 |  | CASP3 | 28.0186 | HP6
M17 |  | CASP3 | 27.9027 | HP6
M18 |  | CASP3 | 27.9032 | HP6
M19 |  | CASP3 | 28.1844 | LPS1
M20 |  | CASP3 | 28.0447 | LPS1
M21 |  | CASP3 | 27.6902 | LPS1
M22 |  | CASP3 | 31.3017 | LPS2
M23 |  | CASP3 | 32.0284 | LPS2
M24 |  | CASP3 | 31.952 | LPS2
N1 |  | CASP3 | 28.1194 | LPS3
N2 |  | CASP3 | 28.254 | LPS3
N3 |  | CASP3 | 28.205 | LPS3
N4 |  | CASP3 | 28.0434 | LPS4
N5 |  | CASP3 | 27.9073 | LPS4
N6 |  | CASP3 | 27.899 | LPS4
N7 |  | CASP3 | 28.1805 | LPS5
N8 |  | CASP3 | 27.648 | LPS5
N9 |  | CASP3 | 27.9703 | LPS5
N10 |  | CASP3 | 28.6526 | LPS6
N11 |  | CASP3 | 28.5316 | LPS6
N12 |  | CASP3 | 28.2041 | LPS6
N13 |  | CASP3 | Undetermined | EMPTY
N14 |  | CASP3 | Undetermined | EMPTY
N15 |  | CASP3 | Undetermined | EMPTY
N16 |  | CASP3 | Undetermined | EMPTY
N17 |  | CASP3 | Undetermined | EMPTY
N18 |  | CASP3 | Undetermined | EMPTY
N19 |  | CASP3 | Undetermined | EMPTY
N20 |  | CASP3 | Undetermined | EMPTY
N21 |  | CASP3 | Undetermined | EMPTY
N22 |  | CASP3 | Undetermined | EMPTY
N23 |  | CASP3 | Undetermined | EMPTY
N24 |  | CASP3 | Undetermined | EMPTY
O1 |  | CASP3 | Undetermined | EMPTY
O2 |  | CASP3 | Undetermined | EMPTY
O3 |  | CASP3 | Undetermined | EMPTY
O4 |  | CASP3 | Undetermined | EMPTY
O5 |  | CASP3 | Undetermined | EMPTY
O6 |  | CASP3 | Undetermined | EMPTY
O7 |  | CASP3 | Undetermined | EMPTY
O8 |  | CASP3 | Undetermined | EMPTY
O9 |  | CASP3 | Undetermined | EMPTY
How to use improved spreadsheet
1. Copy results into the 'Results sheet' , in the same format as shown here
2. Check that everything has copies over to the 'Results Workspace' (pull down the formula to add more rows). The sample names and genes should change automatically, and the helper column should format itself as "Sample Name""|""Gene Name" (e.g "BLANK|PGCK1")
3. On the individual gene spreadsheet, add the correct sample names to the 'Sample' column. Then, for the 'Helper' column, change the gene name in the first cell in the row and drag the formula down to the other rows.
4. This will fill in all the CT values for you
5. Edit the results workspace to get rid of red highlighted 'CV Ct' values. Do this by going through and removing outliers.
6. Change the names in the 'Housekeeper deltaCT' sheet (if you need to), and copy the formula down. Repeat for the 'Summary' page, which is for your target genes
7. If you have questions, then ask Emily. Apologies for the messy example data. The robot didn't pipette very well.

## Results Workspace
Well | Ct from reader | Corrected Cts | Sample Name | Average Ct | STDEV | Target Name | Helper
A1 | Undetermined | 40.1 | BLANK | 40.1 | 0 | CXCL8 | BLANK¦CXCL8
A2 | Undetermined | 40.1 |  |  |  | CXCL8
A3 | Undetermined | 40.1 |  |  |  | CXCL8
A4 | 27.7025 | 27.7025 | 1:10 | 27.6188 | 0.059139 | CXCL8 | 1:10¦CXCL8
A5 | 27.5764 | 27.5764 |  |  |  | CXCL8
A6 | 27.5777 | 27.5777 |  |  |  | CXCL8
A7 | 28.8059 | 28.8059 | 1:20 | 28.6375 | 0.13152 | CXCL8 | 1:20¦CXCL8
A8 | 28.6217 | 28.6217 |  |  |  | CXCL8
A9 | 28.4849 | 28.4849 |  |  |  | CXCL8
A10 | 29.6247 | 29.6247 | 1:40 | 29.6124 | 0.10528 | CXCL8 | 1:40¦CXCL8
A11 | 29.7348 | 29.7348 |  |  |  | CXCL8
A12 | 29.4778 | 29.4778 |  |  |  | CXCL8
A13 | 30.2257 | 30.2257 | 1:80 | 30.4956 | 0.19114 | CXCL8 | 1:80¦CXCL8
A14 | 30.6428 | 30.6428 |  |  |  | CXCL8
A15 | 30.6184 | 30.6184 |  |  |  | CXCL8
A16 | 31.6005 | 31.6005 | 1:160 | 31.5666 | 0.034594 | CXCL8 | 1:160¦CXCL8
A17 | 31.5191 | 31.5191 |  |  |  | CXCL8
A18 | 31.5802 | 31.5802 |  |  |  | CXCL8
A19 | 32.9508 | 32.9508 | 1:320 | 32.9432 | 0.053302 | CXCL8 | 1:320¦CXCL8
A20 | 33.0043 | 33.0043 |  |  |  | CXCL8
A21 | 32.8744 | 32.8744 |  |  |  | CXCL8
A22 | 30.0803 | 30.0803 | LC1 | 30.2418 | 0.11448 | CXCL8 | LC1¦CXCL8
A23 | 30.3316 | 30.3316 |  |  |  | CXCL8
A24 | 30.3137 | 30.3137 |  |  |  | CXCL8
B1 | 29.3026 | 29.3026 | LO1 | 29.4596 | 0.12321 | CXCL8 | LO1¦CXCL8
B2 | 29.6035 | 29.6035 |  |  |  | CXCL8
B3 | 29.4728 | 29.4728 |  |  |  | CXCL8
B4 | 30.3097 | 30.3097 | LP1 | 30.106 | 0.17303 | CXCL8 | LP1¦CXCL8
B5 | 30.1215 | 30.1215 |  |  |  | CXCL8
B6 | 29.8868 | 29.8868 |  |  |  | CXCL8
B7 | 32.6131 | 32.6131 | HC1 | 32.6513 | 0.027002 | CXCL8 | HC1¦CXCL8
B8 | 32.6695 | 32.6695 |  |  |  | CXCL8
B9 | 32.6712 | 32.6712 |  |  |  | CXCL8
B10 | 29.202 | 29.202 | HO1 | 29.0582 | 0.10279 | CXCL8 | HO1¦CXCL8
B11 | 29.0048 | 29.0048 |  |  |  | CXCL8
B12 | 28.9678 | 28.9678 |  |  |  | CXCL8
B13 | 33.3881 | 33.3881 | HP1 | 33.1145 | 0.19809 | CXCL8 | HP1¦CXCL8
B14 | 32.9253 | 32.9253 |  |  |  | CXCL8
B15 | 33.0303 | 33.0303 |  |  |  | CXCL8
B16 | 30.1601 | 30.1601 | LC2 | 30.0738 | 0.064835 | CXCL8 | LC2¦CXCL8
B17 | 30.0573 | 30.0573 |  |  |  | CXCL8
B18 | 30.0039 | 30.0039 |  |  |  | CXCL8
B19 | 34.4076 | 34.4076 | LO2 | 34.3836 | 0.14932 | CXCL8 | LO2¦CXCL8
B20 | 34.1899 | 34.1899 |  |  |  | CXCL8
B21 | 34.5533 | 34.5533 |  |  |  | CXCL8
B22 | 34.3779 | 34.3779 | LP2 | 34.2822 | 0.21106 | CXCL8 | LP2¦CXCL8
B23 | 33.9895 | 33.9895 |  |  |  | CXCL8
B24 | 34.4793 | 34.4793 |  |  |  | CXCL8
C1 | 38.1839 |  | HC2 | 36.7133 | 0.44279 | CXCL8 | HC2¦CXCL8
C2 | 36.2705 | 36.2705 |  |  |  | CXCL8
C3 | 37.1561 | 37.1561 |  |  |  | CXCL8
C4 | 30.8402 |  | HO2 | 30.0094 | 0.054905 | CXCL8 | HO2¦CXCL8
C5 | 29.9545 | 29.9545 |  |  |  | CXCL8
C6 | 30.0643 | 30.0643 |  |  |  | CXCL8
C7 | 30.0343 | 30.0343 | HP2 | 30.0885 | 0.041317 | CXCL8 | HP2¦CXCL8
C8 | 30.1346 | 30.1346 |  |  |  | CXCL8
C9 | 30.0965 | 30.0965 |  |  |  | CXCL8
C10 | 30.3458 | 30.3458 | LC3 | 30.0769 | 0.19268 | CXCL8 | LC3¦CXCL8
C11 | 29.9041 | 29.9041 |  |  |  | CXCL8
C12 | 29.9807 | 29.9807 |  |  |  | CXCL8
C13 | 29.5835 | 29.5835 | LO3 | 29.6369 | 0.041875 | CXCL8 | LO3¦CXCL8
C14 | 29.6416 | 29.6416 |  |  |  | CXCL8
C15 | 29.6858 | 29.6858 |  |  |  | CXCL8
C16 | 30.3607 | 30.3607 | LP3 | 30.2563 | 0.21006 | CXCL8 | LP3¦CXCL8
C17 | 29.9632 | 29.9632 |  |  |  | CXCL8
C18 | 30.4449 | 30.4449 |  |  |  | CXCL8
C19 | 32.212 | 32.212 | HC3 | 31.9708 | 0.18408 | CXCL8 | HC3¦CXCL8
C20 | 31.7653 | 31.7653 |  |  |  | CXCL8
C21 | 31.9353 | 31.9353 |  |  |  | CXCL8
C22 | 30.9753 | 30.9753 | HO3 | 31.0717 | 0.096296 | CXCL8 | HO3¦CXCL8
C23 | 31.0367 | 31.0367 |  |  |  | CXCL8
C24 | 31.2032 | 31.2032 |  |  |  | CXCL8
D1 | 30.3896 | 30.3896 | HP3 | 30.2312 | 0.11628 | CXCL8 | HP3¦CXCL8
D2 | 30.1139 | 30.1139 |  |  |  | CXCL8
D3 | 30.19 | 30.19 |  |  |  | CXCL8
D4 | 29.0506 | 29.0506 | LC4 | 28.9794 | 0.051249 | CXCL8 | LC4¦CXCL8
D5 | 28.9321 | 28.9321 |  |  |  | CXCL8
D6 | 28.9554 | 28.9554 |  |  |  | CXCL8
D7 | 29.2869 | 29.2869 | LO4 | 29.1386 | 0.1422 | CXCL8 | LO4¦CXCL8
D8 | 29.1822 | 29.1822 |  |  |  | CXCL8
D9 | 28.9468 | 28.9468 |  |  |  | CXCL8
D10 | 29.7868 | 29.7868 | LP4 | 29.71 | 0.10142 | CXCL8 | LP4¦CXCL8
D11 | 29.7765 | 29.7765 |  |  |  | CXCL8
D12 | 29.5667 | 29.5667 |  |  |  | CXCL8
D13 | 30.2725 | 30.2725 | HC4 | 29.9851 | 0.21361 | CXCL8 | HC4¦CXCL8
D14 | 29.7607 | 29.7607 |  |  |  | CXCL8
D15 | 29.9222 | 29.9222 |  |  |  | CXCL8
D16 | 32.0984 | 32.0984 | HO4 | 32.0205 | 0.057118 | CXCL8 | HO4¦CXCL8
D17 | 32.0003 | 32.0003 |  |  |  | CXCL8
D18 | 31.963 | 31.963 |  |  |  | CXCL8
D19 | 29.5899 | 29.5899 | HP4 | 29.2983 | 0.20819 | CXCL8 | HP4¦CXCL8
D20 | 29.1173 | 29.1173 |  |  |  | CXCL8
D21 | 29.1878 | 29.1878 |  |  |  | CXCL8
E1 | 28.8525 | 28.8525 | LC5 | 28.6388 | 0.17762 | CXCL8 | LC5¦CXCL8
E2 | 28.6464 | 28.6464 |  |  |  | CXCL8
E3 | 28.4176 | 28.4176 |  |  |  | CXCL8
E4 | 29.0354 | 29.0354 | LO5 | 28.9797 | 0.039605 | CXCL8 | LO5¦CXCL8
E5 | 28.9571 | 28.9571 |  |  |  | CXCL8
E6 | 28.9467 | 28.9467 |  |  |  | CXCL8
E7 | 29.1775 | 29.1775 | LP5 | 29.1712 | 0.029705 | CXCL8 | LP5¦CXCL8
E8 | 29.2041 | 29.2041 |  |  |  | CXCL8
E9 | 29.1321 | 29.1321 |  |  |  | CXCL8
E10 | 28.6557 | 28.6557 | HC5 | 28.4691 | 0.13352 | CXCL8 | HC5¦CXCL8
E11 | 28.4007 | 28.4007 |  |  |  | CXCL8
E12 | 28.3508 | 28.3508 |  |  |  | CXCL8
E13 | 29.0745 | 29.0745 | HO5 | 28.7394 | 0.24103 | CXCL8 | HO5¦CXCL8
E14 | 28.5178 | 28.5178 |  |  |  | CXCL8
E15 | 28.6257 | 28.6257 |  |  |  | CXCL8
E16 | 29.1179 | 29.1179 | HP5 | 29.0274 | 0.067356 | CXCL8 | HP5¦CXCL8
E17 | 29.0077 | 29.0077 |  |  |  | CXCL8
E18 | 28.9565 | 28.9565 |  |  |  | CXCL8
E19 | 28.5339 | 28.5339 | LC6 | 28.3956 | 0.106 | CXCL8 | LC6¦CXCL8
E20 | 28.2764 | 28.2764 |  |  |  | CXCL8
E21 | 28.3766 | 28.3766 |  |  |  | CXCL8
E22 | 29.0023 | 29.0023 | LO6 | 28.7018 | 0.21707 | CXCL8 | LO6¦CXCL8
E23 | 28.4972 | 28.4972 |  |  |  | CXCL8
E24 | 28.606 | 28.606 |  |  |  | CXCL8
F1 | 29.1276 | 29.1276 | LP6 | 28.9944 | 0.11657 | CXCL8 | LP6¦CXCL8
F2 | 28.8437 | 28.8437 |  |  |  | CXCL8
F3 | 29.0118 | 29.0118 |  |  |  | CXCL8
F4 | 28.9397 | 28.9397 | HC6 | 28.9335 | 0.02592 | CXCL8 | HC6¦CXCL8
F5 | 28.9618 | 28.9618 |  |  |  | CXCL8
F6 | 28.8992 | 28.8992 |  |  |  | CXCL8
F7 | 29.0235 | 29.0235 | HO6 | 28.8535 | 0.12771 | CXCL8 | HO6¦CXCL8
F8 | 28.7156 | 28.7156 |  |  |  | CXCL8
F9 | 28.8215 | 28.8215 |  |  |  | CXCL8
F10 | 29.0797 | 29.0797 | HP6 | 29.1515 | 0.071648 | CXCL8 | HP6¦CXCL8
F11 | 29.2493 | 29.2493 |  |  |  | CXCL8
F12 | 29.1256 | 29.1256 |  |  |  | CXCL8
F13 | 31.004 | 31.004 | LPS1 | 30.9261 | 0.1656 | CXCL8 | LPS1¦CXCL8
F14 | 31.0783 | 31.0783 |  |  |  | CXCL8
F15 | 30.6958 | 30.6958 |  |  |  | CXCL8
F16 | 32.2413 | 32.2413 | LPS2 | 32.2581 | 0.0195 | CXCL8 | LPS2¦CXCL8
F17 | 32.2475 | 32.2475 |  |  |  | CXCL8
F18 | 32.2854 | 32.2854 |  |  |  | CXCL8
F19 | 30.946 | 30.946 | LPS3 | 30.8208 | 0.098363 | CXCL8 | LPS3¦CXCL8
F20 | 30.8109 | 30.8109 |  |  |  | CXCL8
F21 | 30.7056 | 30.7056 |  |  |  | CXCL8
F22 | 30.9513 | 30.9513 | LPS4 | 30.6813 | 0.19512 | CXCL8 | LPS4¦CXCL8
F23 | 30.4969 | 30.4969 |  |  |  | CXCL8
F24 | 30.5957 | 30.5957 |  |  |  | CXCL8
G1 | 30.9626 | 30.9626 | LPS5 | 31.0283 | 0.081079 | CXCL8 | LPS5¦CXCL8
G2 | 31.1425 | 31.1425 |  |  |  | CXCL8
G3 | 30.9797 | 30.9797 |  |  |  | CXCL8
G4 | 31.8966 | 31.8966 | LPS6 | 31.5627 | 0.27438 | CXCL8 | LPS6¦CXCL8
G5 | 31.567 | 31.567 |  |  |  | CXCL8
G6 | 31.2245 | 31.2245 |  |  |  | CXCL8
G7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CXCL8 | EMPTY¦CXCL8
G8 | Undetermined | 40.1 |  |  |  | CXCL8
G9 | Undetermined | 40.1 |  |  |  | CXCL8
G10 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CXCL8 | EMPTY¦CXCL8
G11 | Undetermined | 40.1 |  |  |  | CXCL8
G12 | Undetermined | 40.1 |  |  |  | CXCL8
G13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CXCL8 | EMPTY¦CXCL8
G14 | Undetermined | 40.1 |  |  |  | CXCL8
G15 | Undetermined | 40.1 |  |  |  | CXCL8
G16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CXCL8 | EMPTY¦CXCL8
G17 | Undetermined | 40.1 |  |  |  | CXCL8
G18 | Undetermined | 40.1 |  |  |  | CXCL8
G19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CXCL8 | EMPTY¦CXCL8
G20 | Undetermined | 40.1 |  |  |  | CXCL8
G21 | Undetermined | 40.1 |  |  |  | CXCL8
G22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CXCL8 | EMPTY¦CXCL8
G23 | Undetermined | 40.1 |  |  |  | CXCL8
G24 | Undetermined | 40.1 |  |  |  | CXCL8
H1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CXCL8 | EMPTY¦CXCL8
H2 | Undetermined | 40.1 |  |  |  | CXCL8
H3 | Undetermined | 40.1 |  |  |  | CXCL8
H4 | Undetermined | 40.1 | BLANK | 40.1 | 0 | CASP3 | BLANK¦CASP3
H5 | Undetermined | 40.1 |  |  |  | CASP3
H6 | Undetermined | 40.1 |  |  |  | CASP3
H7 | 26.8551 | 26.8551 | 1:10 | 26.8538 | 0.0071063 | CASP3 | 1:10¦CASP3
H8 | 26.8618 | 26.8618 |  |  |  | CASP3
H9 | 26.8446 | 26.8446 |  |  |  | CASP3
H10 | 27.614 | 27.614 | 1:20 | 27.625 | 0.036411 | CASP3 | 1:20¦CASP3
H11 | 27.587 | 27.587 |  |  |  | CASP3
H12 | 27.6741 | 27.6741 |  |  |  | CASP3
H13 | 28.7188 | 28.7188 | 1:40 | 28.7005 | 0.030712 | CASP3 | 1:40¦CASP3
H14 | 28.7254 | 28.7254 |  |  |  | CASP3
H15 | 28.6572 | 28.6572 |  |  |  | CASP3
H16 | 29.9507 | 29.9507 | 1:80 | 29.9011 | 0.041917 | CASP3 | 1:80¦CASP3
H17 | 29.8482 | 29.8482 |  |  |  | CASP3
H18 | 29.9044 | 29.9044 |  |  |  | CASP3
H19 | 30.9287 | 30.9287 | 1:160 | 30.9177 | 0.037624 | CASP3 | 1:160¦CASP3
H20 | 30.8671 | 30.8671 |  |  |  | CASP3
H21 | 30.9572 | 30.9572 |  |  |  | CASP3
I1 | 31.8218 | 31.8218 | 1:320 | 31.895 | 0.089677 | CASP3 | 1:320¦CASP3
I2 | 32.0213 | 32.0213 |  |  |  | CASP3
I3 | 31.8419 | 31.8419 |  |  |  | CASP3
I4 | 30.0938 | 30.0938 | LC1 | 30.021 | 0.067432 | CASP3 | LC1¦CASP3
I5 | 29.9313 | 29.9313 |  |  |  | CASP3
I6 | 30.0379 | 30.0379 |  |  |  | CASP3
I7 | 29.8079 | 29.8079 | LO1 | 29.6563 | 0.10717 | CASP3 | LO1¦CASP3
I8 | 29.5801 | 29.5801 |  |  |  | CASP3
I9 | 29.581 | 29.581 |  |  |  | CASP3
I10 | 29.6823 | 29.6823 | LP1 | 29.754 | 0.10413 | CASP3 | LP1¦CASP3
I11 | 29.9012 | 29.9012 |  |  |  | CASP3
I12 | 29.6784 | 29.6784 |  |  |  | CASP3
I13 | 32.9052 | 32.9052 | HC1 | 32.6305 | 0.24312 | CASP3 | HC1¦CASP3
I14 | 32.3141 | 32.3141 |  |  |  | CASP3
I15 | 32.6722 | 32.6722 |  |  |  | CASP3
I16 | 29.9407 | 29.9407 | HO1 | 29.7663 | 0.16587 | CASP3 | HO1¦CASP3
I17 | 29.8151 | 29.8151 |  |  |  | CASP3
I18 | 29.5433 | 29.5433 |  |  |  | CASP3
I19 | 34.1962 | 34.1962 | HP1 | 34.1326 | 0.057096 | CASP3 | HP1¦CASP3
I20 | 34.0577 | 34.0577 |  |  |  | CASP3
I21 | 34.1438 | 34.1438 |  |  |  | CASP3
I22 | 29.7681 | 29.7681 | LC2 | 29.5112 | 0.19021 | CASP3 | LC2¦CASP3
I23 | 29.3136 | 29.3136 |  |  |  | CASP3
I24 | 29.4519 | 29.4519 |  |  |  | CASP3
J1 | 36.3886 | 36.3886 | LO2 | 36.089 | 0.29959 | CASP3 | LO2¦CASP3
J2 | 37.3542 |  |  |  |  | CASP3
J3 | 35.7894 | 35.7894 |  |  |  | CASP3
J4 | 35.1985 | 35.1985 | LP2 | 35.2657 | 0.067144 | CASP3 | LP2¦CASP3
J5 | 36.1129 |  |  |  |  | CASP3
J6 | 35.3328 | 35.3328 |  |  |  | CASP3
J7 | 38.5857 |  | HC2 | 36.2338 | 0 | CASP3 | HC2¦CASP3
J8 | 36.2338 | 36.2338 |  |  |  | CASP3
J9 | Undetermined |  |  |  |  | CASP3
J10 | 31.3193 | 31.3193 | HO2 | 31.1541 | 0.12918 | CASP3 | HO2¦CASP3
J11 | 31.0039 | 31.0039 |  |  |  | CASP3
J12 | 31.139 | 31.139 |  |  |  | CASP3
J13 | 30.0389 | 30.0389 | HP2 | 29.8545 | 0.17714 | CASP3 | HP2¦CASP3
J14 | 29.9092 | 29.9092 |  |  |  | CASP3
J15 | 29.6154 | 29.6154 |  |  |  | CASP3
J16 | 30.7044 | 30.7044 | LC3 | 30.6426 | 0.08332 | CASP3 | LC3¦CASP3
J17 | 30.5248 | 30.5248 |  |  |  | CASP3
J18 | 30.6986 | 30.6986 |  |  |  | CASP3
J19 | 30.6536 | 30.6536 | LO3 | 30.5805 | 0.051808 | CASP3 | LO3¦CASP3
J20 | 30.5483 | 30.5483 |  |  |  | CASP3
J21 | 30.5397 | 30.5397 |  |  |  | CASP3
J22 | 31.3421 | 31.3421 | LP3 | 31.0865 | 0.19857 | CASP3 | LP3¦CASP3
J23 | 31.0593 | 31.0593 |  |  |  | CASP3
J24 | 30.858 | 30.858 |  |  |  | CASP3
K1 | 32.957 | 32.957 | HC3 | 33.0265 | 0.11108 | CASP3 | HC3¦CASP3
K2 | 33.1833 | 33.1833 |  |  |  | CASP3
K3 | 32.9393 | 32.9393 |  |  |  | CASP3
K4 | 32.1586 | 32.1586 | HO3 | 31.977 | 0.24054 | CASP3 | HO3¦CASP3
K5 | 31.6371 | 31.6371 |  |  |  | CASP3
K6 | 32.1354 | 32.1354 |  |  |  | CASP3
K7 | 31.703 | 31.703 | HP3 | 31.6158 | 0.18549 | CASP3 | HP3¦CASP3
K8 | 31.3579 | 31.3579 |  |  |  | CASP3
K9 | 31.7864 | 31.7864 |  |  |  | CASP3
K10 | 29.5789 | 29.5789 | LC4 | 29.5514 | 0.019588 | CASP3 | LC4¦CASP3
K11 | 29.5409 | 29.5409 |  |  |  | CASP3
K12 | 29.5345 | 29.5345 |  |  |  | CASP3
K13 | 30.2247 | 30.2247 | LO4 | 29.93 | 0.21465 | CASP3 | LO4¦CASP3
K14 | 29.7195 | 29.7195 |  |  |  | CASP3
K15 | 29.8459 | 29.8459 |  |  |  | CASP3
K16 | 30.6193 | 30.6193 | LP4 | 30.2818 | 0.24994 | CASP3 | LP4¦CASP3
K17 | 30.0222 | 30.0222 |  |  |  | CASP3
K18 | 30.2037 | 30.2037 |  |  |  | CASP3
K19 | 30.5484 | 30.5484 | HC4 | 30.6528 | 0.11107 | CASP3 | HC4¦CASP3
K20 | 30.6033 | 30.6033 |  |  |  | CASP3
K21 | 30.8066 | 30.8066 |  |  |  | CASP3
K22 | 34.1785 |  | HO4 | 33.547 | 0.19818 | CASP3 | HO4¦CASP3
K23 | 33.3488 | 33.3488 |  |  |  | CASP3
K24 | 33.7452 | 33.7452 |  |  |  | CASP3
L1 | 29.9705 | 29.9705 | HP4 | 29.9522 | 0.077181 | CASP3 | HP4¦CASP3
L2 | 29.8499 | 29.8499 |  |  |  | CASP3
L3 | 30.0363 | 30.0363 |  |  |  | CASP3
L4 | 28.0675 | 28.0675 | LC5 | 28.0333 | 0.077383 | CASP3 | LC5¦CASP3
L5 | 27.9262 | 27.9262 |  |  |  | CASP3
L6 | 28.1063 | 28.1063 |  |  |  | CASP3
L7 | 28.0578 | 28.0578 | LO5 | 27.8036 | 0.27702 | CASP3 | LO5¦CASP3
L8 | 27.9347 | 27.9347 |  |  |  | CASP3
L9 | 27.4183 | 27.4183 |  |  |  | CASP3
L10 | 28.0556 | 28.0556 | LP5 | 27.989 | 0.099068 | CASP3 | LP5¦CASP3
L11 | 28.0624 | 28.0624 |  |  |  | CASP3
L12 | 27.8489 | 27.8489 |  |  |  | CASP3
L13 | 27.9133 | 27.9133 | HC5 | 27.7529 | 0.17778 | CASP3 | HC5¦CASP3
L14 | 27.8405 | 27.8405 |  |  |  | CASP3
L15 | 27.5051 | 27.5051 |  |  |  | CASP3
L16 | 27.966 | 27.966 | HO5 | 27.8562 | 0.080493 | CASP3 | HO5¦CASP3
L17 | 27.7753 | 27.7753 |  |  |  | CASP3
L18 | 27.8272 | 27.8272 |  |  |  | CASP3
L19 | 27.9812 | 27.9812 | HP5 | 27.9512 | 0.035598 | CASP3 | HP5¦CASP3
L20 | 27.9712 | 27.9712 |  |  |  | CASP3
L21 | 27.9012 | 27.9012 |  |  |  | CASP3
M1 | 27.8536 | 27.8536 | LC6 | 27.6398 | 0.15617 | CASP3 | LC6¦CASP3
M2 | 27.4849 | 27.4849 |  |  |  | CASP3
M3 | 27.5809 | 27.5809 |  |  |  | CASP3
M4 | 28.0104 | 28.0104 | LO6 | 27.9281 | 0.083789 | CASP3 | LO6¦CASP3
M5 | 27.8131 | 27.8131 |  |  |  | CASP3
M6 | 27.9609 | 27.9609 |  |  |  | CASP3
M7 | 27.9688 | 27.9688 | LP6 | 27.7688 | 0.15629 | CASP3 | LP6¦CASP3
M8 | 27.7503 | 27.7503 |  |  |  | CASP3
M9 | 27.5873 | 27.5873 |  |  |  | CASP3
M10 | 27.9774 | 27.9774 | HC6 | 27.9131 | 0.045521 | CASP3 | HC6¦CASP3
M11 | 27.8811 | 27.8811 |  |  |  | CASP3
M12 | 27.8807 | 27.8807 |  |  |  | CASP3
M13 | 28.0724 | 28.0724 | HO6 | 27.8467 | 0.19131 | CASP3 | HO6¦CASP3
M14 | 27.863 | 27.863 |  |  |  | CASP3
M15 | 27.6047 | 27.6047 |  |  |  | CASP3
M16 | 28.0186 | 28.0186 | HP6 | 27.9415 | 0.054515 | CASP3 | HP6¦CASP3
M17 | 27.9027 | 27.9027 |  |  |  | CASP3
M18 | 27.9032 | 27.9032 |  |  |  | CASP3
M19 | 28.1844 | 28.1844 | LPS1 | 27.9731 | 0.20802 | CASP3 | LPS1¦CASP3
M20 | 28.0447 | 28.0447 |  |  |  | CASP3
M21 | 27.6902 | 27.6902 |  |  |  | CASP3
M22 | 31.3017 |  | LPS2 | 31.9902 | 0.03818 | CASP3 | LPS2¦CASP3
M23 | 32.0284 | 32.0284 |  |  |  | CASP3
M24 | 31.952 | 31.952 |  |  |  | CASP3
N1 | 28.1194 | 28.1194 | LPS3 | 28.1928 | 0.055628 | CASP3 | LPS3¦CASP3
N2 | 28.254 | 28.254 |  |  |  | CASP3
N3 | 28.205 | 28.205 |  |  |  | CASP3
N4 | 28.0434 | 28.0434 | LPS4 | 27.9499 | 0.0662 | CASP3 | LPS4¦CASP3
N5 | 27.9073 | 27.9073 |  |  |  | CASP3
N6 | 27.899 | 27.899 |  |  |  | CASP3
N7 | 28.1805 | 28.1805 | LPS5 | 27.933 | 0.21899 | CASP3 | LPS5¦CASP3
N8 | 27.648 | 27.648 |  |  |  | CASP3
N9 | 27.9703 | 27.9703 |  |  |  | CASP3
N10 | 28.6526 | 28.6526 | LPS6 | 28.4627 | 0.18946 | CASP3 | LPS6¦CASP3
N11 | 28.5316 | 28.5316 |  |  |  | CASP3
N12 | 28.2041 | 28.2041 |  |  |  | CASP3
N13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CASP3 | EMPTY¦CASP3
N14 | Undetermined | 40.1 |  |  |  | CASP3
N15 | Undetermined | 40.1 |  |  |  | CASP3
N16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CASP3 | EMPTY¦CASP3
N17 | Undetermined | 40.1 |  |  |  | CASP3
N18 | Undetermined | 40.1 |  |  |  | CASP3
N19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CASP3 | EMPTY¦CASP3
N20 | Undetermined | 40.1 |  |  |  | CASP3
N21 | Undetermined | 40.1 |  |  |  | CASP3
N22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CASP3 | EMPTY¦CASP3
N23 | Undetermined | 40.1 |  |  |  | CASP3
N24 | Undetermined | 40.1 |  |  |  | CASP3
O1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CASP3 | EMPTY¦CASP3
O2 | Undetermined | 40.1 |  |  |  | CASP3
O3 | Undetermined | 40.1 |  |  |  | CASP3
O4 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CASP3 | EMPTY¦CASP3
O5 | Undetermined | 40.1 |  |  |  | CASP3
O6 | Undetermined | 40.1 |  |  |  | CASP3
O7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | CASP3 | EMPTY¦CASP3
O8 | Undetermined | 40.1 |  |  |  | CASP3
O9 | Undetermined | 40.1 |  |  |  | CASP3

## CXCL8
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 27.6188 | 0.059139 | 0.2141% | 0.1 | -1
1:20 | 28.6375 | 0.13152 | 0.4593% | 0.05 | -1.301
1:40 | 29.6124 | 0.10528 | 0.3555% | 0.025 | -1.6021
1:80 | 30.4956 | 0.19114 | 0.6268% | 0.0125 | -1.9031
1:160 | 31.5666 | 0.034594 | 0.1096% | 0.00625 | -2.2041
1:320 | 32.9432 | 0.053302 | 0.1618% | 0.003125 | -2.5051
| Slope | -3.4446
| Efficiency | 1.9513
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | delta delta Ct (to Housekeepers)
BLANK¦CXCL8 | BLANK | 40.1 | 0 | 0% | 0.0004702
1:10¦CXCL8 | 1:10 | 27.6188 | 0.059139 | 0.2141% | 1.9758
1:20¦CXCL8 | 1:20 | 28.6375 | 0.13152 | 0.4593% | 1
1:40¦CXCL8 | 1:40 | 29.6124 | 0.10528 | 0.3555% | 0.52115
1:80¦CXCL8 | 1:80 | 30.4956 | 0.19114 | 0.6268% | 0.28877
1:160¦CXCL8 | 1:160 | 31.5666 | 0.034594 | 0.1096% | 0.14114
1:320¦CXCL8 | 1:320 | 32.9432 | 0.053302 | 0.1618% | 0.056236
LC1¦CXCL8 | LC1 | 30.2418 | 0.11448 | 0.3786% | 0.34217 | 1.5125
LO1¦CXCL8 | LO1 | 29.4596 | 0.12321 | 0.4182% | 0.57721 | 2.1857
LP1¦CXCL8 | LP1 | 30.106 | 0.17303 | 0.5747% | 0.37469 | 1.5868
HC1¦CXCL8 | HC1 | 32.6513 | 0.027002 | 0.0827% | 0.068353 | 1.3849
HO1¦CXCL8 | HO1 | 29.0582 | 0.10279 | 0.3538% | 0.75486 | 2.5226
HP1¦CXCL8 | HP1 | 33.1145 | 0.19809 | 0.5982% | 0.050149 | 1.8147
LC2¦CXCL8 | LC2 | 30.0738 | 0.064835 | 0.2156% | 0.38286 | 1.4253
LO2¦CXCL8 | LO2 | 34.3836 | 0.14932 | 0.4343% | 0.02147 | 4.2415
LP2¦CXCL8 | LP2 | 34.2822 | 0.21106 | 0.6157% | 0.022975 | 4.1971
HC2¦CXCL8 | HC2 | 36.7133 | 0.44279 | 1.206% | 0.0045237 | 1.6947
HO2¦CXCL8 | HO2 | 30.0094 | 0.054905 | 0.183% | 0.39968 | 3.4423
HP2¦CXCL8 | HP2 | 30.0885 | 0.041317 | 0.1373% | 0.37911 | 1.644
LC3¦CXCL8 | LC3 | 30.0769 | 0.19268 | 0.6406% | 0.38206 | 2.9079
LO3¦CXCL8 | LO3 | 29.6369 | 0.041875 | 0.1413% | 0.51269 | 3.5044
LP3¦CXCL8 | LP3 | 30.2563 | 0.21006 | 0.6943% | 0.33889 | 3.4953
HC3¦CXCL8 | HC3 | 31.9708 | 0.18408 | 0.5758% | 0.10772 | 3.291
HO3¦CXCL8 | HO3 | 31.0717 | 0.096296 | 0.3099% | 0.19648 | 3.1674
HP3¦CXCL8 | HP3 | 30.2312 | 0.11628 | 0.3846% | 0.34462 | 4.2289
LC4¦CXCL8 | LC4 | 28.9794 | 0.051249 | 0.1768% | 0.7957 | 2.3692
LO4¦CXCL8 | LO4 | 29.1386 | 0.1422 | 0.488% | 0.71536 | 3.1381
LP4¦CXCL8 | LP4 | 29.71 | 0.10142 | 0.3414% | 0.48824 | 3.167
HC4¦CXCL8 | HC4 | 29.9851 | 0.21361 | 0.7124% | 0.40623 | 2.9301
HO4¦CXCL8 | HO4 | 32.0205 | 0.057118 | 0.1784% | 0.1042 | 4.5704
HP4¦CXCL8 | HP4 | 29.2983 | 0.20819 | 0.7106% | 0.64291 | 2.7157
LC5¦CXCL8 | LC5 | 28.6388 | 0.17762 | 0.6202% | 0.99911 | 1.6246
LO5¦CXCL8 | LO5 | 28.9797 | 0.039605 | 0.1367% | 0.79551 | 0.95134
LP5¦CXCL8 | LP5 | 29.1712 | 0.029705 | 0.1018% | 0.69993 | 1.2366
HC5¦CXCL8 | HC5 | 28.4691 | 0.13352 | 0.469% | 1.1192 | 1.5437
HO5¦CXCL8 | HO5 | 28.7394 | 0.24103 | 0.8387% | 0.93419 | 0.91194
HP5¦CXCL8 | HP5 | 29.0274 | 0.067356 | 0.232% | 0.77059 | 0.87612
LC6¦CXCL8 | LC6 | 28.3956 | 0.106 | 0.3733% | 1.1755 | 1.4406
LO6¦CXCL8 | LO6 | 28.7018 | 0.21707 | 0.7563% | 0.95793 | 1.1342
LP6¦CXCL8 | LP6 | 28.9944 | 0.11657 | 0.4021% | 0.78777 | 0.99955
HC6¦CXCL8 | HC6 | 28.9335 | 0.02592 | 0.08958% | 0.82046 | 1.2928
HO6¦CXCL8 | HO6 | 28.8535 | 0.12771 | 0.4426% | 0.86554 | 0.9799
HP6¦CXCL8 | HP6 | 29.1515 | 0.071648 | 0.2458% | 0.70922 | 0.81857
LPS1¦CXCL8 | LPS1 | 30.9261 | 0.1656 | 0.5355% | 0.21657 | 0.20472
LPS2¦CXCL8 | LPS2 | 32.2581 | 0.0195 | 0.06045% | 0.088899 | 0.2738
LPS3¦CXCL8 | LPS3 | 30.8208 | 0.098363 | 0.3191% | 0.23236 | 0.25058
LPS4¦CXCL8 | LPS4 | 30.6813 | 0.19512 | 0.636% | 0.25507 | 0.23628
LPS5¦CXCL8 | LPS5 | 31.0283 | 0.081079 | 0.2613% | 0.20227 | 0.21362
LPS6¦CXCL8 | LPS6 | 31.5627 | 0.27438 | 0.8693% | 0.14151 | 0.23623

## CASP3
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 26.8538 | 0.0071063 | 0.02646% | 0.1 | -1
1:20 | 27.625 | 0.036411 | 0.1318% | 0.05 | -1.301
1:40 | 28.7005 | 0.030712 | 0.107% | 0.025 | -1.6021
1:80 | 29.9011 | 0.041917 | 0.1402% | 0.0125 | -1.9031
1:160 | 30.9177 | 0.037624 | 0.1217% | 0.00625 | -2.2041
1:320 | 31.895 | 0.089677 | 0.2812% | 0.003125 | -2.5051
| Slope | -3.4438
| Efficiency | 1.9515
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | delta delta Ct (to Housekeepers)
BLANK¦CASP3 | BLANK | 40.1 | 0 | 0% | 0.00023856
1:10¦CASP3 | 1:10 | 26.8538 | 0.0071063 | 0.02646% | 1.6747
1:20¦CASP3 | 1:20 | 27.625 | 0.036411 | 0.1318% | 1
1:40¦CASP3 | 1:40 | 28.7005 | 0.030712 | 0.107% | 0.48722
1:80¦CASP3 | 1:80 | 29.9011 | 0.041917 | 0.1402% | 0.21832
1:160¦CASP3 | 1:160 | 30.9177 | 0.037624 | 0.1217% | 0.11064
1:320¦CASP3 | 1:320 | 31.895 | 0.089677 | 0.2812% | 0.057559
LC1¦CASP3 | LC1 | 30.021 | 0.067432 | 0.2246% | 0.2015 | 0.89069
LO1¦CASP3 | LO1 | 29.6563 | 0.10717 | 0.3614% | 0.25714 | 0.97372
LP1¦CASP3 | LP1 | 29.754 | 0.10413 | 0.35% | 0.24089 | 1.0202
HC1¦CASP3 | HC1 | 32.6305 | 0.24312 | 0.7451% | 0.0352 | 0.71317
HO1¦CASP3 | HO1 | 29.7663 | 0.16587 | 0.5572% | 0.2389 | 0.79838
HP1¦CASP3 | HP1 | 34.1326 | 0.057096 | 0.1673% | 0.012894 | 0.46659
LC2¦CASP3 | LC2 | 29.5112 | 0.19021 | 0.6445% | 0.28334 | 1.0548
LO2¦CASP3 | LO2 | 36.089 | 0.29959 | 0.8302% | 0.0034856 | 0.6886
LP2¦CASP3 | LP2 | 35.2657 | 0.067144 | 0.1904% | 0.0060444 | 1.1042
HC2¦CASP3 | HC2 | 36.2338 | 0 | 0% | 0.0031641 | 1.1854
HO2¦CASP3 | HO2 | 31.1541 | 0.12918 | 0.4147% | 0.094463 | 0.81358
HP2¦CASP3 | HP2 | 29.8545 | 0.17714 | 0.5934% | 0.22523 | 0.97669
LC3¦CASP3 | LC3 | 30.6426 | 0.08332 | 0.2719% | 0.13298 | 1.0121
LO3¦CASP3 | LO3 | 30.5805 | 0.051808 | 0.1694% | 0.13861 | 0.94746
LP3¦CASP3 | LP3 | 31.0865 | 0.19857 | 0.6388% | 0.09883 | 1.0193
HC3¦CASP3 | HC3 | 33.0265 | 0.11108 | 0.3363% | 0.027012 | 0.82526
HO3¦CASP3 | HO3 | 31.977 | 0.24054 | 0.7522% | 0.054487 | 0.87837
HP3¦CASP3 | HP3 | 31.6158 | 0.18549 | 0.5867% | 0.069374 | 0.85131
LC4¦CASP3 | LC4 | 29.5514 | 0.019588 | 0.06629% | 0.27583 | 0.82127
LO4¦CASP3 | LO4 | 29.93 | 0.21465 | 0.7172% | 0.21414 | 0.93936
LP4¦CASP3 | LP4 | 30.2818 | 0.24994 | 0.8254% | 0.16926 | 1.0979
HC4¦CASP3 | HC4 | 30.6528 | 0.11107 | 0.3623% | 0.13207 | 0.95263
HO4¦CASP3 | HO4 | 33.547 | 0.19818 | 0.5908% | 0.019073 | 0.83659
HP4¦CASP3 | HP4 | 29.9522 | 0.077181 | 0.2577% | 0.21098 | 0.8912
LC5¦CASP3 | LC5 | 28.0333 | 0.077383 | 0.276% | 0.7611 | 1.2375
LO5¦CASP3 | LO5 | 27.8036 | 0.27702 | 0.9964% | 0.88748 | 1.0613
LP5¦CASP3 | LP5 | 27.989 | 0.099068 | 0.354% | 0.78401 | 1.3852
HC5¦CASP3 | HC5 | 27.7529 | 0.17778 | 0.6406% | 0.91804 | 1.2663
HO5¦CASP3 | HO5 | 27.8562 | 0.080493 | 0.289% | 0.85681 | 0.8364
HP5¦CASP3 | HP5 | 27.9512 | 0.035598 | 0.1274% | 0.80406 | 0.91418
LC6¦CASP3 | LC6 | 27.6398 | 0.15617 | 0.565% | 0.99018 | 1.2135
LO6¦CASP3 | LO6 | 27.9281 | 0.083789 | 0.3% | 0.81657 | 0.96687
LP6¦CASP3 | LP6 | 27.7688 | 0.15629 | 0.5628% | 0.90834 | 1.1525
HC6¦CASP3 | HC6 | 27.9131 | 0.045521 | 0.1631% | 0.82483 | 1.2997
HO6¦CASP3 | HO6 | 27.8467 | 0.19131 | 0.687% | 0.86226 | 0.97619
HP6¦CASP3 | HP6 | 27.9415 | 0.054515 | 0.1951% | 0.80929 | 0.93408
LPS1¦CASP3 | LPS1 | 27.9731 | 0.20802 | 0.7436% | 0.79239 | 0.74901
LPS2¦CASP3 | LPS2 | 31.9902 | 0.03818 | 0.1194% | 0.05401 | 0.16635
LPS3¦CASP3 | LPS3 | 28.1928 | 0.055628 | 0.1973% | 0.68412 | 0.73777
LPS4¦CASP3 | LPS4 | 27.9499 | 0.0662 | 0.2369% | 0.80478 | 0.74549
LPS5¦CASP3 | LPS5 | 27.933 | 0.21899 | 0.784% | 0.81393 | 0.85962
LPS6¦CASP3 | LPS6 | 28.4627 | 0.18946 | 0.6657% | 0.57116 | 0.95348

## Housekeeper deltaCT
| B2M | YWHAZ | HMBS | Geometric mean
LC1 | 0.25259 | 0.23717 | 0.19328 | 0.22623
LO1 | 0.29458 | 0.32852 | 0.19031 | 0.26408
LP1 | 0.26458 | 0.29195 | 0.17044 | 0.23613
HC1 | 0.07449 | 0.052506 | 0.030743 | 0.049357
HO1 | 0.31041 | 0.3764 | 0.22933 | 0.29924
HP1 | 0.03263 | 0.034519 | 0.018735 | 0.027634
LC2 | 0.3212 | 0.30329 | 0.19898 | 0.26862
LO2 | 0.0055929 | 0.0051822 | 0.0044749 | 0.0050619
LP2 | 0.0073561 | 0.012238 | 0.0018221 | 0.0054741
HC2 | 0.0031007 | 0.0030862 | 0.0019875 | 0.0026693
HO2 | 0.13342 | 0.15163 | 0.077373 | 0.11611
HP2 | 0.24133 | 0.30885 | 0.16453 | 0.2306
LC3 | 0.17176 | 0.13323 | 0.099117 | 0.13139
LO3 | 0.17467 | 0.17864 | 0.10035 | 0.1463
LP3 | 0.13877 | 0.12213 | 0.053781 | 0.096956
HC3 | 0.048799 | 0.041388 | 0.017362 | 0.032731
HO3 | 0.074273 | 0.080536 | 0.039906 | 0.062033
HP3 | 0.14781 | 0.16129 | 0.022699 | 0.081491
LC4 | 0.38684 | 0.3516 | 0.27853 | 0.33585
LO4 | 0.26705 | 0.25761 | 0.1722 | 0.22796
LP4 | 0.18798 | 0.26986 | 0.072227 | 0.15417
HC4 | 0.21047 | 0.14724 | 0.085992 | 0.13864
HO4 | 0.036248 | 0.032479 | 0.010066 | 0.022799
HP4 | 0.29693 | 0.28977 | 0.1542 | 0.23674
LC5 | 0.72919 | 0.68067 | 0.46866 | 0.615
LO5 | 0.92663 | 0.81851 | 0.77093 | 0.83621
LP5 | 0.7055 | 0.75831 | 0.33894 | 0.56601
HC5 | 1.0646 | 0.7249 | 0.49377 | 0.72498
HO5 | 1.241 | 0.96931 | 0.89364 | 1.0244
HP5 | 1.0078 | 0.85395 | 0.79064 | 0.87955
LC6 | 0.94466 | 0.86751 | 0.66299 | 0.81599
LO6 | 0.85151 | 0.91121 | 0.77639 | 0.84456
LP6 | 0.84148 | 0.89419 | 0.65059 | 0.78812
HC6 | 0.80347 | 0.69576 | 0.45727 | 0.63465
HO6 | 0.97148 | 0.88748 | 0.79933 | 0.8833
HP6 | 1.0014 | 0.84528 | 0.76835 | 0.86641
LPS1 | 0.68008 | 1.1117 | 1.566 | 1.0579
LPS2 | 0.19942 | 0.2932 | 0.58538 | 0.32468
LPS3 | 0.53459 | 1.0664 | 1.3986 | 0.92728
LPS4 | 0.66935 | 1.21 | 1.5533 | 1.0795
LPS5 | 0.61262 | 1.0979 | 1.2621 | 0.94685
LPS6 | 0.42663 | 0.79491 | 0.63382 | 0.59903