## Results
Block Type | 384-Well Block
Calibration Background is expired | No
Calibration Background performed on | 07-19-2022
Calibration Normalization FAM-ROX is expired | No
Calibration Normalization FAM-ROX performed on | 04-21-2022
Calibration Normalization VIC-ROX is expired | No
Calibration Normalization VIC-ROX performed on | 04-21-2022
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 04-21-2022
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 04-21-2022
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 04-21-2022
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 04-21-2022
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 04-21-2022
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 04-21-2022
Calibration ROI is expired | No
Calibration ROI performed on | 04-21-2022
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 04-21-2022
Chemistry | TAQMAN
Date Created | 2022-07-28 17:18:57 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | D:\Users\Administrator\Desktop\FELIX\Felix HNM 3.eds
Experiment Name | Felix HNM 3
Experiment Run End Time | 2022-07-28 18:10:37 PM BST
Experiment Type | Standard Curve
Instrument Name | HotPants
Instrument Serial Number | 278871706
Instrument Type | QuantStudio(TM) 7 Flex System
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
User Name
Well Position | Sample Name | Target Name | CT | Sample
A1 |  | MAPK8 | Undetermined | BLANK
A2 |  | MAPK8 | Undetermined | BLANK
A3 |  | MAPK8 | Undetermined | BLANK
A4 |  | MAPK8 | 28.4566 | 1:10
A5 |  | MAPK8 | 28.4044 | 1:10
A6 |  | MAPK8 | 28.2943 | 1:10
A7 |  | MAPK8 | 29.5242 | 1:20
A8 |  | MAPK8 | 29.3489 | 1:20
A9 |  | MAPK8 | 29.2144 | 1:20
A10 |  | MAPK8 | 30.3216 | 1:40
A11 |  | MAPK8 | 30.3633 | 1:40
A12 |  | MAPK8 | 30.4482 | 1:40
A13 |  | MAPK8 | 31.0059 | 1:80
A14 |  | MAPK8 | 31.6335 | 1:80
A15 |  | MAPK8 | 31.2137 | 1:80
A16 |  | MAPK8 | 32.3633 | 1:160
A17 |  | MAPK8 | 32.5418 | 1:160
A18 |  | MAPK8 | 32.5646 | 1:160
A19 |  | MAPK8 | 33.4619 | 1:320
A20 |  | MAPK8 | 33.5295 | 1:320
A21 |  | MAPK8 | 33.6585 | 1:320
A22 |  | MAPK8 | 31.2171 | LC1
A23 |  | MAPK8 | 31.3026 | LC1
A24 |  | MAPK8 | 30.995 | LC1
B1 |  | MAPK8 | 30.8497 | LO1
B2 |  | MAPK8 | 31.0699 | LO1
B3 |  | MAPK8 | 30.9782 | LO1
B4 |  | MAPK8 | 31.4411 | LP1
B5 |  | MAPK8 | 31.3233 | LP1
B6 |  | MAPK8 | 31.1829 | LP1
B7 |  | MAPK8 | 32.9644 | HC1
B8 |  | MAPK8 | 33.1202 | HC1
B9 |  | MAPK8 | 33.1025 | HC1
B10 |  | MAPK8 | 30.9477 | HO1
B11 |  | MAPK8 | 31.0178 | HO1
B12 |  | MAPK8 | 30.5686 | HO1
B13 |  | MAPK8 | 34.0926 | HP1
B14 |  | MAPK8 | 34.2671 | HP1
B15 |  | MAPK8 | 34.3057 | HP1
B16 |  | MAPK8 | 30.962 | LC2
B17 |  | MAPK8 | 30.7149 | LC2
B18 |  | MAPK8 | 30.7193 | LC2
B19 |  | MAPK8 | 37.037 | LO2
B20 |  | MAPK8 | 36.638 | LO2
B21 |  | MAPK8 | 36.8719 | LO2
B22 |  | MAPK8 | 35.9151 | LP2
B23 |  | MAPK8 | 35.4366 | LP2
B24 |  | MAPK8 | 35.956 | LP2
C1 |  | MAPK8 | 37.1678 | HC2
C2 |  | MAPK8 | 37.2717 | HC2
C3 |  | MAPK8 | 37.3337 | HC2
C4 |  | MAPK8 | 32.2202 | HO2
C5 |  | MAPK8 | 31.7105 | HO2
C6 |  | MAPK8 | 31.6242 | HO2
C7 |  | MAPK8 | 31.5092 | HP2
C8 |  | MAPK8 | 31.3171 | HP2
C9 |  | MAPK8 | 31.2538 | HP2
C10 |  | MAPK8 | 32.1878 | LC3
C11 |  | MAPK8 | 32.1443 | LC3
C12 |  | MAPK8 | 31.8108 | LC3
C13 |  | MAPK8 | 31.8662 | LO3
C14 |  | MAPK8 | 31.8094 | LO3
C15 |  | MAPK8 | 31.7911 | LO3
C16 |  | MAPK8 | 32.4129 | LP3
C17 |  | MAPK8 | 31.9616 | LP3
C18 |  | MAPK8 | 32.3374 | LP3
C19 |  | MAPK8 | 33.9767 | HC3
C20 |  | MAPK8 | 33.6877 | HC3
C21 |  | MAPK8 | 33.7878 | HC3
C22 |  | MAPK8 | 33.1287 | HO3
C23 |  | MAPK8 | 33.2671 | HO3
C24 |  | MAPK8 | 32.9758 | HO3
D1 |  | MAPK8 | 32.196 | HP3
D2 |  | MAPK8 | 32.1365 | HP3
D3 |  | MAPK8 | 32.1177 | HP3
D4 |  | MAPK8 | 31.0689 | LC4
D5 |  | MAPK8 | 30.9769 | LC4
D6 |  | MAPK8 | 30.8868 | LC4
D7 |  | MAPK8 | 31.598 | LO4
D8 |  | MAPK8 | 31.4459 | LO4
D9 |  | MAPK8 | 31.1888 | LO4
D10 |  | MAPK8 | 31.6005 | LP4
D11 |  | MAPK8 | 31.5058 | LP4
D12 |  | MAPK8 | 31.2758 | LP4
D13 |  | MAPK8 | 32.1404 | HC4
D14 |  | MAPK8 | 31.9734 | HC4
D15 |  | MAPK8 | 31.9693 | HC4
D16 |  | MAPK8 | 33.6876 | HO4
D17 |  | MAPK8 | 34.3122 | HO4
D18 |  | MAPK8 | 34.086 | HO4
D19 |  | MAPK8 | 31.5353 | HP4
D20 |  | MAPK8 | 31.2415 | HP4
D21 |  | MAPK8 | 31.2093 | HP4
E1 |  | MAPK8 | 30.5352 | LC5
E2 |  | MAPK8 | 30.3779 | LC5
E3 |  | MAPK8 | 30.0596 | LC5
E4 |  | MAPK8 | 29.9522 | LO5
E5 |  | MAPK8 | 29.9586 | LO5
E6 |  | MAPK8 | 29.6589 | LO5
E7 |  | MAPK8 | 30.2718 | LP5
E8 |  | MAPK8 | 30.0416 | LP5
E9 |  | MAPK8 | 30.1025 | LP5
E10 |  | MAPK8 | 30.063 | HC5
E11 |  | MAPK8 | 29.8433 | HC5
E12 |  | MAPK8 | 29.824 | HC5
E13 |  | MAPK8 | 29.5833 | HO5
E14 |  | MAPK8 | 29.3786 | HO5
E15 |  | MAPK8 | 29.4153 | HO5
E16 |  | MAPK8 | 29.9506 | HP5
E17 |  | MAPK8 | 29.7238 | HP5
E18 |  | MAPK8 | 29.4113 | HP5
E19 |  | MAPK8 | 30.1127 | LC6
E20 |  | MAPK8 | 29.7718 | LC6
E21 |  | MAPK8 | 29.9319 | LC6
E22 |  | MAPK8 | 30.0804 | LO6
E23 |  | MAPK8 | 29.6222 | LO6
E24 |  | MAPK8 | 29.5869 | LO6
F1 |  | MAPK8 | 30.0416 | LP6
F2 |  | MAPK8 | 29.8424 | LP6
F3 |  | MAPK8 | 29.7981 | LP6
F4 |  | MAPK8 | 30.106 | HC6
F5 |  | MAPK8 | 30.0574 | HC6
F6 |  | MAPK8 | 30.1528 | HC6
F7 |  | MAPK8 | 29.9588 | HO6
F8 |  | MAPK8 | 29.6137 | HO6
F9 |  | MAPK8 | 29.541 | HO6
F10 |  | MAPK8 | 29.8259 | HP6
F11 |  | MAPK8 | 29.6939 | HP6
F12 |  | MAPK8 | 29.9288 | HP6
F13 |  | MAPK8 | 29.5619 | LPS1
F14 |  | MAPK8 | 28.9957 | LPS1
F15 |  | MAPK8 | 29.0029 | LPS1
F16 |  | MAPK8 | 31.8375 | LPS2
F17 |  | MAPK8 | 31.875 | LPS2
F18 |  | MAPK8 | 32.2725 | LPS2
F19 |  | MAPK8 | 29.3482 | LPS3
F20 |  | MAPK8 | 29.437 | LPS3
F21 |  | MAPK8 | 29.2276 | LPS3
F22 |  | MAPK8 | 29.3233 | LPS4
F23 |  | MAPK8 | 29.0196 | LPS4
F24 |  | MAPK8 | 28.945 | LPS4
G1 |  | MAPK8 | 29.3055 | LPS5
G2 |  | MAPK8 | 29.0611 | LPS5
G3 |  | MAPK8 | 29.251 | LPS5
G4 |  | MAPK8 | 30.0999 | LPS6
G5 |  | MAPK8 | 29.6521 | LPS6
G6 |  | MAPK8 | 29.4255 | LPS6
G7 |  | MAPK8 | Undetermined | EMPTY
G8 |  | MAPK8 | Undetermined | EMPTY
G9 |  | MAPK8 | Undetermined | EMPTY
G10 |  | MAPK8 | Undetermined | EMPTY
G11 |  | MAPK8 | Undetermined | EMPTY
G12 |  | MAPK8 | Undetermined | EMPTY
G13 |  | MAPK8 | Undetermined | EMPTY
G14 |  | MAPK8 | Undetermined | EMPTY
G15 |  | MAPK8 | Undetermined | EMPTY
G16 |  | MAPK8 | Undetermined | EMPTY
G17 |  | MAPK8 | Undetermined | EMPTY
G18 |  | MAPK8 | Undetermined | EMPTY
G19 |  | MAPK8 | Undetermined | EMPTY
G20 |  | MAPK8 | Undetermined | EMPTY
G21 |  | MAPK8 | Undetermined | EMPTY
G22 |  | MAPK8 | Undetermined | EMPTY
G23 |  | MAPK8 | Undetermined | EMPTY
G24 |  | MAPK8 | Undetermined | EMPTY
H1 |  | MAPK8 | Undetermined | EMPTY
H2 |  | MAPK8 | Undetermined | EMPTY
H3 |  | MAPK8 | Undetermined | EMPTY
H4 |  | MAPK9 | Undetermined | BLANK
H5 |  | MAPK9 | Undetermined | BLANK
H6 |  | MAPK9 | Undetermined | BLANK
H7 |  | MAPK9 | 27.548 | 1:10
H8 |  | MAPK9 | 27.502 | 1:10
H9 |  | MAPK9 | 27.4172 | 1:10
H10 |  | MAPK9 | 28.4555 | 1:20
H11 |  | MAPK9 | 28.522 | 1:20
H12 |  | MAPK9 | 28.498 | 1:20
H13 |  | MAPK9 | 29.4407 | 1:40
H14 |  | MAPK9 | 29.3347 | 1:40
H15 |  | MAPK9 | 29.3763 | 1:40
H16 |  | MAPK9 | 30.6759 | 1:80
H17 |  | MAPK9 | 30.5592 | 1:80
H18 |  | MAPK9 | 30.4664 | 1:80
H19 |  | MAPK9 | 31.5392 | 1:160
H20 |  | MAPK9 | 31.4391 | 1:160
H21 |  | MAPK9 | 31.4007 | 1:160
I1 |  | MAPK9 | 32.4896 | 1:320
I2 |  | MAPK9 | 32.8095 | 1:320
I3 |  | MAPK9 | 32.8103 | 1:320
I4 |  | MAPK9 | 30.6404 | LC1
I5 |  | MAPK9 | 30.2065 | LC1
I6 |  | MAPK9 | 30.398 | LC1
I7 |  | MAPK9 | 30.3099 | LO1
I8 |  | MAPK9 | 29.8695 | LO1
I9 |  | MAPK9 | 30.0192 | LO1
I10 |  | MAPK9 | 30.4716 | LP1
I11 |  | MAPK9 | 30.2988 | LP1
I12 |  | MAPK9 | 29.9551 | LP1
I13 |  | MAPK9 | 33.1476 | HC1
I14 |  | MAPK9 | 33.0867 | HC1
I15 |  | MAPK9 | 33.1547 | HC1
I16 |  | MAPK9 | 29.7519 | HO1
I17 |  | MAPK9 | 29.4426 | HO1
I18 |  | MAPK9 | 29.4666 | HO1
I19 |  | MAPK9 | 33.1756 | HP1
I20 |  | MAPK9 | 33.103 | HP1
I21 |  | MAPK9 | 33.3704 | HP1
I22 |  | MAPK9 | 30.2567 | LC2
I23 |  | MAPK9 | 30.0246 | LC2
I24 |  | MAPK9 | 29.952 | LC2
J1 |  | MAPK9 | 36.0955 | LO2
J2 |  | MAPK9 | 36.1902 | LO2
J3 |  | MAPK9 | 36.5881 | LO2
J4 |  | MAPK9 | 34.5397 | LP2
J5 |  | MAPK9 | 34.685 | LP2
J6 |  | MAPK9 | 34.6652 | LP2
J7 |  | MAPK9 | 38.0453 | HC2
J8 |  | MAPK9 | 36.9352 | HC2
J9 |  | MAPK9 | 37.0739 | HC2
J10 |  | MAPK9 | 31.1614 | HO2
J11 |  | MAPK9 | 31.2096 | HO2
J12 |  | MAPK9 | 30.9743 | HO2
J13 |  | MAPK9 | 30.2423 | HP2
J14 |  | MAPK9 | 30.2006 | HP2
J15 |  | MAPK9 | 30.114 | HP2
J16 |  | MAPK9 | 31.3094 | LC3
J17 |  | MAPK9 | 31.0652 | LC3
J18 |  | MAPK9 | 31.2994 | LC3
J19 |  | MAPK9 | 31.0839 | LO3
J20 |  | MAPK9 | 30.553 | LO3
J21 |  | MAPK9 | 30.7359 | LO3
J22 |  | MAPK9 | 31.2927 | LP3
J23 |  | MAPK9 | 31.3326 | LP3
J24 |  | MAPK9 | 31.2073 | LP3
K1 |  | MAPK9 | 33.1389 | HC3
K2 |  | MAPK9 | 32.6539 | HC3
K3 |  | MAPK9 | 32.5593 | HC3
K4 |  | MAPK9 | 32.3338 | HO3
K5 |  | MAPK9 | 31.9908 | HO3
K6 |  | MAPK9 | 32.158 | HO3
K7 |  | MAPK9 | 31.2694 | HP3
K8 |  | MAPK9 | 31.0162 | HP3
K9 |  | MAPK9 | 30.8535 | HP3
K10 |  | MAPK9 | 30.2408 | LC4
K11 |  | MAPK9 | 30.0302 | LC4
K12 |  | MAPK9 | 30.0657 | LC4
K13 |  | MAPK9 | 30.732 | LO4
K14 |  | MAPK9 | 30.2418 | LO4
K15 |  | MAPK9 | 30.2495 | LO4
K16 |  | MAPK9 | 30.933 | LP4
K17 |  | MAPK9 | 30.1848 | LP4
K18 |  | MAPK9 | 30.4908 | LP4
K19 |  | MAPK9 | 31.3898 | HC4
K20 |  | MAPK9 | 31.1737 | HC4
K21 |  | MAPK9 | 31.0082 | HC4
K22 |  | MAPK9 | 34.2299 | HO4
K23 |  | MAPK9 | 33.2497 | HO4
K24 |  | MAPK9 | 33.2666 | HO4
L1 |  | MAPK9 | 30.3117 | HP4
L2 |  | MAPK9 | 29.9415 | HP4
L3 |  | MAPK9 | 30.1967 | HP4
L4 |  | MAPK9 | 29.0655 | LC5
L5 |  | MAPK9 | 28.9929 | LC5
L6 |  | MAPK9 | 28.8203 | LC5
L7 |  | MAPK9 | 29.0376 | LO5
L8 |  | MAPK9 | 28.7417 | LO5
L9 |  | MAPK9 | 28.7839 | LO5
L10 |  | MAPK9 | 28.9623 | LP5
L11 |  | MAPK9 | 28.8896 | LP5
L12 |  | MAPK9 | 28.8936 | LP5
L13 |  | MAPK9 | 29.4253 | HC5
L14 |  | MAPK9 | 29.1203 | HC5
L15 |  | MAPK9 | 28.9337 | HC5
L16 |  | MAPK9 | 28.6754 | HO5
L17 |  | MAPK9 | 28.4599 | HO5
L18 |  | MAPK9 | 28.4665 | HO5
L19 |  | MAPK9 | 28.883 | HP5
L20 |  | MAPK9 | 28.6648 | HP5
L21 |  | MAPK9 | 28.7449 | HP5
M1 |  | MAPK9 | 28.9397 | LC6
M2 |  | MAPK9 | 28.5876 | LC6
M3 |  | MAPK9 | 28.5817 | LC6
M4 |  | MAPK9 | 28.755 | LO6
M5 |  | MAPK9 | 28.4285 | LO6
M6 |  | MAPK9 | 28.5216 | LO6
M7 |  | MAPK9 | 28.7549 | LP6
M8 |  | MAPK9 | 28.6252 | LP6
M9 |  | MAPK9 | 28.473 | LP6
M10 |  | MAPK9 | 29.2084 | HC6
M11 |  | MAPK9 | 29.0013 | HC6
M12 |  | MAPK9 | 28.8445 | HC6
M13 |  | MAPK9 | 28.8169 | HO6
M14 |  | MAPK9 | 28.7593 | HO6
M15 |  | MAPK9 | 28.5767 | HO6
M16 |  | MAPK9 | 28.9367 | HP6
M17 |  | MAPK9 | 28.6262 | HP6
M18 |  | MAPK9 | 28.6597 | HP6
M19 |  | MAPK9 | 28.8523 | LPS1
M20 |  | MAPK9 | 28.6248 | LPS1
M21 |  | MAPK9 | 28.3976 | LPS1
M22 |  | MAPK9 | 32.9969 | LPS2
M23 |  | MAPK9 | 33.0545 | LPS2
M24 |  | MAPK9 | 33.1077 | LPS2
N1 |  | MAPK9 | 28.5265 | LPS3
N2 |  | MAPK9 | 28.5627 | LPS3
N3 |  | MAPK9 | 28.7551 | LPS3
N4 |  | MAPK9 | 28.5076 | LPS4
N5 |  | MAPK9 | 28.3442 | LPS4
N6 |  | MAPK9 | 28.2667 | LPS4
N7 |  | MAPK9 | 28.6866 | LPS5
N8 |  | MAPK9 | 28.5255 | LPS5
N9 |  | MAPK9 | 28.579 | LPS5
N10 |  | MAPK9 | 29.1962 | LPS6
N11 |  | MAPK9 | 29.045 | LPS6
N12 |  | MAPK9 | 28.7456 | LPS6
N13 |  | MAPK9 | Undetermined | EMPTY
N14 |  | MAPK9 | Undetermined | EMPTY
N15 |  | MAPK9 | Undetermined | EMPTY
N16 |  | MAPK9 | Undetermined | EMPTY
N17 |  | MAPK9 | Undetermined | EMPTY
N18 |  | MAPK9 | Undetermined | EMPTY
N19 |  | MAPK9 | Undetermined | EMPTY
N20 |  | MAPK9 | Undetermined | EMPTY
N21 |  | MAPK9 | Undetermined | EMPTY
N22 |  | MAPK9 | Undetermined | EMPTY
N23 |  | MAPK9 | Undetermined | EMPTY
N24 |  | MAPK9 | Undetermined | EMPTY
O1 |  | MAPK9 | Undetermined | EMPTY
O2 |  | MAPK9 | Undetermined | EMPTY
O3 |  | MAPK9 | Undetermined | EMPTY
O4 |  | MAPK9 | Undetermined | EMPTY
O5 |  | MAPK9 | Undetermined | EMPTY
O6 |  | MAPK9 | Undetermined | EMPTY
O7 |  | MAPK9 | Undetermined | EMPTY
O8 |  | MAPK9 | Undetermined | EMPTY
O9 |  | MAPK9 | Undetermined | EMPTY
How to use improved spreadsheet
1. Copy results into the 'Results sheet' , in the same format as shown here
2. Check that everything has copies over to the 'Results Workspace' (pull down the formula to add more rows). The sample names and genes should change automatically, and the helper column should format itself as "Sample Name""|""Gene Name" (e.g "BLANK|PGCK1")
3. On the individual gene spreadsheet, add the correct sample names to the 'Sample' column. Then, for the 'Helper' column, change the gene name in the first cell in the row and drag the formula down to the other rows.
4. This will fill in all the CT values for you
5. Edit the results workspace to get rid of red highlighted 'CV Ct' values. Do this by going through and removing outliers.
6. Change the names in the 'Housekeeper deltaCT' sheet (if you need to), and copy the formula down. Repeat for the 'Summary' page, which is for your target genes
7. If you have questions, then ask Emily. Apologies for the messy example data. The robot didn't pipette very well.

## Results Workspace
Well | Ct from reader | Corrected Cts | Sample Name | Average Ct | STDEV | Target Name | Helper
A1 | Undetermined | 40.1 | BLANK | 40.1 | 0 | MAPK8 | BLANK¦MAPK8
A2 | Undetermined | 40.1 |  |  |  | MAPK8
A3 | Undetermined | 40.1 |  |  |  | MAPK8
A4 | 28.4566 | 28.4566 | 1:10 | 28.3851 | 0.06764 | MAPK8 | 1:10¦MAPK8
A5 | 28.4044 | 28.4044 |  |  |  | MAPK8
A6 | 28.2943 | 28.2943 |  |  |  | MAPK8
A7 | 29.5242 | 29.5242 | 1:20 | 29.3625 | 0.12685 | MAPK8 | 1:20¦MAPK8
A8 | 29.3489 | 29.3489 |  |  |  | MAPK8
A9 | 29.2144 | 29.2144 |  |  |  | MAPK8
A10 | 30.3216 | 30.3216 | 1:40 | 30.3777 | 0.052682 | MAPK8 | 1:40¦MAPK8
A11 | 30.3633 | 30.3633 |  |  |  | MAPK8
A12 | 30.4482 | 30.4482 |  |  |  | MAPK8
A13 | 31.0059 | 31.0059 | 1:80 | 31.2844 | 0.26105 | MAPK8 | 1:80¦MAPK8
A14 | 31.6335 | 31.6335 |  |  |  | MAPK8
A15 | 31.2137 | 31.2137 |  |  |  | MAPK8
A16 | 32.3633 | 32.3633 | 1:160 | 32.4899 | 0.090001 | MAPK8 | 1:160¦MAPK8
A17 | 32.5418 | 32.5418 |  |  |  | MAPK8
A18 | 32.5646 | 32.5646 |  |  |  | MAPK8
A19 | 33.4619 | 33.4619 | 1:320 | 33.55 | 0.081516 | MAPK8 | 1:320¦MAPK8
A20 | 33.5295 | 33.5295 |  |  |  | MAPK8
A21 | 33.6585 | 33.6585 |  |  |  | MAPK8
A22 | 31.2171 | 31.2171 | LC1 | 31.1716 | 0.12963 | MAPK8 | LC1¦MAPK8
A23 | 31.3026 | 31.3026 |  |  |  | MAPK8
A24 | 30.995 | 30.995 |  |  |  | MAPK8
B1 | 30.8497 | 30.8497 | LO1 | 30.966 | 0.090328 | MAPK8 | LO1¦MAPK8
B2 | 31.0699 | 31.0699 |  |  |  | MAPK8
B3 | 30.9782 | 30.9782 |  |  |  | MAPK8
B4 | 31.4411 | 31.4411 | LP1 | 31.3158 | 0.10556 | MAPK8 | LP1¦MAPK8
B5 | 31.3233 | 31.3233 |  |  |  | MAPK8
B6 | 31.1829 | 31.1829 |  |  |  | MAPK8
B7 | 32.9644 | 32.9644 | HC1 | 33.0624 | 0.069627 | MAPK8 | HC1¦MAPK8
B8 | 33.1202 | 33.1202 |  |  |  | MAPK8
B9 | 33.1025 | 33.1025 |  |  |  | MAPK8
B10 | 30.9477 | 30.9477 | HO1 | 30.8447 | 0.1973 | MAPK8 | HO1¦MAPK8
B11 | 31.0178 | 31.0178 |  |  |  | MAPK8
B12 | 30.5686 | 30.5686 |  |  |  | MAPK8
B13 | 34.0926 | 34.0926 | HP1 | 34.2218 | 0.092682 | MAPK8 | HP1¦MAPK8
B14 | 34.2671 | 34.2671 |  |  |  | MAPK8
B15 | 34.3057 | 34.3057 |  |  |  | MAPK8
B16 | 30.962 | 30.962 | LC2 | 30.7987 | 0.11546 | MAPK8 | LC2¦MAPK8
B17 | 30.7149 | 30.7149 |  |  |  | MAPK8
B18 | 30.7193 | 30.7193 |  |  |  | MAPK8
B19 | 37.037 | 37.037 | LO2 | 36.849 | 0.16368 | MAPK8 | LO2¦MAPK8
B20 | 36.638 | 36.638 |  |  |  | MAPK8
B21 | 36.8719 | 36.8719 |  |  |  | MAPK8
B22 | 35.9151 | 35.9151 | LP2 | 35.7692 | 0.23578 | MAPK8 | LP2¦MAPK8
B23 | 35.4366 | 35.4366 |  |  |  | MAPK8
B24 | 35.956 | 35.956 |  |  |  | MAPK8
C1 | 37.1678 | 37.1678 | HC2 | 37.2577 | 0.068453 | MAPK8 | HC2¦MAPK8
C2 | 37.2717 | 37.2717 |  |  |  | MAPK8
C3 | 37.3337 | 37.3337 |  |  |  | MAPK8
C4 | 32.2202 | 32.2202 | HO2 | 31.8516 | 0.26301 | MAPK8 | HO2¦MAPK8
C5 | 31.7105 | 31.7105 |  |  |  | MAPK8
C6 | 31.6242 | 31.6242 |  |  |  | MAPK8
C7 | 31.5092 | 31.5092 | HP2 | 31.36 | 0.1086 | MAPK8 | HP2¦MAPK8
C8 | 31.3171 | 31.3171 |  |  |  | MAPK8
C9 | 31.2538 | 31.2538 |  |  |  | MAPK8
C10 | 32.1878 | 32.1878 | LC3 | 32.0476 | 0.16838 | MAPK8 | LC3¦MAPK8
C11 | 32.1443 | 32.1443 |  |  |  | MAPK8
C12 | 31.8108 | 31.8108 |  |  |  | MAPK8
C13 | 31.8662 | 31.8662 | LO3 | 31.8223 | 0.031989 | MAPK8 | LO3¦MAPK8
C14 | 31.8094 | 31.8094 |  |  |  | MAPK8
C15 | 31.7911 | 31.7911 |  |  |  | MAPK8
C16 | 32.4129 | 32.4129 | LP3 | 32.2373 | 0.19739 | MAPK8 | LP3¦MAPK8
C17 | 31.9616 | 31.9616 |  |  |  | MAPK8
C18 | 32.3374 | 32.3374 |  |  |  | MAPK8
C19 | 33.9767 | 33.9767 | HC3 | 33.8174 | 0.11985 | MAPK8 | HC3¦MAPK8
C20 | 33.6877 | 33.6877 |  |  |  | MAPK8
C21 | 33.7878 | 33.7878 |  |  |  | MAPK8
C22 | 33.1287 | 33.1287 | HO3 | 33.1238 | 0.11897 | MAPK8 | HO3¦MAPK8
C23 | 33.2671 | 33.2671 |  |  |  | MAPK8
C24 | 32.9758 | 32.9758 |  |  |  | MAPK8
D1 | 32.196 | 32.196 | HP3 | 32.1501 | 0.033399 | MAPK8 | HP3¦MAPK8
D2 | 32.1365 | 32.1365 |  |  |  | MAPK8
D3 | 32.1177 | 32.1177 |  |  |  | MAPK8
D4 | 31.0689 | 31.0689 | LC4 | 30.9775 | 0.074335 | MAPK8 | LC4¦MAPK8
D5 | 30.9769 | 30.9769 |  |  |  | MAPK8
D6 | 30.8868 | 30.8868 |  |  |  | MAPK8
D7 | 31.598 | 31.598 | LO4 | 31.4109 | 0.1689 | MAPK8 | LO4¦MAPK8
D8 | 31.4459 | 31.4459 |  |  |  | MAPK8
D9 | 31.1888 | 31.1888 |  |  |  | MAPK8
D10 | 31.6005 | 31.6005 | LP4 | 31.4607 | 0.13636 | MAPK8 | LP4¦MAPK8
D11 | 31.5058 | 31.5058 |  |  |  | MAPK8
D12 | 31.2758 | 31.2758 |  |  |  | MAPK8
D13 | 32.1404 | 32.1404 | HC4 | 32.0277 | 0.079685 | MAPK8 | HC4¦MAPK8
D14 | 31.9734 | 31.9734 |  |  |  | MAPK8
D15 | 31.9693 | 31.9693 |  |  |  | MAPK8
D16 | 33.6876 | 33.6876 | HO4 | 34.0286 | 0.25822 | MAPK8 | HO4¦MAPK8
D17 | 34.3122 | 34.3122 |  |  |  | MAPK8
D18 | 34.086 | 34.086 |  |  |  | MAPK8
D19 | 31.5353 | 31.5353 | HP4 | 31.3287 | 0.1467 | MAPK8 | HP4¦MAPK8
D20 | 31.2415 | 31.2415 |  |  |  | MAPK8
D21 | 31.2093 | 31.2093 |  |  |  | MAPK8
E1 | 30.5352 | 30.5352 | LC5 | 30.3242 | 0.19783 | MAPK8 | LC5¦MAPK8
E2 | 30.3779 | 30.3779 |  |  |  | MAPK8
E3 | 30.0596 | 30.0596 |  |  |  | MAPK8
E4 | 29.9522 | 29.9522 | LO5 | 29.8566 | 0.13979 | MAPK8 | LO5¦MAPK8
E5 | 29.9586 | 29.9586 |  |  |  | MAPK8
E6 | 29.6589 | 29.6589 |  |  |  | MAPK8
E7 | 30.2718 | 30.2718 | LP5 | 30.1386 | 0.097412 | MAPK8 | LP5¦MAPK8
E8 | 30.0416 | 30.0416 |  |  |  | MAPK8
E9 | 30.1025 | 30.1025 |  |  |  | MAPK8
E10 | 30.063 | 30.063 | HC5 | 29.9101 | 0.10841 | MAPK8 | HC5¦MAPK8
E11 | 29.8433 | 29.8433 |  |  |  | MAPK8
E12 | 29.824 | 29.824 |  |  |  | MAPK8
E13 | 29.5833 | 29.5833 | HO5 | 29.4591 | 0.08914 | MAPK8 | HO5¦MAPK8
E14 | 29.3786 | 29.3786 |  |  |  | MAPK8
E15 | 29.4153 | 29.4153 |  |  |  | MAPK8
E16 | 29.9506 | 29.9506 | HP5 | 29.6952 | 0.22111 | MAPK8 | HP5¦MAPK8
E17 | 29.7238 | 29.7238 |  |  |  | MAPK8
E18 | 29.4113 | 29.4113 |  |  |  | MAPK8
E19 | 30.1127 | 30.1127 | LC6 | 29.9388 | 0.13926 | MAPK8 | LC6¦MAPK8
E20 | 29.7718 | 29.7718 |  |  |  | MAPK8
E21 | 29.9319 | 29.9319 |  |  |  | MAPK8
E22 | 30.0804 | 30.0804 | LO6 | 29.7632 | 0.22477 | MAPK8 | LO6¦MAPK8
E23 | 29.6222 | 29.6222 |  |  |  | MAPK8
E24 | 29.5869 | 29.5869 |  |  |  | MAPK8
F1 | 30.0416 | 30.0416 | LP6 | 29.894 | 0.10589 | MAPK8 | LP6¦MAPK8
F2 | 29.8424 | 29.8424 |  |  |  | MAPK8
F3 | 29.7981 | 29.7981 |  |  |  | MAPK8
F4 | 30.106 | 30.106 | HC6 | 30.1054 | 0.03897 | MAPK8 | HC6¦MAPK8
F5 | 30.0574 | 30.0574 |  |  |  | MAPK8
F6 | 30.1528 | 30.1528 |  |  |  | MAPK8
F7 | 29.9588 | 29.9588 | HO6 | 29.7045 | 0.18225 | MAPK8 | HO6¦MAPK8
F8 | 29.6137 | 29.6137 |  |  |  | MAPK8
F9 | 29.541 | 29.541 |  |  |  | MAPK8
F10 | 29.8259 | 29.8259 | HP6 | 29.8162 | 0.096174 | MAPK8 | HP6¦MAPK8
F11 | 29.6939 | 29.6939 |  |  |  | MAPK8
F12 | 29.9288 | 29.9288 |  |  |  | MAPK8
F13 | 29.5619 | 29.5619 | LPS1 | 29.1868 | 0.26522 | MAPK8 | LPS1¦MAPK8
F14 | 28.9957 | 28.9957 |  |  |  | MAPK8
F15 | 29.0029 | 29.0029 |  |  |  | MAPK8
F16 | 31.8375 | 31.8375 | LPS2 | 31.995 | 0.19682 | MAPK8 | LPS2¦MAPK8
F17 | 31.875 | 31.875 |  |  |  | MAPK8
F18 | 32.2725 | 32.2725 |  |  |  | MAPK8
F19 | 29.3482 | 29.3482 | LPS3 | 29.3376 | 0.085815 | MAPK8 | LPS3¦MAPK8
F20 | 29.437 | 29.437 |  |  |  | MAPK8
F21 | 29.2276 | 29.2276 |  |  |  | MAPK8
F22 | 29.3233 | 29.3233 | LPS4 | 29.096 | 0.16361 | MAPK8 | LPS4¦MAPK8
F23 | 29.0196 | 29.0196 |  |  |  | MAPK8
F24 | 28.945 | 28.945 |  |  |  | MAPK8
G1 | 29.3055 | 29.3055 | LPS5 | 29.2059 | 0.10477 | MAPK8 | LPS5¦MAPK8
G2 | 29.0611 | 29.0611 |  |  |  | MAPK8
G3 | 29.251 | 29.251 |  |  |  | MAPK8
G4 | 30.0999 | 30.0999 | LPS6 | 29.7258 | 0.28021 | MAPK8 | LPS6¦MAPK8
G5 | 29.6521 | 29.6521 |  |  |  | MAPK8
G6 | 29.4255 | 29.4255 |  |  |  | MAPK8
G7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK8 | EMPTY¦MAPK8
G8 | Undetermined | 40.1 |  |  |  | MAPK8
G9 | Undetermined | 40.1 |  |  |  | MAPK8
G10 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK8 | EMPTY¦MAPK8
G11 | Undetermined | 40.1 |  |  |  | MAPK8
G12 | Undetermined | 40.1 |  |  |  | MAPK8
G13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK8 | EMPTY¦MAPK8
G14 | Undetermined | 40.1 |  |  |  | MAPK8
G15 | Undetermined | 40.1 |  |  |  | MAPK8
G16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK8 | EMPTY¦MAPK8
G17 | Undetermined | 40.1 |  |  |  | MAPK8
G18 | Undetermined | 40.1 |  |  |  | MAPK8
G19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK8 | EMPTY¦MAPK8
G20 | Undetermined | 40.1 |  |  |  | MAPK8
G21 | Undetermined | 40.1 |  |  |  | MAPK8
G22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK8 | EMPTY¦MAPK8
G23 | Undetermined | 40.1 |  |  |  | MAPK8
G24 | Undetermined | 40.1 |  |  |  | MAPK8
H1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK8 | EMPTY¦MAPK8
H2 | Undetermined | 40.1 |  |  |  | MAPK8
H3 | Undetermined | 40.1 |  |  |  | MAPK8
H4 | Undetermined | 40.1 | BLANK | 40.1 | 0 | MAPK9 | BLANK¦MAPK9
H5 | Undetermined | 40.1 |  |  |  | MAPK9
H6 | Undetermined | 40.1 |  |  |  | MAPK9
H7 | 27.548 | 27.548 | 1:10 | 27.4891 | 0.054212 | MAPK9 | 1:10¦MAPK9
H8 | 27.502 | 27.502 |  |  |  | MAPK9
H9 | 27.4172 | 27.4172 |  |  |  | MAPK9
H10 | 28.4555 | 28.4555 | 1:20 | 28.4918 | 0.027506 | MAPK9 | 1:20¦MAPK9
H11 | 28.522 | 28.522 |  |  |  | MAPK9
H12 | 28.498 | 28.498 |  |  |  | MAPK9
H13 | 29.4407 | 29.4407 | 1:40 | 29.3839 | 0.043605 | MAPK9 | 1:40¦MAPK9
H14 | 29.3347 | 29.3347 |  |  |  | MAPK9
H15 | 29.3763 | 29.3763 |  |  |  | MAPK9
H16 | 30.6759 | 30.6759 | 1:80 | 30.5672 | 0.085689 | MAPK9 | 1:80¦MAPK9
H17 | 30.5592 | 30.5592 |  |  |  | MAPK9
H18 | 30.4664 | 30.4664 |  |  |  | MAPK9
H19 | 31.5392 | 31.5392 | 1:160 | 31.4597 | 0.058402 | MAPK9 | 1:160¦MAPK9
H20 | 31.4391 | 31.4391 |  |  |  | MAPK9
H21 | 31.4007 | 31.4007 |  |  |  | MAPK9
I1 | 32.4896 | 32.4896 | 1:320 | 32.7031 | 0.151 | MAPK9 | 1:320¦MAPK9
I2 | 32.8095 | 32.8095 |  |  |  | MAPK9
I3 | 32.8103 | 32.8103 |  |  |  | MAPK9
I4 | 30.6404 | 30.6404 | LC1 | 30.415 | 0.17755 | MAPK9 | LC1¦MAPK9
I5 | 30.2065 | 30.2065 |  |  |  | MAPK9
I6 | 30.398 | 30.398 |  |  |  | MAPK9
I7 | 30.3099 | 30.3099 | LO1 | 30.0662 | 0.18282 | MAPK9 | LO1¦MAPK9
I8 | 29.8695 | 29.8695 |  |  |  | MAPK9
I9 | 30.0192 | 30.0192 |  |  |  | MAPK9
I10 | 30.4716 | 30.4716 | LP1 | 30.2418 | 0.21467 | MAPK9 | LP1¦MAPK9
I11 | 30.2988 | 30.2988 |  |  |  | MAPK9
I12 | 29.9551 | 29.9551 |  |  |  | MAPK9
I13 | 33.1476 | 33.1476 | HC1 | 33.1297 | 0.030521 | MAPK9 | HC1¦MAPK9
I14 | 33.0867 | 33.0867 |  |  |  | MAPK9
I15 | 33.1547 | 33.1547 |  |  |  | MAPK9
I16 | 29.7519 | 29.7519 | HO1 | 29.5537 | 0.14047 | MAPK9 | HO1¦MAPK9
I17 | 29.4426 | 29.4426 |  |  |  | MAPK9
I18 | 29.4666 | 29.4666 |  |  |  | MAPK9
I19 | 33.1756 | 33.1756 | HP1 | 33.2163 | 0.11291 | MAPK9 | HP1¦MAPK9
I20 | 33.103 | 33.103 |  |  |  | MAPK9
I21 | 33.3704 | 33.3704 |  |  |  | MAPK9
I22 | 30.2567 | 30.2567 | LC2 | 30.0778 | 0.12997 | MAPK9 | LC2¦MAPK9
I23 | 30.0246 | 30.0246 |  |  |  | MAPK9
I24 | 29.952 | 29.952 |  |  |  | MAPK9
J1 | 36.0955 | 36.0955 | LO2 | 36.2913 | 0.21344 | MAPK9 | LO2¦MAPK9
J2 | 36.1902 | 36.1902 |  |  |  | MAPK9
J3 | 36.5881 | 36.5881 |  |  |  | MAPK9
J4 | 34.5397 | 34.5397 | LP2 | 34.63 | 0.064331 | MAPK9 | LP2¦MAPK9
J5 | 34.685 | 34.685 |  |  |  | MAPK9
J6 | 34.6652 | 34.6652 |  |  |  | MAPK9
J7 | 38.0453 |  | HC2 | 37.0045 | 0.069351 | MAPK9 | HC2¦MAPK9
J8 | 36.9352 | 36.9352 |  |  |  | MAPK9
J9 | 37.0739 | 37.0739 |  |  |  | MAPK9
J10 | 31.1614 | 31.1614 | HO2 | 31.1151 | 0.1015 | MAPK9 | HO2¦MAPK9
J11 | 31.2096 | 31.2096 |  |  |  | MAPK9
J12 | 30.9743 | 30.9743 |  |  |  | MAPK9
J13 | 30.2423 | 30.2423 | HP2 | 30.1856 | 0.05346 | MAPK9 | HP2¦MAPK9
J14 | 30.2006 | 30.2006 |  |  |  | MAPK9
J15 | 30.114 | 30.114 |  |  |  | MAPK9
J16 | 31.3094 | 31.3094 | LC3 | 31.2247 | 0.11284 | MAPK9 | LC3¦MAPK9
J17 | 31.0652 | 31.0652 |  |  |  | MAPK9
J18 | 31.2994 | 31.2994 |  |  |  | MAPK9
J19 | 31.0839 | 31.0839 | LO3 | 30.7909 | 0.22018 | MAPK9 | LO3¦MAPK9
J20 | 30.553 | 30.553 |  |  |  | MAPK9
J21 | 30.7359 | 30.7359 |  |  |  | MAPK9
J22 | 31.2927 | 31.2927 | LP3 | 31.2775 | 0.052256 | MAPK9 | LP3¦MAPK9
J23 | 31.3326 | 31.3326 |  |  |  | MAPK9
J24 | 31.2073 | 31.2073 |  |  |  | MAPK9
K1 | 33.1389 | 33.1389 | HC3 | 32.784 | 0.25388 | MAPK9 | HC3¦MAPK9
K2 | 32.6539 | 32.6539 |  |  |  | MAPK9
K3 | 32.5593 | 32.5593 |  |  |  | MAPK9
K4 | 32.3338 | 32.3338 | HO3 | 32.1609 | 0.14006 | MAPK9 | HO3¦MAPK9
K5 | 31.9908 | 31.9908 |  |  |  | MAPK9
K6 | 32.158 | 32.158 |  |  |  | MAPK9
K7 | 31.2694 | 31.2694 | HP3 | 31.0464 | 0.17113 | MAPK9 | HP3¦MAPK9
K8 | 31.0162 | 31.0162 |  |  |  | MAPK9
K9 | 30.8535 | 30.8535 |  |  |  | MAPK9
K10 | 30.2408 | 30.2408 | LC4 | 30.1122 | 0.092059 | MAPK9 | LC4¦MAPK9
K11 | 30.0302 | 30.0302 |  |  |  | MAPK9
K12 | 30.0657 | 30.0657 |  |  |  | MAPK9
K13 | 30.732 | 30.732 | LO4 | 30.4078 | 0.2293 | MAPK9 | LO4¦MAPK9
K14 | 30.2418 | 30.2418 |  |  |  | MAPK9
K15 | 30.2495 | 30.2495 |  |  |  | MAPK9
K16 | 30.933 |  | LP4 | 30.3378 | 0.15299 | MAPK9 | LP4¦MAPK9
K17 | 30.1848 | 30.1848 |  |  |  | MAPK9
K18 | 30.4908 | 30.4908 |  |  |  | MAPK9
K19 | 31.3898 | 31.3898 | HC4 | 31.1906 | 0.15626 | MAPK9 | HC4¦MAPK9
K20 | 31.1737 | 31.1737 |  |  |  | MAPK9
K21 | 31.0082 | 31.0082 |  |  |  | MAPK9
K22 | 34.2299 |  | HO4 | 33.2581 | 0.0084763 | MAPK9 | HO4¦MAPK9
K23 | 33.2497 | 33.2497 |  |  |  | MAPK9
K24 | 33.2666 | 33.2666 |  |  |  | MAPK9
L1 | 30.3117 | 30.3117 | HP4 | 30.15 | 0.1547 | MAPK9 | HP4¦MAPK9
L2 | 29.9415 | 29.9415 |  |  |  | MAPK9
L3 | 30.1967 | 30.1967 |  |  |  | MAPK9
L4 | 29.0655 | 29.0655 | LC5 | 28.9596 | 0.10283 | MAPK9 | LC5¦MAPK9
L5 | 28.9929 | 28.9929 |  |  |  | MAPK9
L6 | 28.8203 | 28.8203 |  |  |  | MAPK9
L7 | 29.0376 | 29.0376 | LO5 | 28.8544 | 0.13069 | MAPK9 | LO5¦MAPK9
L8 | 28.7417 | 28.7417 |  |  |  | MAPK9
L9 | 28.7839 | 28.7839 |  |  |  | MAPK9
L10 | 28.9623 | 28.9623 | LP5 | 28.9152 | 0.033391 | MAPK9 | LP5¦MAPK9
L11 | 28.8896 | 28.8896 |  |  |  | MAPK9
L12 | 28.8936 | 28.8936 |  |  |  | MAPK9
L13 | 29.4253 | 29.4253 | HC5 | 29.1598 | 0.20265 | MAPK9 | HC5¦MAPK9
L14 | 29.1203 | 29.1203 |  |  |  | MAPK9
L15 | 28.9337 | 28.9337 |  |  |  | MAPK9
L16 | 28.6754 | 28.6754 | HO5 | 28.5339 | 0.10008 | MAPK9 | HO5¦MAPK9
L17 | 28.4599 | 28.4599 |  |  |  | MAPK9
L18 | 28.4665 | 28.4665 |  |  |  | MAPK9
L19 | 28.883 | 28.883 | HP5 | 28.7642 | 0.090115 | MAPK9 | HP5¦MAPK9
L20 | 28.6648 | 28.6648 |  |  |  | MAPK9
L21 | 28.7449 | 28.7449 |  |  |  | MAPK9
M1 | 28.9397 | 28.9397 | LC6 | 28.703 | 0.16737 | MAPK9 | LC6¦MAPK9
M2 | 28.5876 | 28.5876 |  |  |  | MAPK9
M3 | 28.5817 | 28.5817 |  |  |  | MAPK9
M4 | 28.755 | 28.755 | LO6 | 28.5684 | 0.13736 | MAPK9 | LO6¦MAPK9
M5 | 28.4285 | 28.4285 |  |  |  | MAPK9
M6 | 28.5216 | 28.5216 |  |  |  | MAPK9
M7 | 28.7549 | 28.7549 | LP6 | 28.6177 | 0.11522 | MAPK9 | LP6¦MAPK9
M8 | 28.6252 | 28.6252 |  |  |  | MAPK9
M9 | 28.473 | 28.473 |  |  |  | MAPK9
M10 | 29.2084 | 29.2084 | HC6 | 29.0181 | 0.14902 | MAPK9 | HC6¦MAPK9
M11 | 29.0013 | 29.0013 |  |  |  | MAPK9
M12 | 28.8445 | 28.8445 |  |  |  | MAPK9
M13 | 28.8169 | 28.8169 | HO6 | 28.7176 | 0.1024 | MAPK9 | HO6¦MAPK9
M14 | 28.7593 | 28.7593 |  |  |  | MAPK9
M15 | 28.5767 | 28.5767 |  |  |  | MAPK9
M16 | 28.9367 | 28.9367 | HP6 | 28.7409 | 0.13913 | MAPK9 | HP6¦MAPK9
M17 | 28.6262 | 28.6262 |  |  |  | MAPK9
M18 | 28.6597 | 28.6597 |  |  |  | MAPK9
M19 | 28.8523 | 28.8523 | LPS1 | 28.6249 | 0.18564 | MAPK9 | LPS1¦MAPK9
M20 | 28.6248 | 28.6248 |  |  |  | MAPK9
M21 | 28.3976 | 28.3976 |  |  |  | MAPK9
M22 | 32.9969 | 32.9969 | LPS2 | 33.053 | 0.045246 | MAPK9 | LPS2¦MAPK9
M23 | 33.0545 | 33.0545 |  |  |  | MAPK9
M24 | 33.1077 | 33.1077 |  |  |  | MAPK9
N1 | 28.5265 | 28.5265 | LPS3 | 28.6148 | 0.10034 | MAPK9 | LPS3¦MAPK9
N2 | 28.5627 | 28.5627 |  |  |  | MAPK9
N3 | 28.7551 | 28.7551 |  |  |  | MAPK9
N4 | 28.5076 | 28.5076 | LPS4 | 28.3729 | 0.10042 | MAPK9 | LPS4¦MAPK9
N5 | 28.3442 | 28.3442 |  |  |  | MAPK9
N6 | 28.2667 | 28.2667 |  |  |  | MAPK9
N7 | 28.6866 | 28.6866 | LPS5 | 28.597 | 0.067 | MAPK9 | LPS5¦MAPK9
N8 | 28.5255 | 28.5255 |  |  |  | MAPK9
N9 | 28.579 | 28.579 |  |  |  | MAPK9
N10 | 29.1962 | 29.1962 | LPS6 | 28.9956 | 0.18722 | MAPK9 | LPS6¦MAPK9
N11 | 29.045 | 29.045 |  |  |  | MAPK9
N12 | 28.7456 | 28.7456 |  |  |  | MAPK9
N13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK9 | EMPTY¦MAPK9
N14 | Undetermined | 40.1 |  |  |  | MAPK9
N15 | Undetermined | 40.1 |  |  |  | MAPK9
N16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK9 | EMPTY¦MAPK9
N17 | Undetermined | 40.1 |  |  |  | MAPK9
N18 | Undetermined | 40.1 |  |  |  | MAPK9
N19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK9 | EMPTY¦MAPK9
N20 | Undetermined | 40.1 |  |  |  | MAPK9
N21 | Undetermined | 40.1 |  |  |  | MAPK9
N22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK9 | EMPTY¦MAPK9
N23 | Undetermined | 40.1 |  |  |  | MAPK9
N24 | Undetermined | 40.1 |  |  |  | MAPK9
O1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK9 | EMPTY¦MAPK9
O2 | Undetermined | 40.1 |  |  |  | MAPK9
O3 | Undetermined | 40.1 |  |  |  | MAPK9
O4 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK9 | EMPTY¦MAPK9
O5 | Undetermined | 40.1 |  |  |  | MAPK9
O6 | Undetermined | 40.1 |  |  |  | MAPK9
O7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | MAPK9 | EMPTY¦MAPK9
O8 | Undetermined | 40.1 |  |  |  | MAPK9
O9 | Undetermined | 40.1 |  |  |  | MAPK9

## MAPK8
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 28.3851 | 0.06764 | 0.2383% | 0.1 | -1
1:20 | 29.3625 | 0.12685 | 0.432% | 0.05 | -1.301
1:40 | 30.3777 | 0.052682 | 0.1734% | 0.025 | -1.6021
1:80 | 31.2844 | 0.26105 | 0.8344% | 0.0125 | -1.9031
1:160 | 32.4899 | 0.090001 | 0.277% | 0.00625 | -2.2041
1:320 | 33.55 | 0.081516 | 0.243% | 0.003125 | -2.5051
| Slope | -3.4276
| Efficiency | 1.9577
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | delta delta Ct (to Housekeepers)
BLANK¦MAPK8 | BLANK | 40.1 | 0 | 0% | 0.00073679
1:10¦MAPK8 | 1:10 | 28.3851 | 0.06764 | 0.2383% | 1.9282
1:20¦MAPK8 | 1:20 | 29.3625 | 0.12685 | 0.432% | 1
1:40¦MAPK8 | 1:40 | 30.3777 | 0.052682 | 0.1734% | 0.50561
1:80¦MAPK8 | 1:80 | 31.2844 | 0.26105 | 0.8344% | 0.27497
1:160¦MAPK8 | 1:160 | 32.4899 | 0.090001 | 0.277% | 0.12234
1:320¦MAPK8 | 1:320 | 33.55 | 0.081516 | 0.243% | 0.060021
LC1¦MAPK8 | LC1 | 31.1716 | 0.12963 | 0.4159% | 0.29662 | 1.3111
LO1¦MAPK8 | LO1 | 30.966 | 0.090328 | 0.2917% | 0.34056 | 1.2896
LP1¦MAPK8 | LP1 | 31.3158 | 0.10556 | 0.3371% | 0.26923 | 1.1402
HC1¦MAPK8 | HC1 | 33.0624 | 0.069627 | 0.2106% | 0.083284 | 1.6874
HO1¦MAPK8 | HO1 | 30.8447 | 0.1973 | 0.6397% | 0.36947 | 1.2347
HP1¦MAPK8 | HP1 | 34.2218 | 0.092682 | 0.2708% | 0.038221 | 1.3831
LC2¦MAPK8 | LC2 | 30.7987 | 0.11546 | 0.3749% | 0.38105 | 1.4185
LO2¦MAPK8 | LO2 | 36.849 | 0.16368 | 0.4442% | 0.0065439 | 1.2928
LP2¦MAPK8 | LP2 | 35.7692 | 0.23578 | 0.6592% | 0.013516 | 2.469
HC2¦MAPK8 | HC2 | 37.2577 | 0.068453 | 0.1837% | 0.0049725 | 1.8629
HO2¦MAPK8 | HO2 | 31.8516 | 0.26301 | 0.8257% | 0.18785 | 1.6178
HP2¦MAPK8 | HP2 | 31.36 | 0.1086 | 0.3463% | 0.26135 | 1.1333
LC3¦MAPK8 | LC3 | 32.0476 | 0.16838 | 0.5254% | 0.16467 | 1.2533
LO3¦MAPK8 | LO3 | 31.8223 | 0.031989 | 0.1005% | 0.19159 | 1.3096
LP3¦MAPK8 | LP3 | 32.2373 | 0.19739 | 0.6123% | 0.14497 | 1.4952
HC3¦MAPK8 | HC3 | 33.8174 | 0.11985 | 0.3544% | 0.050152 | 1.5322
HO3¦MAPK8 | HO3 | 33.1238 | 0.11897 | 0.3592% | 0.079915 | 1.2883
HP3¦MAPK8 | HP3 | 32.1501 | 0.033399 | 0.1039% | 0.15372 | 1.8863
LC4¦MAPK8 | LC4 | 30.9775 | 0.074335 | 0.24% | 0.33792 | 1.0062
LO4¦MAPK8 | LO4 | 31.4109 | 0.1689 | 0.5377% | 0.25257 | 1.108
LP4¦MAPK8 | LP4 | 31.4607 | 0.13636 | 0.4334% | 0.24426 | 1.5844
HC4¦MAPK8 | HC4 | 32.0277 | 0.079685 | 0.2488% | 0.16689 | 1.2037
HO4¦MAPK8 | HO4 | 34.0286 | 0.25822 | 0.7588% | 0.043519 | 1.9088
HP4¦MAPK8 | HP4 | 31.3287 | 0.1467 | 0.4683% | 0.26691 | 1.1274
LC5¦MAPK8 | LC5 | 30.3242 | 0.19783 | 0.6524% | 0.52409 | 0.85218
LO5¦MAPK8 | LO5 | 29.8566 | 0.13979 | 0.4682% | 0.71755 | 0.8581
LP5¦MAPK8 | LP5 | 30.1386 | 0.097412 | 0.3232% | 0.5937 | 1.0489
HC5¦MAPK8 | HC5 | 29.9101 | 0.10841 | 0.3625% | 0.69221 | 0.9548
HO5¦MAPK8 | HO5 | 29.4591 | 0.08914 | 0.3026% | 0.93717 | 0.91485
HP5¦MAPK8 | HP5 | 29.6952 | 0.22111 | 0.7446% | 0.7997 | 0.90922
LC6¦MAPK8 | LC6 | 29.9388 | 0.13926 | 0.4652% | 0.67899 | 0.83211
LO6¦MAPK8 | LO6 | 29.7632 | 0.22477 | 0.7552% | 0.76402 | 0.90464
LP6¦MAPK8 | LP6 | 29.894 | 0.10589 | 0.3542% | 0.69973 | 0.88785
HC6¦MAPK8 | HC6 | 30.1054 | 0.03897 | 0.1294% | 0.60709 | 0.95657
HO6¦MAPK8 | HO6 | 29.7045 | 0.18225 | 0.6135% | 0.79473 | 0.89974
HP6¦MAPK8 | HP6 | 29.8162 | 0.096174 | 0.3226% | 0.73728 | 0.85096
LPS1¦MAPK8 | LPS1 | 29.1868 | 0.26522 | 0.9087% | 1.1253 | 1.0637
LPS2¦MAPK8 | LPS2 | 31.995 | 0.19682 | 0.6152% | 0.17059 | 0.52542
LPS3¦MAPK8 | LPS3 | 29.3376 | 0.085815 | 0.2925% | 1.0169 | 1.0966
LPS4¦MAPK8 | LPS4 | 29.096 | 0.16361 | 0.5623% | 1.1961 | 1.108
LPS5¦MAPK8 | LPS5 | 29.2059 | 0.10477 | 0.3587% | 1.111 | 1.1733
LPS6¦MAPK8 | LPS6 | 29.7258 | 0.28021 | 0.9427% | 0.78343 | 1.3078

## MAPK9
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 27.4891 | 0.054212 | 0.1972% | 0.1 | -1
1:20 | 28.4918 | 0.027506 | 0.09654% | 0.05 | -1.301
1:40 | 29.3839 | 0.043605 | 0.1484% | 0.025 | -1.6021
1:80 | 30.5672 | 0.085689 | 0.2803% | 0.0125 | -1.9031
1:160 | 31.4597 | 0.058402 | 0.1856% | 0.00625 | -2.2041
1:320 | 32.7031 | 0.151 | 0.4617% | 0.003125 | -2.5051
| Slope | -3.4317
| Efficiency | 1.9561
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | delta delta Ct (to Housekeepers)
BLANK¦MAPK9 | BLANK | 40.1 | 0 | 0% | 0.0004144
1:10¦MAPK9 | 1:10 | 27.4891 | 0.054212 | 0.1972% | 1.9598
1:20¦MAPK9 | 1:20 | 28.4918 | 0.027506 | 0.09654% | 1
1:40¦MAPK9 | 1:40 | 29.3839 | 0.043605 | 0.1484% | 0.54961
1:80¦MAPK9 | 1:80 | 30.5672 | 0.085689 | 0.2803% | 0.24846
1:160¦MAPK9 | 1:160 | 31.4597 | 0.058402 | 0.1856% | 0.13652
1:320¦MAPK9 | 1:320 | 32.7031 | 0.151 | 0.4617% | 0.059271
LC1¦MAPK9 | LC1 | 30.415 | 0.17755 | 0.5838% | 0.27517 | 1.2163
LO1¦MAPK9 | LO1 | 30.0662 | 0.18282 | 0.6081% | 0.34773 | 1.3167
LP1¦MAPK9 | LP1 | 30.2418 | 0.21467 | 0.7099% | 0.30908 | 1.309
HC1¦MAPK9 | HC1 | 33.1297 | 0.030521 | 0.09213% | 0.04452 | 0.90199
HO1¦MAPK9 | HO1 | 29.5537 | 0.14047 | 0.4753% | 0.49043 | 1.639
HP1¦MAPK9 | HP1 | 33.2163 | 0.11291 | 0.3399% | 0.042005 | 1.52
LC2¦MAPK9 | LC2 | 30.0778 | 0.12997 | 0.4321% | 0.34504 | 1.2845
LO2¦MAPK9 | LO2 | 36.2913 | 0.21344 | 0.5881% | 0.0053366 | 1.0543
LP2¦MAPK9 | LP2 | 34.63 | 0.064331 | 0.1858% | 0.01627 | 2.9721
HC2¦MAPK9 | HC2 | 37.0045 | 0.069351 | 0.1874% | 0.003307 | 1.2389
HO2¦MAPK9 | HO2 | 31.1151 | 0.1015 | 0.3262% | 0.17202 | 1.4816
HP2¦MAPK9 | HP2 | 30.1856 | 0.05346 | 0.1771% | 0.32095 | 1.3918
LC3¦MAPK9 | LC3 | 31.2247 | 0.11284 | 0.3614% | 0.15983 | 1.2165
LO3¦MAPK9 | LO3 | 30.7909 | 0.22018 | 0.7151% | 0.21382 | 1.4616
LP3¦MAPK9 | LP3 | 31.2775 | 0.052256 | 0.1671% | 0.15426 | 1.5911
HC3¦MAPK9 | HC3 | 32.784 | 0.25388 | 0.7744% | 0.056141 | 1.7152
HO3¦MAPK9 | HO3 | 32.1609 | 0.14006 | 0.4355% | 0.085282 | 1.3748
HP3¦MAPK9 | HP3 | 31.0464 | 0.17113 | 0.5512% | 0.18014 | 2.2106
LC4¦MAPK9 | LC4 | 30.1122 | 0.092059 | 0.3057% | 0.33715 | 1.0039
LO4¦MAPK9 | LO4 | 30.4078 | 0.2293 | 0.7541% | 0.27651 | 1.213
LP4¦MAPK9 | LP4 | 30.3378 | 0.15299 | 0.5043% | 0.2898 | 1.8798
HC4¦MAPK9 | HC4 | 31.1906 | 0.15626 | 0.501% | 0.16353 | 1.1795
HO4¦MAPK9 | HO4 | 33.2581 | 0.0084763 | 0.02549% | 0.040843 | 1.7915
HP4¦MAPK9 | HP4 | 30.15 | 0.1547 | 0.5131% | 0.32872 | 1.3885
LC5¦MAPK9 | LC5 | 28.9596 | 0.10283 | 0.3551% | 0.73065 | 1.188
LO5¦MAPK9 | LO5 | 28.8544 | 0.13069 | 0.4529% | 0.78407 | 0.93765
LP5¦MAPK9 | LP5 | 28.9152 | 0.033391 | 0.1155% | 0.75275 | 1.3299
HC5¦MAPK9 | HC5 | 29.1598 | 0.20265 | 0.695% | 0.63881 | 0.88114
HO5¦MAPK9 | HO5 | 28.5339 | 0.10008 | 0.3507% | 0.97216 | 0.949
HP5¦MAPK9 | HP5 | 28.7642 | 0.090115 | 0.3133% | 0.83296 | 0.94703
LC6¦MAPK9 | LC6 | 28.703 | 0.16737 | 0.5831% | 0.86789 | 1.0636
LO6¦MAPK9 | LO6 | 28.5684 | 0.13736 | 0.4808% | 0.94996 | 1.1248
LP6¦MAPK9 | LP6 | 28.6177 | 0.11522 | 0.4026% | 0.91901 | 1.1661
HC6¦MAPK9 | HC6 | 29.0181 | 0.14902 | 0.5135% | 0.70253 | 1.107
HO6¦MAPK9 | HO6 | 28.7176 | 0.1024 | 0.3566% | 0.85943 | 0.97298
HP6¦MAPK9 | HP6 | 28.7409 | 0.13913 | 0.4841% | 0.84614 | 0.9766
LPS1¦MAPK9 | LPS1 | 28.6249 | 0.18564 | 0.6485% | 0.9146 | 0.86454
LPS2¦MAPK9 | LPS2 | 33.053 | 0.045246 | 0.1369% | 0.046869 | 0.14435
LPS3¦MAPK9 | LPS3 | 28.6148 | 0.10034 | 0.3507% | 0.92083 | 0.99304
LPS4¦MAPK9 | LPS4 | 28.3729 | 0.10042 | 0.3539% | 1.0831 | 1.0033
LPS5¦MAPK9 | LPS5 | 28.597 | 0.067 | 0.2343% | 0.93186 | 0.98417
LPS6¦MAPK9 | LPS6 | 28.9956 | 0.18722 | 0.6457% | 0.7132 | 1.1906

## Housekeeper deltaCT
| B2M | YWHAZ | HMBS | Geometric mean
LC1 | 0.25259 | 0.23717 | 0.19328 | 0.22623
LO1 | 0.29458 | 0.32852 | 0.19031 | 0.26408
LP1 | 0.26458 | 0.29195 | 0.17044 | 0.23613
HC1 | 0.07449 | 0.052506 | 0.030743 | 0.049357
HO1 | 0.31041 | 0.3764 | 0.22933 | 0.29924
HP1 | 0.03263 | 0.034519 | 0.018735 | 0.027634
LC2 | 0.3212 | 0.30329 | 0.19898 | 0.26862
LO2 | 0.0055929 | 0.0051822 | 0.0044749 | 0.0050619
LP2 | 0.0073561 | 0.012238 | 0.0018221 | 0.0054741
HC2 | 0.0031007 | 0.0030862 | 0.0019875 | 0.0026693
HO2 | 0.13342 | 0.15163 | 0.077373 | 0.11611
HP2 | 0.24133 | 0.30885 | 0.16453 | 0.2306
LC3 | 0.17176 | 0.13323 | 0.099117 | 0.13139
LO3 | 0.17467 | 0.17864 | 0.10035 | 0.1463
LP3 | 0.13877 | 0.12213 | 0.053781 | 0.096956
HC3 | 0.048799 | 0.041388 | 0.017362 | 0.032731
HO3 | 0.074273 | 0.080536 | 0.039906 | 0.062033
HP3 | 0.14781 | 0.16129 | 0.022699 | 0.081491
LC4 | 0.38684 | 0.3516 | 0.27853 | 0.33585
LO4 | 0.26705 | 0.25761 | 0.1722 | 0.22796
LP4 | 0.18798 | 0.26986 | 0.072227 | 0.15417
HC4 | 0.21047 | 0.14724 | 0.085992 | 0.13864
HO4 | 0.036248 | 0.032479 | 0.010066 | 0.022799
HP4 | 0.29693 | 0.28977 | 0.1542 | 0.23674
LC5 | 0.72919 | 0.68067 | 0.46866 | 0.615
LO5 | 0.92663 | 0.81851 | 0.77093 | 0.83621
LP5 | 0.7055 | 0.75831 | 0.33894 | 0.56601
HC5 | 1.0646 | 0.7249 | 0.49377 | 0.72498
HO5 | 1.241 | 0.96931 | 0.89364 | 1.0244
HP5 | 1.0078 | 0.85395 | 0.79064 | 0.87955
LC6 | 0.94466 | 0.86751 | 0.66299 | 0.81599
LO6 | 0.85151 | 0.91121 | 0.77639 | 0.84456
LP6 | 0.84148 | 0.89419 | 0.65059 | 0.78812
HC6 | 0.80347 | 0.69576 | 0.45727 | 0.63465
HO6 | 0.97148 | 0.88748 | 0.79933 | 0.8833
HP6 | 1.0014 | 0.84528 | 0.76835 | 0.86641
LPS1 | 0.68008 | 1.1117 | 1.566 | 1.0579
LPS2 | 0.19942 | 0.2932 | 0.58538 | 0.32468
LPS3 | 0.53459 | 1.0664 | 1.3986 | 0.92728
LPS4 | 0.66935 | 1.21 | 1.5533 | 1.0795
LPS5 | 0.61262 | 1.0979 | 1.2621 | 0.94685
LPS6 | 0.42663 | 0.79491 | 0.63382 | 0.59903