## Results
Block Type | 384-Well Block
Calibration Background is expired | No
Calibration Background performed on | 07-19-2022
Calibration Normalization FAM-ROX is expired | No
Calibration Normalization FAM-ROX performed on | 04-21-2022
Calibration Normalization VIC-ROX is expired | No
Calibration Normalization VIC-ROX performed on | 04-21-2022
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 04-21-2022
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 04-21-2022
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 04-21-2022
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 04-21-2022
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 04-21-2022
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 04-21-2022
Calibration ROI is expired | No
Calibration ROI performed on | 04-21-2022
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 04-21-2022
Chemistry | TAQMAN
Date Created | 2022-07-28 13:17:03 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | D:\Users\Administrator\Desktop\FELIX\Felix HNM 1.eds
Experiment Name | Felix HNM 1
Experiment Run End Time | 2022-07-28 14:17:18 PM BST
Experiment Type | Standard Curve
Instrument Name | HotPants
Instrument Serial Number | 278871706
Instrument Type | QuantStudio(TM) 7 Flex System
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
User Name
Well Position | Sample Name | Target Name | CT | Sample
A1 |  | B2M | Undetermined | BLANK
A2 |  | B2M | Undetermined | BLANK
A3 |  | B2M | Undetermined | BLANK
A4 |  | B2M | 21.7596 | 1:10
A5 |  | B2M | 21.7675 | 1:10
A6 |  | B2M | 21.6664 | 1:10
A7 |  | B2M | 22.6882 | 1:20
A8 |  | B2M | 22.7462 | 1:20
A9 |  | B2M | 22.3715 | 1:20
A10 |  | B2M | 23.7477 | 1:40
A11 |  | B2M | 23.5806 | 1:40
A12 |  | B2M | 23.6726 | 1:40
A13 |  | B2M | 24.4812 | 1:80
A14 |  | B2M | 24.7403 | 1:80
A15 |  | B2M | 24.7413 | 1:80
A16 |  | B2M | 25.6725 | 1:160
A17 |  | B2M | 25.7347 | 1:160
A18 |  | B2M | 25.7459 | 1:160
A19 |  | B2M | 26.7819 | 1:320
A20 |  | B2M | 26.8146 | 1:320
A21 |  | B2M | 26.8438 | 1:320
A22 |  | B2M | 24.5305 | LC1
A23 |  | B2M | 24.7852 | LC1
A24 |  | B2M | 24.5724 | LC1
B1 |  | B2M | 24.316 | LO1
B2 |  | B2M | 24.4985 | LO1
B3 |  | B2M | 24.3939 | LO1
B4 |  | B2M | 24.7043 | LP1
B5 |  | B2M | 24.5372 | LP1
B6 |  | B2M | 24.4416 | LP1
B7 |  | B2M | 26.4771 | HC1
B8 |  | B2M | 26.4658 | HC1
B9 |  | B2M | 26.3429 | HC1
B10 |  | B2M | 24.4008 | HO1
B11 |  | B2M | 24.3169 | HO1
B12 |  | B2M | 24.2594 | HO1
B13 |  | B2M | 27.6755 | HP1
B14 |  | B2M | 27.7473 | HP1
B15 |  | B2M | 27.5116 | HP1
B16 |  | B2M | 24.3986 | LC2
B17 |  | B2M | 24.2064 | LC2
B18 |  | B2M | 24.221 | LC2
B19 |  | B2M | 30.3166 | LO2
B20 |  | B2M | 30.2852 | LO2
B21 |  | B2M | 30.129 | LO2
B22 |  | B2M | 30.0929 | LP2
B23 |  | B2M | 29.5738 | LP2
B24 |  | B2M | 29.8527 | LP2
C1 |  | B2M | 31.2013 | HC2
C2 |  | B2M | 30.972 | HC2
C3 |  | B2M | 31.1649 | HC2
C4 |  | B2M | 25.916 | HO2
C5 |  | B2M | 25.4102 | HO2
C6 |  | B2M | 25.3833 | HO2
C7 |  | B2M | 24.6933 | HP2
C8 |  | B2M | 24.8473 | HP2
C9 |  | B2M | 24.5492 | HP2
C10 |  | B2M | 25.4844 | LC3
C11 |  | B2M | 25.0831 | LC3
C12 |  | B2M | 25.0255 | LC3
C13 |  | B2M | 25.1464 | LO3
C14 |  | B2M | 25.1492 | LO3
C15 |  | B2M | 25.223 | LO3
C16 |  | B2M | 25.6765 | LP3
C17 |  | B2M | 25.2964 | LP3
C18 |  | B2M | 25.5629 | LP3
C19 |  | B2M | 27.2417 | HC3
C20 |  | B2M | 26.9478 | HC3
C21 |  | B2M | 26.966 | HC3
C22 |  | B2M | 26.4506 | HO3
C23 |  | B2M | 26.5616 | HO3
C24 |  | B2M | 26.2865 | HO3
D1 |  | B2M | 25.5769 | HP3
D2 |  | B2M | 25.2481 | HP3
D3 |  | B2M | 25.4317 | HP3
D4 |  | B2M | 24.081 | LC4
D5 |  | B2M | 23.9524 | LC4
D6 |  | B2M | 23.9707 | LC4
D7 |  | B2M | 24.6841 | LO4
D8 |  | B2M | 24.512 | LO4
D9 |  | B2M | 24.4461 | LO4
D10 |  | B2M | 25.2958 | LP4
D11 |  | B2M | 24.9631 | LP4
D12 |  | B2M | 24.9351 | LP4
D13 |  | B2M | 25.4732 | HC4
D14 |  | B2M | 24.8506 | HC4
D15 |  | B2M | 24.9458 | HC4
D16 |  | B2M | 27.3589 | HO4
D17 |  | B2M | 27.8112 | HO4
D18 |  | B2M | 27.2997 | HO4
D19 |  | B2M | 24.722 | HP4
D20 |  | B2M | 24.2592 | HP4
D21 |  | B2M | 24.1921 | HP4
E1 |  | B2M | 23.3372 | LC5
E2 |  | B2M | 22.9523 | LC5
E3 |  | B2M | 22.9124 | LC5
E4 |  | B2M | 22.7094 | LO5
E5 |  | B2M | 22.7597 | LO5
E6 |  | B2M | 22.6737 | LO5
E7 |  | B2M | 23.2474 | LP5
E8 |  | B2M | 23.0803 | LP5
E9 |  | B2M | 23.0202 | LP5
E10 |  | B2M | 22.6931 | HC5
E11 |  | B2M | 22.3629 | HC5
E12 |  | B2M | 22.4733 | HC5
E13 |  | B2M | 22.8005 | HO5
E14 |  | B2M | 22.1266 | HO5
E15 |  | B2M | 22.441 | HO5
E16 |  | B2M | 22.82 | HP5
E17 |  | B2M | 22.5314 | HP5
E18 |  | B2M | 22.4202 | HP5
E19 |  | B2M | 22.8923 | LC6
E20 |  | B2M | 22.4554 | LC6
E21 |  | B2M | 22.7099 | LC6
E22 |  | B2M | 23.0979 | LO6
E23 |  | B2M | 22.7461 | LO6
E24 |  | B2M | 22.6725 | LO6
F1 |  | B2M | 23.0067 | LP6
F2 |  | B2M | 22.8129 | LP6
F3 |  | B2M | 22.7493 | LP6
F4 |  | B2M | 23.2372 | HC6
F5 |  | B2M | 22.7978 | HC6
F6 |  | B2M | 22.7382 | HC6
F7 |  | B2M | 22.9032 | HO6
F8 |  | B2M | 22.5077 | HO6
F9 |  | B2M | 22.523 | HO6
F10 |  | B2M | 22.6586 | HP6
F11 |  | B2M | 22.4511 | HP6
F12 |  | B2M | 22.69 | HP6
F13 |  | B2M | 23.4348 | LPS1
F14 |  | B2M | 23.0516 | LPS1
F15 |  | B2M | 23.0237 | LPS1
F16 |  | B2M | 24.9376 | LPS2
F17 |  | B2M | 24.9333 | LPS2
F18 |  | B2M | 25.062 | LPS2
F19 |  | B2M | 23.5567 | LPS3
F20 |  | B2M | 23.6484 | LPS3
F21 |  | B2M | 23.369 | LPS3
F22 |  | B2M | 23.4078 | LPS4
F23 |  | B2M | 23.1665 | LPS4
F24 |  | B2M | 23.0062 | LPS4
G1 |  | B2M | 23.256 | LPS5
G2 |  | B2M | 23.3834 | LPS5
G3 |  | B2M | 23.3326 | LPS5
G4 |  | B2M | 24.0787 | LPS6
G5 |  | B2M | 23.8232 | LPS6
G6 |  | B2M | 23.6694 | LPS6
G7 |  | B2M | Undetermined | EMPTY
G8 |  | B2M | Undetermined | EMPTY
G9 |  | B2M | Undetermined | EMPTY
G10 |  | B2M | Undetermined | EMPTY
G11 |  | B2M | Undetermined | EMPTY
G12 |  | B2M | Undetermined | EMPTY
G13 |  | B2M | Undetermined | EMPTY
G14 |  | B2M | Undetermined | EMPTY
G15 |  | B2M | Undetermined | EMPTY
G16 |  | B2M | Undetermined | EMPTY
G17 |  | B2M | 38.9767 | EMPTY
G18 |  | B2M | Undetermined | EMPTY
G19 |  | B2M | Undetermined | EMPTY
G20 |  | B2M | Undetermined | EMPTY
G21 |  | B2M | Undetermined | EMPTY
G22 |  | B2M | Undetermined | EMPTY
G23 |  | B2M | Undetermined | EMPTY
G24 |  | B2M | Undetermined | EMPTY
H1 |  | B2M | Undetermined | EMPTY
H2 |  | B2M | Undetermined | EMPTY
H3 |  | B2M | Undetermined | EMPTY
H4 |  | YWHAZ | Undetermined | BLANK
H5 |  | YWHAZ | Undetermined | BLANK
H6 |  | YWHAZ | Undetermined | BLANK
H7 |  | YWHAZ | 22.612 | 1:10
H8 |  | YWHAZ | 22.6101 | 1:10
H9 |  | YWHAZ | 22.5986 | 1:10
H10 |  | YWHAZ | 23.6673 | 1:20
H11 |  | YWHAZ | 23.6736 | 1:20
H12 |  | YWHAZ | 23.4986 | 1:20
H13 |  | YWHAZ | 24.4737 | 1:40
H14 |  | YWHAZ | 24.4225 | 1:40
H15 |  | YWHAZ | 24.481 | 1:40
H16 |  | YWHAZ | 25.5865 | 1:80
H17 |  | YWHAZ | 25.5047 | 1:80
H18 |  | YWHAZ | 25.5866 | 1:80
H19 |  | YWHAZ | 26.5429 | 1:160
H20 |  | YWHAZ | 26.5284 | 1:160
H21 |  | YWHAZ | 26.473 | 1:160
I1 |  | YWHAZ | 27.4598 | 1:320
I2 |  | YWHAZ | 27.647 | 1:320
I3 |  | YWHAZ | 27.5754 | 1:320
I4 |  | YWHAZ | 25.944 | LC1
I5 |  | YWHAZ | 25.4674 | LC1
I6 |  | YWHAZ | 25.5805 | LC1
I7 |  | YWHAZ | 25.2546 | LO1
I8 |  | YWHAZ | 25.1794 | LO1
I9 |  | YWHAZ | 25.1649 | LO1
I10 |  | YWHAZ | 25.5099 | LP1
I11 |  | YWHAZ | 25.3326 | LP1
I12 |  | YWHAZ | 25.2609 | LP1
I13 |  | YWHAZ | 27.8701 | HC1
I14 |  | YWHAZ | 27.7376 | HC1
I15 |  | YWHAZ | 27.8307 | HC1
I16 |  | YWHAZ | 25.1634 | HO1
I17 |  | YWHAZ | 24.9442 | HO1
I18 |  | YWHAZ | 24.9095 | HO1
I19 |  | YWHAZ | 28.3613 | HP1
I20 |  | YWHAZ | 28.3749 | HP1
I21 |  | YWHAZ | 28.4955 | HP1
I22 |  | YWHAZ | 25.5464 | LC2
I23 |  | YWHAZ | 25.2612 | LC2
I24 |  | YWHAZ | 25.1329 | LC2
J1 |  | YWHAZ | 31.3399 | LO2
J2 |  | YWHAZ | 31.0616 | LO2
J3 |  | YWHAZ | 30.9375 | LO2
J4 |  | YWHAZ | 29.9932 | LP2
J5 |  | YWHAZ | 29.6875 | LP2
J6 |  | YWHAZ | 29.9843 | LP2
J7 |  | YWHAZ | 31.9968 | HC2
J8 |  | YWHAZ | 31.7374 | HC2
J9 |  | YWHAZ | 31.8206 | HC2
J10 |  | YWHAZ | 26.3359 | HO2
J11 |  | YWHAZ | 26.307 | HO2
J12 |  | YWHAZ | 26.2614 | HO2
J13 |  | YWHAZ | 25.5153 | HP2
J14 |  | YWHAZ | 24.9736 | HP2
J15 |  | YWHAZ | 25.3739 | HP2
J16 |  | YWHAZ | 26.6347 | LC3
J17 |  | YWHAZ | 26.3555 | LC3
J18 |  | YWHAZ | 26.4671 | LC3
J19 |  | YWHAZ | 26.0714 | LO3
J20 |  | YWHAZ | 26.0737 | LO3
J21 |  | YWHAZ | 26.0584 | LO3
J22 |  | YWHAZ | 26.7583 | LP3
J23 |  | YWHAZ | 26.55 | LP3
J24 |  | YWHAZ | 26.5212 | LP3
K1 |  | YWHAZ | 28.2744 | HC3
K2 |  | YWHAZ | 28.1755 | HC3
K3 |  | YWHAZ | 28.0058 | HC3
K4 |  | YWHAZ | 27.5149 | HO3
K5 |  | YWHAZ | 26.9172 | HO3
K6 |  | YWHAZ | 27.1774 | HO3
K7 |  | YWHAZ | 26.4308 | HP3
K8 |  | YWHAZ | 26.0986 | HP3
K9 |  | YWHAZ | 26.1109 | HP3
K10 |  | YWHAZ | 25.3316 | LC4
K11 |  | YWHAZ | 24.8199 | LC4
K12 |  | YWHAZ | 25.157 | LC4
K13 |  | YWHAZ | 25.8759 | LO4
K14 |  | YWHAZ | 25.3021 | LO4
K15 |  | YWHAZ | 25.4605 | LO4
K16 |  | YWHAZ | 26.1476 | LP4
K17 |  | YWHAZ | 25.3919 | LP4
K18 |  | YWHAZ | 25.5679 | LP4
K19 |  | YWHAZ | 26.4901 | HC4
K20 |  | YWHAZ | 26.3558 | HC4
K21 |  | YWHAZ | 26.1839 | HC4
K22 |  | YWHAZ | 28.8059 | HO4
K23 |  | YWHAZ | 28.2501 | HO4
K24 |  | YWHAZ | 28.4361 | HO4
L1 |  | YWHAZ | 25.534 | HP4
L2 |  | YWHAZ | 25.2483 | HP4
L3 |  | YWHAZ | 25.353 | HP4
L4 |  | YWHAZ | 24.2503 | LC5
L5 |  | YWHAZ | 24.1119 | LC5
L6 |  | YWHAZ | 24.1221 | LC5
L7 |  | YWHAZ | 24.0995 | LO5
L8 |  | YWHAZ | 23.845 | LO5
L9 |  | YWHAZ | 23.7513 | LO5
L10 |  | YWHAZ | 24.0001 | LP5
L11 |  | YWHAZ | 24.0311 | LP5
L12 |  | YWHAZ | 23.9912 | LP5
L13 |  | YWHAZ | 24.166 | HC5
L14 |  | YWHAZ | 24.0692 | HC5
L15 |  | YWHAZ | 23.9799 | HC5
L16 |  | YWHAZ | 23.8957 | HO5
L17 |  | YWHAZ | 23.5604 | HO5
L18 |  | YWHAZ | 23.5168 | HO5
L19 |  | YWHAZ | 24.02 | HP5
L20 |  | YWHAZ | 23.7469 | HP5
L21 |  | YWHAZ | 23.7477 | HP5
M1 |  | YWHAZ | 24.0685 | LC6
M2 |  | YWHAZ | 23.6348 | LC6
M3 |  | YWHAZ | 23.744 | LC6
M4 |  | YWHAZ | 23.9239 | LO6
M5 |  | YWHAZ | 23.5461 | LO6
M6 |  | YWHAZ | 23.7671 | LO6
M7 |  | YWHAZ | 23.9758 | LP6
M8 |  | YWHAZ | 23.6937 | LP6
M9 |  | YWHAZ | 23.6481 | LP6
M10 |  | YWHAZ | 24.2359 | HC6
M11 |  | YWHAZ | 24.0813 | HC6
M12 |  | YWHAZ | 24.0733 | HC6
M13 |  | YWHAZ | 24.0551 | HO6
M14 |  | YWHAZ | 23.6965 | HO6
M15 |  | YWHAZ | 23.5984 | HO6
M16 |  | YWHAZ | 23.9844 | HP6
M17 |  | YWHAZ | 23.7803 | HP6
M18 |  | YWHAZ | 23.7936 | HP6
M19 |  | YWHAZ | 23.7013 | LPS1
M20 |  | YWHAZ | 23.4528 | LPS1
M21 |  | YWHAZ | 23.2326 | LPS1
M22 |  | YWHAZ | 25.4022 | LPS2
M23 |  | YWHAZ | 25.2919 | LPS2
M24 |  | YWHAZ | 25.3909 | LPS2
N1 |  | YWHAZ | 23.5047 | LPS3
N2 |  | YWHAZ | 23.5051 | LPS3
N3 |  | YWHAZ | 23.5549 | LPS3
N4 |  | YWHAZ | 23.4404 | LPS4
N5 |  | YWHAZ | 23.347 | LPS4
N6 |  | YWHAZ | 23.2372 | LPS4
N7 |  | YWHAZ | 23.6904 | LPS5
N8 |  | YWHAZ | 23.5621 | LPS5
N9 |  | YWHAZ | 23.1876 | LPS5
N10 |  | YWHAZ | 24.0939 | LPS6
N11 |  | YWHAZ | 24.0015 | LPS6
N12 |  | YWHAZ | 23.7255 | LPS6
N13 |  | YWHAZ | Undetermined | EMPTY
N14 |  | YWHAZ | Undetermined | EMPTY
N15 |  | YWHAZ | Undetermined | EMPTY
N16 |  | YWHAZ | Undetermined | EMPTY
N17 |  | YWHAZ | Undetermined | EMPTY
N18 |  | YWHAZ | Undetermined | EMPTY
N19 |  | YWHAZ | Undetermined | EMPTY
N20 |  | YWHAZ | Undetermined | EMPTY
N21 |  | YWHAZ | Undetermined | EMPTY
N22 |  | YWHAZ | Undetermined | EMPTY
N23 |  | YWHAZ | Undetermined | EMPTY
N24 |  | YWHAZ | Undetermined | EMPTY
O1 |  | YWHAZ | Undetermined | EMPTY
O2 |  | YWHAZ | Undetermined | EMPTY
O3 |  | YWHAZ | Undetermined | EMPTY
O4 |  | YWHAZ | Undetermined | EMPTY
O5 |  | YWHAZ | Undetermined | EMPTY
O6 |  | YWHAZ | Undetermined | EMPTY
O7 |  | YWHAZ | Undetermined | EMPTY
O8 |  | YWHAZ | Undetermined | EMPTY
O9 |  | YWHAZ | Undetermined | EMPTY
How to use improved spreadsheet
1. Copy results into the 'Results sheet' , in the same format as shown here
2. Check that everything has copies over to the 'Results Workspace' (pull down the formula to add more rows). The sample names and genes should change automatically, and the helper column should format itself as "Sample Name""|""Gene Name" (e.g "BLANK|PGCK1")
3. On the individual gene spreadsheet, add the correct sample names to the 'Sample' column. Then, for the 'Helper' column, change the gene name in the first cell in the row and drag the formula down to the other rows.
4. This will fill in all the CT values for you
5. Edit the results workspace to get rid of red highlighted 'CV Ct' values. Do this by going through and removing outliers.
6. Change the names in the 'Housekeeper deltaCT' sheet (if you need to), and copy the formula down. Repeat for the 'Summary' page, which is for your target genes
7. If you have questions, then ask Emily. Apologies for the messy example data. The robot didn't pipette very well.

## Results Workspace
Well | Ct from reader | Corrected Cts | Sample Name | Average Ct | STDEV | Target Name | Helper
A1 | Undetermined | 40.1 | BLANK | 40.1 | 0 | B2M | BLANK¦B2M
A2 | Undetermined | 40.1 |  |  |  | B2M
A3 | Undetermined | 40.1 |  |  |  | B2M
A4 | 21.7596 | 21.7596 | 1:10 | 21.7312 | 0.045896 | B2M | 1:10¦B2M
A5 | 21.7675 | 21.7675 |  |  |  | B2M
A6 | 21.6664 | 21.6664 |  |  |  | B2M
A7 | 22.6882 | 22.6882 | 1:20 | 22.602 | 0.16465 | B2M | 1:20¦B2M
A8 | 22.7462 | 22.7462 |  |  |  | B2M
A9 | 22.3715 | 22.3715 |  |  |  | B2M
A10 | 23.7477 | 23.7477 | 1:40 | 23.667 | 0.068349 | B2M | 1:40¦B2M
A11 | 23.5806 | 23.5806 |  |  |  | B2M
A12 | 23.6726 | 23.6726 |  |  |  | B2M
A13 | 24.4812 | 24.4812 | 1:80 | 24.6543 | 0.12236 | B2M | 1:80¦B2M
A14 | 24.7403 | 24.7403 |  |  |  | B2M
A15 | 24.7413 | 24.7413 |  |  |  | B2M
A16 | 25.6725 | 25.6725 | 1:160 | 25.7177 | 0.032259 | B2M | 1:160¦B2M
A17 | 25.7347 | 25.7347 |  |  |  | B2M
A18 | 25.7459 | 25.7459 |  |  |  | B2M
A19 | 26.7819 | 26.7819 | 1:320 | 26.8134 | 0.025289 | B2M | 1:320¦B2M
A20 | 26.8146 | 26.8146 |  |  |  | B2M
A21 | 26.8438 | 26.8438 |  |  |  | B2M
A22 | 24.5305 | 24.5305 | LC1 | 24.6294 | 0.1115 | B2M | LC1¦B2M
A23 | 24.7852 | 24.7852 |  |  |  | B2M
A24 | 24.5724 | 24.5724 |  |  |  | B2M
B1 | 24.316 | 24.316 | LO1 | 24.4028 | 0.074771 | B2M | LO1¦B2M
B2 | 24.4985 | 24.4985 |  |  |  | B2M
B3 | 24.3939 | 24.3939 |  |  |  | B2M
B4 | 24.7043 | 24.7043 | LP1 | 24.561 | 0.10854 | B2M | LP1¦B2M
B5 | 24.5372 | 24.5372 |  |  |  | B2M
B6 | 24.4416 | 24.4416 |  |  |  | B2M
B7 | 26.4771 | 26.4771 | HC1 | 26.4286 | 0.060772 | B2M | HC1¦B2M
B8 | 26.4658 | 26.4658 |  |  |  | B2M
B9 | 26.3429 | 26.3429 |  |  |  | B2M
B10 | 24.4008 | 24.4008 | HO1 | 24.3257 | 0.058057 | B2M | HO1¦B2M
B11 | 24.3169 | 24.3169 |  |  |  | B2M
B12 | 24.2594 | 24.2594 |  |  |  | B2M
B13 | 27.6755 | 27.6755 | HP1 | 27.6448 | 0.098628 | B2M | HP1¦B2M
B14 | 27.7473 | 27.7473 |  |  |  | B2M
B15 | 27.5116 | 27.5116 |  |  |  | B2M
B16 | 24.3986 | 24.3986 | LC2 | 24.2754 | 0.08736 | B2M | LC2¦B2M
B17 | 24.2064 | 24.2064 |  |  |  | B2M
B18 | 24.221 | 24.221 |  |  |  | B2M
B19 | 30.3166 | 30.3166 | LO2 | 30.2436 | 0.082054 | B2M | LO2¦B2M
B20 | 30.2852 | 30.2852 |  |  |  | B2M
B21 | 30.129 | 30.129 |  |  |  | B2M
B22 | 30.0929 | 30.0929 | LP2 | 29.8398 | 0.21211 | B2M | LP2¦B2M
B23 | 29.5738 | 29.5738 |  |  |  | B2M
B24 | 29.8527 | 29.8527 |  |  |  | B2M
C1 | 31.2013 | 31.2013 | HC2 | 31.1127 | 0.10061 | B2M | HC2¦B2M
C2 | 30.972 | 30.972 |  |  |  | B2M
C3 | 31.1649 | 31.1649 |  |  |  | B2M
C4 | 25.916 | 25.916 | HO2 | 25.5698 | 0.24501 | B2M | HO2¦B2M
C5 | 25.4102 | 25.4102 |  |  |  | B2M
C6 | 25.3833 | 25.3833 |  |  |  | B2M
C7 | 24.6933 | 24.6933 | HP2 | 24.6966 | 0.12172 | B2M | HP2¦B2M
C8 | 24.8473 | 24.8473 |  |  |  | B2M
C9 | 24.5492 | 24.5492 |  |  |  | B2M
C10 | 25.4844 | 25.4844 | LC3 | 25.1977 | 0.20411 | B2M | LC3¦B2M
C11 | 25.0831 | 25.0831 |  |  |  | B2M
C12 | 25.0255 | 25.0255 |  |  |  | B2M
C13 | 25.1464 | 25.1464 | LO3 | 25.1729 | 0.035464 | B2M | LO3¦B2M
C14 | 25.1492 | 25.1492 |  |  |  | B2M
C15 | 25.223 | 25.223 |  |  |  | B2M
C16 | 25.6765 | 25.6765 | LP3 | 25.5119 | 0.15931 | B2M | LP3¦B2M
C17 | 25.2964 | 25.2964 |  |  |  | B2M
C18 | 25.5629 | 25.5629 |  |  |  | B2M
C19 | 27.2417 | 27.2417 | HC3 | 27.0518 | 0.13446 | B2M | HC3¦B2M
C20 | 26.9478 | 26.9478 |  |  |  | B2M
C21 | 26.966 | 26.966 |  |  |  | B2M
C22 | 26.4506 | 26.4506 | HO3 | 26.4329 | 0.11299 | B2M | HO3¦B2M
C23 | 26.5616 | 26.5616 |  |  |  | B2M
C24 | 26.2865 | 26.2865 |  |  |  | B2M
D1 | 25.5769 | 25.5769 | HP3 | 25.4189 | 0.13454 | B2M | HP3¦B2M
D2 | 25.2481 | 25.2481 |  |  |  | B2M
D3 | 25.4317 | 25.4317 |  |  |  | B2M
D4 | 24.081 | 24.081 | LC4 | 24.0014 | 0.056785 | B2M | LC4¦B2M
D5 | 23.9524 | 23.9524 |  |  |  | B2M
D6 | 23.9707 | 23.9707 |  |  |  | B2M
D7 | 24.6841 | 24.6841 | LO4 | 24.5474 | 0.10033 | B2M | LO4¦B2M
D8 | 24.512 | 24.512 |  |  |  | B2M
D9 | 24.4461 | 24.4461 |  |  |  | B2M
D10 | 25.2958 | 25.2958 | LP4 | 25.0647 | 0.16384 | B2M | LP4¦B2M
D11 | 24.9631 | 24.9631 |  |  |  | B2M
D12 | 24.9351 | 24.9351 |  |  |  | B2M
D13 | 25.4732 |  | HC4 | 24.8982 | 0.047554 | B2M | HC4¦B2M
D14 | 24.8506 | 24.8506 |  |  |  | B2M
D15 | 24.9458 | 24.9458 |  |  |  | B2M
D16 | 27.3589 | 27.3589 | HO4 | 27.4899 | 0.22847 | B2M | HO4¦B2M
D17 | 27.8112 | 27.8112 |  |  |  | B2M
D18 | 27.2997 | 27.2997 |  |  |  | B2M
D19 | 24.722 | 24.722 | HP4 | 24.3911 | 0.23562 | B2M | HP4¦B2M
D20 | 24.2592 | 24.2592 |  |  |  | B2M
D21 | 24.1921 | 24.1921 |  |  |  | B2M
E1 | 23.3372 | 23.3372 | LC5 | 23.0673 | 0.19156 | B2M | LC5¦B2M
E2 | 22.9523 | 22.9523 |  |  |  | B2M
E3 | 22.9124 | 22.9124 |  |  |  | B2M
E4 | 22.7094 | 22.7094 | LO5 | 22.7143 | 0.035303 | B2M | LO5¦B2M
E5 | 22.7597 | 22.7597 |  |  |  | B2M
E6 | 22.6737 | 22.6737 |  |  |  | B2M
E7 | 23.2474 | 23.2474 | LP5 | 23.116 | 0.096105 | B2M | LP5¦B2M
E8 | 23.0803 | 23.0803 |  |  |  | B2M
E9 | 23.0202 | 23.0202 |  |  |  | B2M
E10 | 22.6931 | 22.6931 | HC5 | 22.5098 | 0.13727 | B2M | HC5¦B2M
E11 | 22.3629 | 22.3629 |  |  |  | B2M
E12 | 22.4733 | 22.4733 |  |  |  | B2M
E13 | 22.8005 |  | HO5 | 22.2838 | 0.15722 | B2M | HO5¦B2M
E14 | 22.1266 | 22.1266 |  |  |  | B2M
E15 | 22.441 | 22.441 |  |  |  | B2M
E16 | 22.82 | 22.82 | HP5 | 22.5906 | 0.16849 | B2M | HP5¦B2M
E17 | 22.5314 | 22.5314 |  |  |  | B2M
E18 | 22.4202 | 22.4202 |  |  |  | B2M
E19 | 22.8923 | 22.8923 | LC6 | 22.6859 | 0.17917 | B2M | LC6¦B2M
E20 | 22.4554 | 22.4554 |  |  |  | B2M
E21 | 22.7099 | 22.7099 |  |  |  | B2M
E22 | 23.0979 | 23.0979 | LO6 | 22.8388 | 0.18567 | B2M | LO6¦B2M
E23 | 22.7461 | 22.7461 |  |  |  | B2M
E24 | 22.6725 | 22.6725 |  |  |  | B2M
F1 | 23.0067 | 23.0067 | LP6 | 22.8563 | 0.10949 | B2M | LP6¦B2M
F2 | 22.8129 | 22.8129 |  |  |  | B2M
F3 | 22.7493 | 22.7493 |  |  |  | B2M
F4 | 23.2372 | 23.2372 | HC6 | 22.9244 | 0.22252 | B2M | HC6¦B2M
F5 | 22.7978 | 22.7978 |  |  |  | B2M
F6 | 22.7382 | 22.7382 |  |  |  | B2M
F7 | 22.9032 | 22.9032 | HO6 | 22.6446 | 0.18296 | B2M | HO6¦B2M
F8 | 22.5077 | 22.5077 |  |  |  | B2M
F9 | 22.523 | 22.523 |  |  |  | B2M
F10 | 22.6586 | 22.6586 | HP6 | 22.5999 | 0.10598 | B2M | HP6¦B2M
F11 | 22.4511 | 22.4511 |  |  |  | B2M
F12 | 22.69 | 22.69 |  |  |  | B2M
F13 | 23.4348 | 23.4348 | LPS1 | 23.17 | 0.18758 | B2M | LPS1¦B2M
F14 | 23.0516 | 23.0516 |  |  |  | B2M
F15 | 23.0237 | 23.0237 |  |  |  | B2M
F16 | 24.9376 | 24.9376 | LPS2 | 24.9776 | 0.059686 | B2M | LPS2¦B2M
F17 | 24.9333 | 24.9333 |  |  |  | B2M
F18 | 25.062 | 25.062 |  |  |  | B2M
F19 | 23.5567 | 23.5567 | LPS3 | 23.5247 | 0.11627 | B2M | LPS3¦B2M
F20 | 23.6484 | 23.6484 |  |  |  | B2M
F21 | 23.369 | 23.369 |  |  |  | B2M
F22 | 23.4078 | 23.4078 | LPS4 | 23.1935 | 0.16506 | B2M | LPS4¦B2M
F23 | 23.1665 | 23.1665 |  |  |  | B2M
F24 | 23.0062 | 23.0062 |  |  |  | B2M
G1 | 23.256 | 23.256 | LPS5 | 23.324 | 0.052364 | B2M | LPS5¦B2M
G2 | 23.3834 | 23.3834 |  |  |  | B2M
G3 | 23.3326 | 23.3326 |  |  |  | B2M
G4 | 24.0787 | 24.0787 | LPS6 | 23.8571 | 0.16881 | B2M | LPS6¦B2M
G5 | 23.8232 | 23.8232 |  |  |  | B2M
G6 | 23.6694 | 23.6694 |  |  |  | B2M
G7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | B2M | EMPTY¦B2M
G8 | Undetermined | 40.1 |  |  |  | B2M
G9 | Undetermined | 40.1 |  |  |  | B2M
G10 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | B2M | EMPTY¦B2M
G11 | Undetermined | 40.1 |  |  |  | B2M
G12 | Undetermined | 40.1 |  |  |  | B2M
G13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | B2M | EMPTY¦B2M
G14 | Undetermined | 40.1 |  |  |  | B2M
G15 | Undetermined | 40.1 |  |  |  | B2M
G16 | Undetermined | 40.1 | EMPTY | 39.7256 | 0.52951 | B2M | EMPTY¦B2M
G17 | 38.9767 | 38.9767 |  |  |  | B2M
G18 | Undetermined | 40.1 |  |  |  | B2M
G19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | B2M | EMPTY¦B2M
G20 | Undetermined | 40.1 |  |  |  | B2M
G21 | Undetermined | 40.1 |  |  |  | B2M
G22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | B2M | EMPTY¦B2M
G23 | Undetermined | 40.1 |  |  |  | B2M
G24 | Undetermined | 40.1 |  |  |  | B2M
H1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | B2M | EMPTY¦B2M
H2 | Undetermined | 40.1 |  |  |  | B2M
H3 | Undetermined | 40.1 |  |  |  | B2M
H4 | Undetermined | 40.1 | BLANK | 40.1 | 0 | YWHAZ | BLANK¦YWHAZ
H5 | Undetermined | 40.1 |  |  |  | YWHAZ
H6 | Undetermined | 40.1 |  |  |  | YWHAZ
H7 | 22.612 | 22.612 | 1:10 | 22.6069 | 0.0059121 | YWHAZ | 1:10¦YWHAZ
H8 | 22.6101 | 22.6101 |  |  |  | YWHAZ
H9 | 22.5986 | 22.5986 |  |  |  | YWHAZ
H10 | 23.6673 | 23.6673 | 1:20 | 23.6132 | 0.081057 | YWHAZ | 1:20¦YWHAZ
H11 | 23.6736 | 23.6736 |  |  |  | YWHAZ
H12 | 23.4986 | 23.4986 |  |  |  | YWHAZ
H13 | 24.4737 | 24.4737 | 1:40 | 24.4591 | 0.026017 | YWHAZ | 1:40¦YWHAZ
H14 | 24.4225 | 24.4225 |  |  |  | YWHAZ
H15 | 24.481 | 24.481 |  |  |  | YWHAZ
H16 | 25.5865 | 25.5865 | 1:80 | 25.5593 | 0.038607 | YWHAZ | 1:80¦YWHAZ
H17 | 25.5047 | 25.5047 |  |  |  | YWHAZ
H18 | 25.5866 | 25.5866 |  |  |  | YWHAZ
H19 | 26.5429 | 26.5429 | 1:160 | 26.5148 | 0.030108 | YWHAZ | 1:160¦YWHAZ
H20 | 26.5284 | 26.5284 |  |  |  | YWHAZ
H21 | 26.473 | 26.473 |  |  |  | YWHAZ
I1 | 27.4598 | 27.4598 | 1:320 | 27.5607 | 0.077136 | YWHAZ | 1:320¦YWHAZ
I2 | 27.647 | 27.647 |  |  |  | YWHAZ
I3 | 27.5754 | 27.5754 |  |  |  | YWHAZ
I4 | 25.944 | 25.944 | LC1 | 25.664 | 0.20332 | YWHAZ | LC1¦YWHAZ
I5 | 25.4674 | 25.4674 |  |  |  | YWHAZ
I6 | 25.5805 | 25.5805 |  |  |  | YWHAZ
I7 | 25.2546 | 25.2546 | LO1 | 25.1996 | 0.039313 | YWHAZ | LO1¦YWHAZ
I8 | 25.1794 | 25.1794 |  |  |  | YWHAZ
I9 | 25.1649 | 25.1649 |  |  |  | YWHAZ
I10 | 25.5099 | 25.5099 | LP1 | 25.3678 | 0.10466 | YWHAZ | LP1¦YWHAZ
I11 | 25.3326 | 25.3326 |  |  |  | YWHAZ
I12 | 25.2609 | 25.2609 |  |  |  | YWHAZ
I13 | 27.8701 | 27.8701 | HC1 | 27.8128 | 0.055566 | YWHAZ | HC1¦YWHAZ
I14 | 27.7376 | 27.7376 |  |  |  | YWHAZ
I15 | 27.8307 | 27.8307 |  |  |  | YWHAZ
I16 | 25.1634 | 25.1634 | HO1 | 25.0057 | 0.11242 | YWHAZ | HO1¦YWHAZ
I17 | 24.9442 | 24.9442 |  |  |  | YWHAZ
I18 | 24.9095 | 24.9095 |  |  |  | YWHAZ
I19 | 28.3613 | 28.3613 | HP1 | 28.4105 | 0.060323 | YWHAZ | HP1¦YWHAZ
I20 | 28.3749 | 28.3749 |  |  |  | YWHAZ
I21 | 28.4955 | 28.4955 |  |  |  | YWHAZ
I22 | 25.5464 | 25.5464 | LC2 | 25.3135 | 0.17285 | YWHAZ | LC2¦YWHAZ
I23 | 25.2612 | 25.2612 |  |  |  | YWHAZ
I24 | 25.1329 | 25.1329 |  |  |  | YWHAZ
J1 | 31.3399 | 31.3399 | LO2 | 31.113 | 0.16822 | YWHAZ | LO2¦YWHAZ
J2 | 31.0616 | 31.0616 |  |  |  | YWHAZ
J3 | 30.9375 | 30.9375 |  |  |  | YWHAZ
J4 | 29.9932 | 29.9932 | LP2 | 29.8884 | 0.14207 | YWHAZ | LP2¦YWHAZ
J5 | 29.6875 | 29.6875 |  |  |  | YWHAZ
J6 | 29.9843 | 29.9843 |  |  |  | YWHAZ
J7 | 31.9968 | 31.9968 | HC2 | 31.8516 | 0.10817 | YWHAZ | HC2¦YWHAZ
J8 | 31.7374 | 31.7374 |  |  |  | YWHAZ
J9 | 31.8206 | 31.8206 |  |  |  | YWHAZ
J10 | 26.3359 | 26.3359 | HO2 | 26.3015 | 0.030685 | YWHAZ | HO2¦YWHAZ
J11 | 26.307 | 26.307 |  |  |  | YWHAZ
J12 | 26.2614 | 26.2614 |  |  |  | YWHAZ
J13 | 25.5153 | 25.5153 | HP2 | 25.2876 | 0.22939 | YWHAZ | HP2¦YWHAZ
J14 | 24.9736 | 24.9736 |  |  |  | YWHAZ
J15 | 25.3739 | 25.3739 |  |  |  | YWHAZ
J16 | 26.6347 | 26.6347 | LC3 | 26.4858 | 0.11474 | YWHAZ | LC3¦YWHAZ
J17 | 26.3555 | 26.3555 |  |  |  | YWHAZ
J18 | 26.4671 | 26.4671 |  |  |  | YWHAZ
J19 | 26.0714 | 26.0714 | LO3 | 26.0678 | 0.0067442 | YWHAZ | LO3¦YWHAZ
J20 | 26.0737 | 26.0737 |  |  |  | YWHAZ
J21 | 26.0584 | 26.0584 |  |  |  | YWHAZ
J22 | 26.7583 | 26.7583 | LP3 | 26.6098 | 0.10563 | YWHAZ | LP3¦YWHAZ
J23 | 26.55 | 26.55 |  |  |  | YWHAZ
J24 | 26.5212 | 26.5212 |  |  |  | YWHAZ
K1 | 28.2744 | 28.2744 | HC3 | 28.1519 | 0.1109 | YWHAZ | HC3¦YWHAZ
K2 | 28.1755 | 28.1755 |  |  |  | YWHAZ
K3 | 28.0058 | 28.0058 |  |  |  | YWHAZ
K4 | 27.5149 | 27.5149 | HO3 | 27.2032 | 0.24471 | YWHAZ | HO3¦YWHAZ
K5 | 26.9172 | 26.9172 |  |  |  | YWHAZ
K6 | 27.1774 | 27.1774 |  |  |  | YWHAZ
K7 | 26.4308 | 26.4308 | HP3 | 26.2134 | 0.15377 | YWHAZ | HP3¦YWHAZ
K8 | 26.0986 | 26.0986 |  |  |  | YWHAZ
K9 | 26.1109 | 26.1109 |  |  |  | YWHAZ
K10 | 25.3316 | 25.3316 | LC4 | 25.1029 | 0.2124 | YWHAZ | LC4¦YWHAZ
K11 | 24.8199 | 24.8199 |  |  |  | YWHAZ
K12 | 25.157 | 25.157 |  |  |  | YWHAZ
K13 | 25.8759 | 25.8759 | LO4 | 25.5461 | 0.24196 | YWHAZ | LO4¦YWHAZ
K14 | 25.3021 | 25.3021 |  |  |  | YWHAZ
K15 | 25.4605 | 25.4605 |  |  |  | YWHAZ
K16 | 26.1476 |  | LP4 | 25.4799 | 0.088029 | YWHAZ | LP4¦YWHAZ
K17 | 25.3919 | 25.3919 |  |  |  | YWHAZ
K18 | 25.5679 | 25.5679 |  |  |  | YWHAZ
K19 | 26.4901 | 26.4901 | HC4 | 26.3433 | 0.12533 | YWHAZ | HC4¦YWHAZ
K20 | 26.3558 | 26.3558 |  |  |  | YWHAZ
K21 | 26.1839 | 26.1839 |  |  |  | YWHAZ
K22 | 28.8059 | 28.8059 | HO4 | 28.4974 | 0.23101 | YWHAZ | HO4¦YWHAZ
K23 | 28.2501 | 28.2501 |  |  |  | YWHAZ
K24 | 28.4361 | 28.4361 |  |  |  | YWHAZ
L1 | 25.534 | 25.534 | HP4 | 25.3785 | 0.118 | YWHAZ | HP4¦YWHAZ
L2 | 25.2483 | 25.2483 |  |  |  | YWHAZ
L3 | 25.353 | 25.353 |  |  |  | YWHAZ
L4 | 24.2503 | 24.2503 | LC5 | 24.1614 | 0.06296 | YWHAZ | LC5¦YWHAZ
L5 | 24.1119 | 24.1119 |  |  |  | YWHAZ
L6 | 24.1221 | 24.1221 |  |  |  | YWHAZ
L7 | 24.0995 | 24.0995 | LO5 | 23.8986 | 0.1471 | YWHAZ | LO5¦YWHAZ
L8 | 23.845 | 23.845 |  |  |  | YWHAZ
L9 | 23.7513 | 23.7513 |  |  |  | YWHAZ
L10 | 24.0001 | 24.0001 | LP5 | 24.0075 | 0.017109 | YWHAZ | LP5¦YWHAZ
L11 | 24.0311 | 24.0311 |  |  |  | YWHAZ
L12 | 23.9912 | 23.9912 |  |  |  | YWHAZ
L13 | 24.166 | 24.166 | HC5 | 24.0717 | 0.076004 | YWHAZ | HC5¦YWHAZ
L14 | 24.0692 | 24.0692 |  |  |  | YWHAZ
L15 | 23.9799 | 23.9799 |  |  |  | YWHAZ
L16 | 23.8957 | 23.8957 | HO5 | 23.6576 | 0.16929 | YWHAZ | HO5¦YWHAZ
L17 | 23.5604 | 23.5604 |  |  |  | YWHAZ
L18 | 23.5168 | 23.5168 |  |  |  | YWHAZ
L19 | 24.02 | 24.02 | HP5 | 23.8382 | 0.12857 | YWHAZ | HP5¦YWHAZ
L20 | 23.7469 | 23.7469 |  |  |  | YWHAZ
L21 | 23.7477 | 23.7477 |  |  |  | YWHAZ
M1 | 24.0685 | 24.0685 | LC6 | 23.8158 | 0.18416 | YWHAZ | LC6¦YWHAZ
M2 | 23.6348 | 23.6348 |  |  |  | YWHAZ
M3 | 23.744 | 23.744 |  |  |  | YWHAZ
M4 | 23.9239 | 23.9239 | LO6 | 23.7457 | 0.15502 | YWHAZ | LO6¦YWHAZ
M5 | 23.5461 | 23.5461 |  |  |  | YWHAZ
M6 | 23.7671 | 23.7671 |  |  |  | YWHAZ
M7 | 23.9758 | 23.9758 | LP6 | 23.7726 | 0.14494 | YWHAZ | LP6¦YWHAZ
M8 | 23.6937 | 23.6937 |  |  |  | YWHAZ
M9 | 23.6481 | 23.6481 |  |  |  | YWHAZ
M10 | 24.2359 | 24.2359 | HC6 | 24.1302 | 0.074851 | YWHAZ | HC6¦YWHAZ
M11 | 24.0813 | 24.0813 |  |  |  | YWHAZ
M12 | 24.0733 | 24.0733 |  |  |  | YWHAZ
M13 | 24.0551 | 24.0551 | HO6 | 23.7833 | 0.19627 | YWHAZ | HO6¦YWHAZ
M14 | 23.6965 | 23.6965 |  |  |  | YWHAZ
M15 | 23.5984 | 23.5984 |  |  |  | YWHAZ
M16 | 23.9844 | 23.9844 | HP6 | 23.8528 | 0.093223 | YWHAZ | HP6¦YWHAZ
M17 | 23.7803 | 23.7803 |  |  |  | YWHAZ
M18 | 23.7936 | 23.7936 |  |  |  | YWHAZ
M19 | 23.7013 | 23.7013 | LPS1 | 23.4623 | 0.19146 | YWHAZ | LPS1¦YWHAZ
M20 | 23.4528 | 23.4528 |  |  |  | YWHAZ
M21 | 23.2326 | 23.2326 |  |  |  | YWHAZ
M22 | 25.4022 | 25.4022 | LPS2 | 25.3617 | 0.049542 | YWHAZ | LPS2¦YWHAZ
M23 | 25.2919 | 25.2919 |  |  |  | YWHAZ
M24 | 25.3909 | 25.3909 |  |  |  | YWHAZ
N1 | 23.5047 | 23.5047 | LPS3 | 23.5216 | 0.023594 | YWHAZ | LPS3¦YWHAZ
N2 | 23.5051 | 23.5051 |  |  |  | YWHAZ
N3 | 23.5549 | 23.5549 |  |  |  | YWHAZ
N4 | 23.4404 | 23.4404 | LPS4 | 23.3415 | 0.083075 | YWHAZ | LPS4¦YWHAZ
N5 | 23.347 | 23.347 |  |  |  | YWHAZ
N6 | 23.2372 | 23.2372 |  |  |  | YWHAZ
N7 | 23.6904 | 23.6904 | LPS5 | 23.4801 | 0.21331 | YWHAZ | LPS5¦YWHAZ
N8 | 23.5621 | 23.5621 |  |  |  | YWHAZ
N9 | 23.1876 | 23.1876 |  |  |  | YWHAZ
N10 | 24.0939 | 24.0939 | LPS6 | 23.9403 | 0.15649 | YWHAZ | LPS6¦YWHAZ
N11 | 24.0015 | 24.0015 |  |  |  | YWHAZ
N12 | 23.7255 | 23.7255 |  |  |  | YWHAZ
N13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | YWHAZ | EMPTY¦YWHAZ
N14 | Undetermined | 40.1 |  |  |  | YWHAZ
N15 | Undetermined | 40.1 |  |  |  | YWHAZ
N16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | YWHAZ | EMPTY¦YWHAZ
N17 | Undetermined | 40.1 |  |  |  | YWHAZ
N18 | Undetermined | 40.1 |  |  |  | YWHAZ
N19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | YWHAZ | EMPTY¦YWHAZ
N20 | Undetermined | 40.1 |  |  |  | YWHAZ
N21 | Undetermined | 40.1 |  |  |  | YWHAZ
N22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | YWHAZ | EMPTY¦YWHAZ
N23 | Undetermined | 40.1 |  |  |  | YWHAZ
N24 | Undetermined | 40.1 |  |  |  | YWHAZ
O1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | YWHAZ | EMPTY¦YWHAZ
O2 | Undetermined | 40.1 |  |  |  | YWHAZ
O3 | Undetermined | 40.1 |  |  |  | YWHAZ
O4 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | YWHAZ | EMPTY¦YWHAZ
O5 | Undetermined | 40.1 |  |  |  | YWHAZ
O6 | Undetermined | 40.1 |  |  |  | YWHAZ
O7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | YWHAZ | EMPTY¦YWHAZ
O8 | Undetermined | 40.1 |  |  |  | YWHAZ
O9 | Undetermined | 40.1 |  |  |  | YWHAZ

## B2M
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 21.7312 | 0.045896 | 0.2112% | 0.1 | -1
1:20 | 22.602 | 0.16465 | 0.7285% | 0.05 | -1.301
1:40 | 23.667 | 0.068349 | 0.2888% | 0.025 | -1.6021
1:80 | 24.6543 | 0.12236 | 0.4963% | 0.0125 | -1.9031
1:160 | 25.7177 | 0.032259 | 0.1254% | 0.00625 | -2.2041
1:320 | 26.8134 | 0.025289 | 0.09432% | 0.003125 | -2.5051
| Slope | -3.3927
| Efficiency | 1.9713
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20)
BLANK¦B2M | BLANK | 40.1 | 0 | 0% | 6.9575e-06
1:10¦B2M | 1:10 | 21.7312 | 0.045896 | 0.2112% | 1.8058
1:20¦B2M | 1:20 | 22.602 | 0.16465 | 0.7285% | 1
1:40¦B2M | 1:40 | 23.667 | 0.068349 | 0.2888% | 0.4854
1:80¦B2M | 1:80 | 24.6543 | 0.12236 | 0.4963% | 0.24836
1:160¦B2M | 1:160 | 25.7177 | 0.032259 | 0.1254% | 0.12068
1:320¦B2M | 1:320 | 26.8134 | 0.025289 | 0.09432% | 0.057369
LC1¦B2M | LC1 | 24.6294 | 0.1115 | 0.4527% | 0.25259
LO1¦B2M | LO1 | 24.4028 | 0.074771 | 0.3064% | 0.29458
LP1¦B2M | LP1 | 24.561 | 0.10854 | 0.4419% | 0.26458
HC1¦B2M | HC1 | 26.4286 | 0.060772 | 0.2299% | 0.07449
HO1¦B2M | HO1 | 24.3257 | 0.058057 | 0.2387% | 0.31041
HP1¦B2M | HP1 | 27.6448 | 0.098628 | 0.3568% | 0.03263
LC2¦B2M | LC2 | 24.2754 | 0.08736 | 0.3599% | 0.3212
LO2¦B2M | LO2 | 30.2436 | 0.082054 | 0.2713% | 0.0055929
LP2¦B2M | LP2 | 29.8398 | 0.21211 | 0.7108% | 0.0073561
HC2¦B2M | HC2 | 31.1127 | 0.10061 | 0.3234% | 0.0031007
HO2¦B2M | HO2 | 25.5698 | 0.24501 | 0.9582% | 0.13342
HP2¦B2M | HP2 | 24.6966 | 0.12172 | 0.4929% | 0.24133
LC3¦B2M | LC3 | 25.1977 | 0.20411 | 0.81% | 0.17176
LO3¦B2M | LO3 | 25.1729 | 0.035464 | 0.1409% | 0.17467
LP3¦B2M | LP3 | 25.5119 | 0.15931 | 0.6244% | 0.13877
HC3¦B2M | HC3 | 27.0518 | 0.13446 | 0.497% | 0.048799
HO3¦B2M | HO3 | 26.4329 | 0.11299 | 0.4275% | 0.074273
HP3¦B2M | HP3 | 25.4189 | 0.13454 | 0.5293% | 0.14781
LC4¦B2M | LC4 | 24.0014 | 0.056785 | 0.2366% | 0.38684
LO4¦B2M | LO4 | 24.5474 | 0.10033 | 0.4087% | 0.26705
LP4¦B2M | LP4 | 25.0647 | 0.16384 | 0.6537% | 0.18798
HC4¦B2M | HC4 | 24.8982 | 0.047554 | 0.191% | 0.21047
HO4¦B2M | HO4 | 27.4899 | 0.22847 | 0.8311% | 0.036248
HP4¦B2M | HP4 | 24.3911 | 0.23562 | 0.966% | 0.29693
LC5¦B2M | LC5 | 23.0673 | 0.19156 | 0.8304% | 0.72919
LO5¦B2M | LO5 | 22.7143 | 0.035303 | 0.1554% | 0.92663
LP5¦B2M | LP5 | 23.116 | 0.096105 | 0.4158% | 0.7055
HC5¦B2M | HC5 | 22.5098 | 0.13727 | 0.6098% | 1.0646
HO5¦B2M | HO5 | 22.2838 | 0.15722 | 0.7055% | 1.241
HP5¦B2M | HP5 | 22.5906 | 0.16849 | 0.7459% | 1.0078
LC6¦B2M | LC6 | 22.6859 | 0.17917 | 0.7898% | 0.94466
LO6¦B2M | LO6 | 22.8388 | 0.18567 | 0.8129% | 0.85151
LP6¦B2M | LP6 | 22.8563 | 0.10949 | 0.4791% | 0.84148
HC6¦B2M | HC6 | 22.9244 | 0.22252 | 0.9707% | 0.80347
HO6¦B2M | HO6 | 22.6446 | 0.18296 | 0.8079% | 0.97148
HP6¦B2M | HP6 | 22.5999 | 0.10598 | 0.4689% | 1.0014
LPS1¦B2M | LPS1 | 23.17 | 0.18758 | 0.8096% | 0.68008
LPS2¦B2M | LPS2 | 24.9776 | 0.059686 | 0.239% | 0.19942
LPS3¦B2M | LPS3 | 23.5247 | 0.11627 | 0.4943% | 0.53459
LPS4¦B2M | LPS4 | 23.1935 | 0.16506 | 0.7117% | 0.66935
LPS5¦B2M | LPS5 | 23.324 | 0.052364 | 0.2245% | 0.61262
LPS6¦B2M | LPS6 | 23.8571 | 0.16881 | 0.7076% | 0.42663

## YWHAZ
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 22.6069 | 0.0059121 | 0.02615% | 0.1 | -1
1:20 | 23.6132 | 0.081057 | 0.3433% | 0.05 | -1.301
1:40 | 24.4591 | 0.026017 | 0.1064% | 0.025 | -1.6021
1:80 | 25.5593 | 0.038607 | 0.1511% | 0.0125 | -1.9031
1:160 | 26.5148 | 0.030108 | 0.1136% | 0.00625 | -2.2041
1:320 | 27.5607 | 0.077136 | 0.2799% | 0.003125 | -2.5051
| Slope | -3.2815
| Efficiency | 2.0172
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20)
BLANK¦YWHAZ | BLANK | 40.1 | 0 | 0% | 9.4586e-06
1:10¦YWHAZ | 1:10 | 22.6069 | 0.0059121 | 0.02615% | 2.0261
1:20¦YWHAZ | 1:20 | 23.6132 | 0.081057 | 0.3433% | 1
1:40¦YWHAZ | 1:40 | 24.4591 | 0.026017 | 0.1064% | 0.55237
1:80¦YWHAZ | 1:80 | 25.5593 | 0.038607 | 0.1511% | 0.25525
1:160¦YWHAZ | 1:160 | 26.5148 | 0.030108 | 0.1136% | 0.13055
1:320¦YWHAZ | 1:320 | 27.5607 | 0.077136 | 0.2799% | 0.062666
LC1¦YWHAZ | LC1 | 25.664 | 0.20332 | 0.7922% | 0.23717
LO1¦YWHAZ | LO1 | 25.1996 | 0.039313 | 0.156% | 0.32852
LP1¦YWHAZ | LP1 | 25.3678 | 0.10466 | 0.4126% | 0.29195
HC1¦YWHAZ | HC1 | 27.8128 | 0.055566 | 0.1998% | 0.052506
HO1¦YWHAZ | HO1 | 25.0057 | 0.11242 | 0.4496% | 0.3764
HP1¦YWHAZ | HP1 | 28.4105 | 0.060323 | 0.2123% | 0.034519
LC2¦YWHAZ | LC2 | 25.3135 | 0.17285 | 0.6828% | 0.30329
LO2¦YWHAZ | LO2 | 31.113 | 0.16822 | 0.5407% | 0.0051822
LP2¦YWHAZ | LP2 | 29.8884 | 0.14207 | 0.4753% | 0.012238
HC2¦YWHAZ | HC2 | 31.8516 | 0.10817 | 0.3396% | 0.0030862
HO2¦YWHAZ | HO2 | 26.3015 | 0.030685 | 0.1167% | 0.15163
HP2¦YWHAZ | HP2 | 25.2876 | 0.22939 | 0.9071% | 0.30885
LC3¦YWHAZ | LC3 | 26.4858 | 0.11474 | 0.4332% | 0.13323
LO3¦YWHAZ | LO3 | 26.0678 | 0.0067442 | 0.02587% | 0.17864
LP3¦YWHAZ | LP3 | 26.6098 | 0.10563 | 0.397% | 0.12213
HC3¦YWHAZ | HC3 | 28.1519 | 0.1109 | 0.3939% | 0.041388
HO3¦YWHAZ | HO3 | 27.2032 | 0.24471 | 0.8996% | 0.080536
HP3¦YWHAZ | HP3 | 26.2134 | 0.15377 | 0.5866% | 0.16129
LC4¦YWHAZ | LC4 | 25.1029 | 0.2124 | 0.8461% | 0.3516
LO4¦YWHAZ | LO4 | 25.5461 | 0.24196 | 0.9471% | 0.25761
LP4¦YWHAZ | LP4 | 25.4799 | 0.088029 | 0.3455% | 0.26986
HC4¦YWHAZ | HC4 | 26.3433 | 0.12533 | 0.4758% | 0.14724
HO4¦YWHAZ | HO4 | 28.4974 | 0.23101 | 0.8106% | 0.032479
HP4¦YWHAZ | HP4 | 25.3785 | 0.118 | 0.465% | 0.28977
LC5¦YWHAZ | LC5 | 24.1614 | 0.06296 | 0.2606% | 0.68067
LO5¦YWHAZ | LO5 | 23.8986 | 0.1471 | 0.6155% | 0.81851
LP5¦YWHAZ | LP5 | 24.0075 | 0.017109 | 0.07126% | 0.75831
HC5¦YWHAZ | HC5 | 24.0717 | 0.076004 | 0.3157% | 0.7249
HO5¦YWHAZ | HO5 | 23.6576 | 0.16929 | 0.7156% | 0.96931
HP5¦YWHAZ | HP5 | 23.8382 | 0.12857 | 0.5394% | 0.85395
LC6¦YWHAZ | LC6 | 23.8158 | 0.18416 | 0.7733% | 0.86751
LO6¦YWHAZ | LO6 | 23.7457 | 0.15502 | 0.6528% | 0.91121
LP6¦YWHAZ | LP6 | 23.7726 | 0.14494 | 0.6097% | 0.89419
HC6¦YWHAZ | HC6 | 24.1302 | 0.074851 | 0.3102% | 0.69576
HO6¦YWHAZ | HO6 | 23.7833 | 0.19627 | 0.8253% | 0.88748
HP6¦YWHAZ | HP6 | 23.8528 | 0.093223 | 0.3908% | 0.84528
LPS1¦YWHAZ | LPS1 | 23.4623 | 0.19146 | 0.816% | 1.1117
LPS2¦YWHAZ | LPS2 | 25.3617 | 0.049542 | 0.1953% | 0.2932
LPS3¦YWHAZ | LPS3 | 23.5216 | 0.023594 | 0.1003% | 1.0664
LPS4¦YWHAZ | LPS4 | 23.3415 | 0.083075 | 0.3559% | 1.21
LPS5¦YWHAZ | LPS5 | 23.4801 | 0.21331 | 0.9085% | 1.0979
LPS6¦YWHAZ | LPS6 | 23.9403 | 0.15649 | 0.6537% | 0.79491

## Housekeeper deltaCT
| B2M | YWHAZ | HMBS | Geometric mean
LC1 | 0.25259 | 0.23717 | 0.19328 | 0.22623
LO1 | 0.29458 | 0.32852 | 0.19031 | 0.26408
LP1 | 0.26458 | 0.29195 | 0.17044 | 0.23613
HC1 | 0.07449 | 0.052506 | 0.030743 | 0.049357
HO1 | 0.31041 | 0.3764 | 0.22933 | 0.29924
HP1 | 0.03263 | 0.034519 | 0.018735 | 0.027634
LC2 | 0.3212 | 0.30329 | 0.19898 | 0.26862
LO2 | 0.0055929 | 0.0051822 | 0.0044749 | 0.0050619
LP2 | 0.0073561 | 0.012238 | 0.0018221 | 0.0054741
HC2 | 0.0031007 | 0.0030862 | 0.0019875 | 0.0026693
HO2 | 0.13342 | 0.15163 | 0.077373 | 0.11611
HP2 | 0.24133 | 0.30885 | 0.16453 | 0.2306
LC3 | 0.17176 | 0.13323 | 0.099117 | 0.13139
LO3 | 0.17467 | 0.17864 | 0.10035 | 0.1463
LP3 | 0.13877 | 0.12213 | 0.053781 | 0.096956
HC3 | 0.048799 | 0.041388 | 0.017362 | 0.032731
HO3 | 0.074273 | 0.080536 | 0.039906 | 0.062033
HP3 | 0.14781 | 0.16129 | 0.022699 | 0.081491
LC4 | 0.38684 | 0.3516 | 0.27853 | 0.33585
LO4 | 0.26705 | 0.25761 | 0.1722 | 0.22796
LP4 | 0.18798 | 0.26986 | 0.072227 | 0.15417
HC4 | 0.21047 | 0.14724 | 0.085992 | 0.13864
HO4 | 0.036248 | 0.032479 | 0.010066 | 0.022799
HP4 | 0.29693 | 0.28977 | 0.1542 | 0.23674
LC5 | 0.72919 | 0.68067 | 0.46866 | 0.615
LO5 | 0.92663 | 0.81851 | 0.77093 | 0.83621
LP5 | 0.7055 | 0.75831 | 0.33894 | 0.56601
HC5 | 1.0646 | 0.7249 | 0.49377 | 0.72498
HO5 | 1.241 | 0.96931 | 0.89364 | 1.0244
HP5 | 1.0078 | 0.85395 | 0.79064 | 0.87955
LC6 | 0.94466 | 0.86751 | 0.66299 | 0.81599
LO6 | 0.85151 | 0.91121 | 0.77639 | 0.84456
LP6 | 0.84148 | 0.89419 | 0.65059 | 0.78812
HC6 | 0.80347 | 0.69576 | 0.45727 | 0.63465
HO6 | 0.97148 | 0.88748 | 0.79933 | 0.8833
HP6 | 1.0014 | 0.84528 | 0.76835 | 0.86641
LPS1 | 0.68008 | 1.1117 | 1.566 | 1.0579
LPS2 | 0.19942 | 0.2932 | 0.58538 | 0.32468
LPS3 | 0.53459 | 1.0664 | 1.3986 | 0.92728
LPS4 | 0.66935 | 1.21 | 1.5533 | 1.0795
LPS5 | 0.61262 | 1.0979 | 1.2621 | 0.94685
LPS6 | 0.42663 | 0.79491 | 0.63382 | 0.59903