## Results
Block Type | 384-Well Block
Calibration Background is expired | No
Calibration Background performed on | 07-19-2022
Calibration Normalization FAM-ROX is expired | No
Calibration Normalization FAM-ROX performed on | 04-21-2022
Calibration Normalization VIC-ROX is expired | No
Calibration Normalization VIC-ROX performed on | 04-21-2022
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 04-21-2022
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 04-21-2022
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 04-21-2022
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 04-21-2022
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 04-21-2022
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 04-21-2022
Calibration ROI is expired | No
Calibration ROI performed on | 04-21-2022
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 04-21-2022
Chemistry | TAQMAN
Date Created | 2022-07-29 16:12:13 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | D:\Users\Administrator\Desktop\FELIX\Felix HNM 5.eds
Experiment Name | Felix HNM 5
Experiment Run End Time | 2022-07-29 17:03:56 PM BST
Experiment Type | Standard Curve
Instrument Name | HotPants
Instrument Serial Number | 278871706
Instrument Type | QuantStudio(TM) 7 Flex System
Passive Reference | ROX
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage/ Cycle where Analysis is performed | Stage 2, Step 2
User Name
Well Position | Sample Name | Target Name | CT | Sample
A1 |  | IL1B | Undetermined | BLANK
A2 |  | IL1B | Undetermined | BLANK
A3 |  | IL1B | Undetermined | BLANK
A4 |  | IL1B | Undetermined | 1:10
A5 |  | IL1B | 35.4758 | 1:10
A6 |  | IL1B | 35.3618 | 1:10
A7 |  | IL1B | 36.7947 | 1:20
A8 |  | IL1B | 37.5786 | 1:20
A9 |  | IL1B | 35.6594 | 1:20
A10 |  | IL1B | 37.3337 | 1:40
A11 |  | IL1B | 37.0248 | 1:40
A12 |  | IL1B | 37.2046 | 1:40
A13 |  | IL1B | Undetermined | 1:80
A14 |  | IL1B | 37.4741 | 1:80
A15 |  | IL1B | 38.9968 | 1:80
A16 |  | IL1B | Undetermined | 1:160
A17 |  | IL1B | Undetermined | 1:160
A18 |  | IL1B | Undetermined | 1:160
A19 |  | IL1B | Undetermined | 1:320
A20 |  | IL1B | Undetermined | 1:320
A21 |  | IL1B | Undetermined | 1:320
A22 |  | IL1B | 38.8267 | LC1
A23 |  | IL1B | 38.9562 | LC1
A24 |  | IL1B | 38.1605 | LC1
B1 |  | IL1B | 37.1519 | LO1
B2 |  | IL1B | 38.1342 | LO1
B3 |  | IL1B | 36.7922 | LO1
B4 |  | IL1B | 36.6436 | LP1
B5 |  | IL1B | 39.997 | LP1
B6 |  | IL1B | 36.8595 | LP1
B7 |  | IL1B | Undetermined | HC1
B8 |  | IL1B | 37.7581 | HC1
B9 |  | IL1B | 38.6306 | HC1
B10 |  | IL1B | 38.6905 | HO1
B11 |  | IL1B | 37.7477 | HO1
B12 |  | IL1B | 36.3921 | HO1
B13 |  | IL1B | 38.7283 | HP1
B14 |  | IL1B | Undetermined | HP1
B15 |  | IL1B | 38.7442 | HP1
B16 |  | IL1B | 38.6158 | LC2
B17 |  | IL1B | 38.8341 | LC2
B18 |  | IL1B | 38.8221 | LC2
B19 |  | IL1B | Undetermined | LO2
B20 |  | IL1B | Undetermined | LO2
B21 |  | IL1B | Undetermined | LO2
B22 |  | IL1B | Undetermined | LP2
B23 |  | IL1B | Undetermined | LP2
B24 |  | IL1B | Undetermined | LP2
C1 |  | IL1B | Undetermined | HC2
C2 |  | IL1B | Undetermined | HC2
C3 |  | IL1B | 38.8437 | HC2
C4 |  | IL1B | Undetermined | HO2
C5 |  | IL1B | 37.912 | HO2
C6 |  | IL1B | 37.2825 | HO2
C7 |  | IL1B | 37.2636 | HP2
C8 |  | IL1B | Undetermined | HP2
C9 |  | IL1B | 39.3761 | HP2
C10 |  | IL1B | Undetermined | LC3
C11 |  | IL1B | 37.1856 | LC3
C12 |  | IL1B | Undetermined | LC3
C13 |  | IL1B | Undetermined | LO3
C14 |  | IL1B | 37.716 | LO3
C15 |  | IL1B | 37.7207 | LO3
C16 |  | IL1B | 38.221 | LP3
C17 |  | IL1B | 36.0174 | LP3
C18 |  | IL1B | 37.0863 | LP3
C19 |  | IL1B | Undetermined | HC3
C20 |  | IL1B | Undetermined | HC3
C21 |  | IL1B | Undetermined | HC3
C22 |  | IL1B | 37.4304 | HO3
C23 |  | IL1B | 37.6399 | HO3
C24 |  | IL1B | 37.3365 | HO3
D1 |  | IL1B | 37.4523 | HP3
D2 |  | IL1B | 38.9671 | HP3
D3 |  | IL1B | 39.6316 | HP3
D4 |  | IL1B | 37.6967 | LC4
D5 |  | IL1B | 38.7206 | LC4
D6 |  | IL1B | 36.1557 | LC4
D7 |  | IL1B | Undetermined | LO4
D8 |  | IL1B | 37.5474 | LO4
D9 |  | IL1B | 37.1036 | LO4
D10 |  | IL1B | 38.1288 | LP4
D11 |  | IL1B | 38.7732 | LP4
D12 |  | IL1B | 36.8707 | LP4
D13 |  | IL1B | Undetermined | HC4
D14 |  | IL1B | 37.2403 | HC4
D15 |  | IL1B | 38.592 | HC4
D16 |  | IL1B | Undetermined | HO4
D17 |  | IL1B | Undetermined | HO4
D18 |  | IL1B | 38.7217 | HO4
D19 |  | IL1B | 38.767 | HP4
D20 |  | IL1B | 38.7757 | HP4
D21 |  | IL1B | 37.1686 | HP4
E1 |  | IL1B | 37.2421 | LC5
E2 |  | IL1B | 36.4577 | LC5
E3 |  | IL1B | 36.5287 | LC5
E4 |  | IL1B | 36.3797 | LO5
E5 |  | IL1B | 36.9747 | LO5
E6 |  | IL1B | 36.1934 | LO5
E7 |  | IL1B | 37.2802 | LP5
E8 |  | IL1B | 36.9503 | LP5
E9 |  | IL1B | 36.5438 | LP5
E10 |  | IL1B | 36.691 | HC5
E11 |  | IL1B | Undetermined | HC5
E12 |  | IL1B | 37.593 | HC5
E13 |  | IL1B | 39.0316 | HO5
E14 |  | IL1B | 36.2352 | HO5
E15 |  | IL1B | 35.8966 | HO5
E16 |  | IL1B | 35.9871 | HP5
E17 |  | IL1B | 37.6269 | HP5
E18 |  | IL1B | 36.2172 | HP5
E19 |  | IL1B | 38.7351 | LC6
E20 |  | IL1B | 36.864 | LC6
E21 |  | IL1B | 37.6807 | LC6
E22 |  | IL1B | 38.6194 | LO6
E23 |  | IL1B | 38.6708 | LO6
E24 |  | IL1B | 36.9306 | LO6
F1 |  | IL1B | 38.157 | LP6
F2 |  | IL1B | 36.5348 | LP6
F3 |  | IL1B | 36.3765 | LP6
F4 |  | IL1B | 38.9421 | HC6
F5 |  | IL1B | 38.8465 | HC6
F6 |  | IL1B | 36.2387 | HC6
F7 |  | IL1B | 35.9307 | HO6
F8 |  | IL1B | 37.7533 | HO6
F9 |  | IL1B | 35.952 | HO6
F10 |  | IL1B | 36.134 | HP6
F11 |  | IL1B | 36.6365 | HP6
F12 |  | IL1B | 36.1222 | HP6
F13 |  | IL1B | 38.6166 | LPS1
F14 |  | IL1B | 38.5967 | LPS1
F15 |  | IL1B | 37.4796 | LPS1
F16 |  | IL1B | Undetermined | LPS2
F17 |  | IL1B | 37.5663 | LPS2
F18 |  | IL1B | Undetermined | LPS2
F19 |  | IL1B | 38.6067 | LPS3
F20 |  | IL1B | 37.0506 | LPS3
F21 |  | IL1B | Undetermined | LPS3
F22 |  | IL1B | 38.5745 | LPS4
F23 |  | IL1B | 38.7725 | LPS4
F24 |  | IL1B | 38.7551 | LPS4
G1 |  | IL1B | 36.4567 | LPS5
G2 |  | IL1B | 37.2429 | LPS5
G3 |  | IL1B | 37.924 | LPS5
G4 |  | IL1B | 38.7736 | LPS6
G5 |  | IL1B | 37.6409 | LPS6
G6 |  | IL1B | 37.7699 | LPS6
G7 |  | IL1B | Undetermined | EMPTY
G8 |  | IL1B | Undetermined | EMPTY
G9 |  | IL1B | Undetermined | EMPTY
G10 |  | IL1B | Undetermined | EMPTY
G11 |  | IL1B | Undetermined | EMPTY
G12 |  | IL1B | Undetermined | EMPTY
G13 |  | IL1B | Undetermined | EMPTY
G14 |  | IL1B | Undetermined | EMPTY
G15 |  | IL1B | Undetermined | EMPTY
G16 |  | IL1B | Undetermined | EMPTY
G17 |  | IL1B | Undetermined | EMPTY
G18 |  | IL1B | Undetermined | EMPTY
G19 |  | IL1B | Undetermined | EMPTY
G20 |  | IL1B | Undetermined | EMPTY
G21 |  | IL1B | Undetermined | EMPTY
G22 |  | IL1B | Undetermined | EMPTY
G23 |  | IL1B | Undetermined | EMPTY
G24 |  | IL1B | Undetermined | EMPTY
H1 |  | IL1B | Undetermined | EMPTY
H2 |  | IL1B | Undetermined | EMPTY
H3 |  | IL1B | Undetermined | EMPTY
H4 |  | HSPA5 | Undetermined | BLANK
H5 |  | HSPA5 | Undetermined | BLANK
H6 |  | HSPA5 | Undetermined | BLANK
H7 |  | HSPA5 | 25.5012 | 1:10
H8 |  | HSPA5 | 25.4132 | 1:10
H9 |  | HSPA5 | 25.217 | 1:10
H10 |  | HSPA5 | 26.1802 | 1:20
H11 |  | HSPA5 | 26.2345 | 1:20
H12 |  | HSPA5 | 26.2636 | 1:20
H13 |  | HSPA5 | 27.2071 | 1:40
H14 |  | HSPA5 | 28.2328 | 1:40
H15 |  | HSPA5 | 27.0858 | 1:40
H16 |  | HSPA5 | 28.2594 | 1:80
H17 |  | HSPA5 | 28.2438 | 1:80
H18 |  | HSPA5 | 28.3564 | 1:80
H19 |  | HSPA5 | 29.4464 | 1:160
H20 |  | HSPA5 | 29.2878 | 1:160
H21 |  | HSPA5 | 29.2622 | 1:160
I1 |  | HSPA5 | 30.1607 | 1:320
I2 |  | HSPA5 | 30.4662 | 1:320
I3 |  | HSPA5 | 30.5307 | 1:320
I4 |  | HSPA5 | 29.5488 | LC1
I5 |  | HSPA5 | 29.2354 | LC1
I6 |  | HSPA5 | 29.3161 | LC1
I7 |  | HSPA5 | 29.1096 | LO1
I8 |  | HSPA5 | 28.7672 | LO1
I9 |  | HSPA5 | 28.7805 | LO1
I10 |  | HSPA5 | 28.7834 | LP1
I11 |  | HSPA5 | 28.5456 | LP1
I12 |  | HSPA5 | 28.4129 | LP1
I13 |  | HSPA5 | 31.3724 | HC1
I14 |  | HSPA5 | 31.3057 | HC1
I15 |  | HSPA5 | 31.5686 | HC1
I16 |  | HSPA5 | 28.2074 | HO1
I17 |  | HSPA5 | 27.8466 | HO1
I18 |  | HSPA5 | 28.0485 | HO1
I19 |  | HSPA5 | 32.3647 | HP1
I20 |  | HSPA5 | 32.0744 | HP1
I21 |  | HSPA5 | 32.4016 | HP1
I22 |  | HSPA5 | 28.864 | LC2
I23 |  | HSPA5 | 28.763 | LC2
I24 |  | HSPA5 | 28.5897 | LC2
J1 |  | HSPA5 | 35.9931 | LO2
J2 |  | HSPA5 | 37.1754 | LO2
J3 |  | HSPA5 | 38.5992 | LO2
J4 |  | HSPA5 | 35.0339 | LP2
J5 |  | HSPA5 | 35.0814 | LP2
J6 |  | HSPA5 | 36.2002 | LP2
J7 |  | HSPA5 | 37.5591 | HC2
J8 |  | HSPA5 | 36.5843 | HC2
J9 |  | HSPA5 | 38.0573 | HC2
J10 |  | HSPA5 | 29.6855 | HO2
J11 |  | HSPA5 | 29.5627 | HO2
J12 |  | HSPA5 | 29.4505 | HO2
J13 |  | HSPA5 | 28.7019 | HP2
J14 |  | HSPA5 | 28.4329 | HP2
J15 |  | HSPA5 | 28.515 | HP2
J16 |  | HSPA5 | 29.6931 | LC3
J17 |  | HSPA5 | 29.4932 | LC3
J18 |  | HSPA5 | 29.6861 | LC3
J19 |  | HSPA5 | 29.0757 | LO3
J20 |  | HSPA5 | 29.2847 | LO3
J21 |  | HSPA5 | 29.0444 | LO3
J22 |  | HSPA5 | 29.9793 | LP3
J23 |  | HSPA5 | 29.8686 | LP3
J24 |  | HSPA5 | 29.6913 | LP3
K1 |  | HSPA5 | 31.8941 | HC3
K2 |  | HSPA5 | 31.8528 | HC3
K3 |  | HSPA5 | 31.9269 | HC3
K4 |  | HSPA5 | 31.0568 | HO3
K5 |  | HSPA5 | 30.8104 | HO3
K6 |  | HSPA5 | 31.3568 | HO3
K7 |  | HSPA5 | 31.0606 | HP3
K8 |  | HSPA5 | 30.6982 | HP3
K9 |  | HSPA5 | 30.7205 | HP3
K10 |  | HSPA5 | 28.2479 | LC4
K11 |  | HSPA5 | 27.8914 | LC4
K12 |  | HSPA5 | 27.8116 | LC4
K13 |  | HSPA5 | 28.3999 | LO4
K14 |  | HSPA5 | 27.999 | LO4
K15 |  | HSPA5 | 27.7601 | LO4
K16 |  | HSPA5 | 29.4443 | LP4
K17 |  | HSPA5 | 28.6988 | LP4
K18 |  | HSPA5 | 28.83 | LP4
K19 |  | HSPA5 | 29.9888 | HC4
K20 |  | HSPA5 | 29.3636 | HC4
K21 |  | HSPA5 | 29.3853 | HC4
K22 |  | HSPA5 | 32.6077 | HO4
K23 |  | HSPA5 | 31.8664 | HO4
K24 |  | HSPA5 | 32.0423 | HO4
L1 |  | HSPA5 | 28.2961 | HP4
L2 |  | HSPA5 | 28.2351 | HP4
L3 |  | HSPA5 | 28.3534 | HP4
L4 |  | HSPA5 | 26.7638 | LC5
L5 |  | HSPA5 | 26.7256 | LC5
L6 |  | HSPA5 | 26.7782 | LC5
L7 |  | HSPA5 | 26.3938 | LO5
L8 |  | HSPA5 | 26.0782 | LO5
L9 |  | HSPA5 | 26.267 | LO5
L10 |  | HSPA5 | 26.5762 | LP5
L11 |  | HSPA5 | 26.6877 | LP5
L12 |  | HSPA5 | 25.8867 | LP5
L13 |  | HSPA5 | 26.0156 | HC5
L14 |  | HSPA5 | 26.3801 | HC5
L15 |  | HSPA5 | 26.3002 | HC5
L16 |  | HSPA5 | 25.9181 | HO5
L17 |  | HSPA5 | 25.5617 | HO5
L18 |  | HSPA5 | 25.8646 | HO5
L19 |  | HSPA5 | 25.8939 | HP5
L20 |  | HSPA5 | 25.782 | HP5
L21 |  | HSPA5 | 25.6656 | HP5
M1 |  | HSPA5 | 25.9249 | LC6
M2 |  | HSPA5 | 25.5692 | LC6
M3 |  | HSPA5 | 25.5825 | LC6
M4 |  | HSPA5 | 25.9144 | LO6
M5 |  | HSPA5 | 25.6987 | LO6
M6 |  | HSPA5 | 26.1006 | LO6
M7 |  | HSPA5 | 26.2704 | LP6
M8 |  | HSPA5 | 26.2433 | LP6
M9 |  | HSPA5 | 26.052 | LP6
M10 |  | HSPA5 | 26.5068 | HC6
M11 |  | HSPA5 | 26.5257 | HC6
M12 |  | HSPA5 | 26.4724 | HC6
M13 |  | HSPA5 | 26.3482 | HO6
M14 |  | HSPA5 | 25.6114 | HO6
M15 |  | HSPA5 | 24.9924 | HO6
M16 |  | HSPA5 | 25.1513 | HP6
M17 |  | HSPA5 | 25.3141 | HP6
M18 |  | HSPA5 | 25.5663 | HP6
M19 |  | HSPA5 | 25.2219 | LPS1
M20 |  | HSPA5 | 24.9431 | LPS1
M21 |  | HSPA5 | 25.021 | LPS1
M22 |  | HSPA5 | 26.4899 | LPS2
M23 |  | HSPA5 | 26.3888 | LPS2
M24 |  | HSPA5 | 26.3871 | LPS2
N1 |  | HSPA5 | 25.2989 | LPS3
N2 |  | HSPA5 | 25.2724 | LPS3
N3 |  | HSPA5 | 25.2633 | LPS3
N4 |  | HSPA5 | 25.2811 | LPS4
N5 |  | HSPA5 | 25.1248 | LPS4
N6 |  | HSPA5 | 25.1963 | LPS4
N7 |  | HSPA5 | 25.9015 | LPS5
N8 |  | HSPA5 | 25.9705 | LPS5
N9 |  | HSPA5 | 25.7126 | LPS5
N10 |  | HSPA5 | 26.1135 | LPS6
N11 |  | HSPA5 | 26.5615 | LPS6
N12 |  | HSPA5 | 25.9432 | LPS6
N13 |  | HSPA5 | Undetermined | EMPTY
N14 |  | HSPA5 | Undetermined | EMPTY
N15 |  | HSPA5 | Undetermined | EMPTY
N16 |  | HSPA5 | Undetermined | EMPTY
N17 |  | HSPA5 | Undetermined | EMPTY
N18 |  | HSPA5 | Undetermined | EMPTY
N19 |  | HSPA5 | Undetermined | EMPTY
N20 |  | HSPA5 | Undetermined | EMPTY
N21 |  | HSPA5 | Undetermined | EMPTY
N22 |  | HSPA5 | Undetermined | EMPTY
N23 |  | HSPA5 | Undetermined | EMPTY
N24 |  | HSPA5 | Undetermined | EMPTY
O1 |  | HSPA5 | Undetermined | EMPTY
O2 |  | HSPA5 | Undetermined | EMPTY
O3 |  | HSPA5 | Undetermined | EMPTY
O4 |  | HSPA5 | Undetermined | EMPTY
O5 |  | HSPA5 | Undetermined | EMPTY
O6 |  | HSPA5 | Undetermined | EMPTY
O7 |  | HSPA5 | Undetermined | EMPTY
O8 |  | HSPA5 | Undetermined | EMPTY
O9 |  | HSPA5 | Undetermined | EMPTY
How to use improved spreadsheet
1. Copy results into the 'Results sheet' , in the same format as shown here
2. Check that everything has copies over to the 'Results Workspace' (pull down the formula to add more rows). The sample names and genes should change automatically, and the helper column should format itself as "Sample Name""|""Gene Name" (e.g "BLANK|PGCK1")
3. On the individual gene spreadsheet, add the correct sample names to the 'Sample' column. Then, for the 'Helper' column, change the gene name in the first cell in the row and drag the formula down to the other rows.
4. This will fill in all the CT values for you
5. Edit the results workspace to get rid of red highlighted 'CV Ct' values. Do this by going through and removing outliers.
6. Change the names in the 'Housekeeper deltaCT' sheet (if you need to), and copy the formula down. Repeat for the 'Summary' page, which is for your target genes
7. If you have questions, then ask Emily. Apologies for the messy example data. The robot didn't pipette very well.

## Results Workspace
Well | Ct from reader | Corrected Cts | Sample Name | Average Ct | STDEV | Target Name | Helper
A1 | Undetermined | 40.1 | BLANK | 40.1 | 0 | IL1B | BLANK¦IL1B
A2 | Undetermined | 40.1 |  |  |  | IL1B
A3 | Undetermined | 40.1 |  |  |  | IL1B
A4 | Undetermined |  | 1:10 | 35.4188 | 0.057016 | IL1B | 1:10¦IL1B
A5 | 35.4758 | 35.4758 |  |  |  | IL1B
A6 | 35.3618 | 35.3618 |  |  |  | IL1B
A7 | 36.7947 | 36.7947 | 1:20 | 37.1866 | 0.39193 | IL1B | 1:20¦IL1B
A8 | 37.5786 | 37.5786 |  |  |  | IL1B
A9 | 35.6594 |  |  |  |  | IL1B
A10 | 37.3337 | 37.3337 | 1:40 | 37.1877 | 0.12667 | IL1B | 1:40¦IL1B
A11 | 37.0248 | 37.0248 |  |  |  | IL1B
A12 | 37.2046 | 37.2046 |  |  |  | IL1B
A13 | Undetermined |  | 1:80 | 38.2354 | 0.76136 | IL1B | 1:80¦IL1B
A14 | 37.4741 | 37.4741 |  |  |  | IL1B
A15 | 38.9968 | 38.9968 |  |  |  | IL1B
A16 | Undetermined | 40.1 | 1:160 | 40.1 | 0 | IL1B | 1:160¦IL1B
A17 | Undetermined | 40.1 |  |  |  | IL1B
A18 | Undetermined | 40.1 |  |  |  | IL1B
A19 | Undetermined | 40.1 | 1:320 | 40.1 | 0 | IL1B | 1:320¦IL1B
A20 | Undetermined | 40.1 |  |  |  | IL1B
A21 | Undetermined | 40.1 |  |  |  | IL1B
A22 | 38.8267 | 38.8267 | LC1 | 38.8915 | 0.064787 | IL1B | LC1¦IL1B
A23 | 38.9562 | 38.9562 |  |  |  | IL1B
A24 | 38.1605 |  |  |  |  | IL1B
B1 | 37.1519 | 37.1519 | LO1 | 37.643 | 0.49118 | IL1B | LO1¦IL1B
B2 | 38.1342 | 38.1342 |  |  |  | IL1B
B3 | 36.7922 |  |  |  |  | IL1B
B4 | 36.6436 | 36.6436 | LP1 | 36.7515 | 0.10791 | IL1B | LP1¦IL1B
B5 | 39.997 |  |  |  |  | IL1B
B6 | 36.8595 | 36.8595 |  |  |  | IL1B
B7 | Undetermined |  | HC1 | 38.1943 | 0.43626 | IL1B | HC1¦IL1B
B8 | 37.7581 | 37.7581 |  |  |  | IL1B
B9 | 38.6306 | 38.6306 |  |  |  | IL1B
B10 | 38.6905 | 38.6905 | HO1 | 38.2191 | 0.4714 | IL1B | HO1¦IL1B
B11 | 37.7477 | 37.7477 |  |  |  | IL1B
B12 | 36.3921 |  |  |  |  | IL1B
B13 | 38.7283 | 38.7283 | HP1 | 38.7363 | 0.0079594 | IL1B | HP1¦IL1B
B14 | Undetermined |  |  |  |  | IL1B
B15 | 38.7442 | 38.7442 |  |  |  | IL1B
B16 | 38.6158 | 38.6158 | LC2 | 38.7573 | 0.1002 | IL1B | LC2¦IL1B
B17 | 38.8341 | 38.8341 |  |  |  | IL1B
B18 | 38.8221 | 38.8221 |  |  |  | IL1B
B19 | Undetermined | 40.1 | LO2 | 40.1 | 0 | IL1B | LO2¦IL1B
B20 | Undetermined | 40.1 |  |  |  | IL1B
B21 | Undetermined | 40.1 |  |  |  | IL1B
B22 | Undetermined | 40.1 | LP2 | 40.1 | 0 | IL1B | LP2¦IL1B
B23 | Undetermined | 40.1 |  |  |  | IL1B
B24 | Undetermined | 40.1 |  |  |  | IL1B
C1 | Undetermined | 40.1 | HC2 | 39.6812 | 0.59222 | IL1B | HC2¦IL1B
C2 | Undetermined | 40.1 |  |  |  | IL1B
C3 | 38.8437 | 38.8437 |  |  |  | IL1B
C4 | Undetermined |  | HO2 | 37.5973 | 0.31475 | IL1B | HO2¦IL1B
C5 | 37.912 | 37.912 |  |  |  | IL1B
C6 | 37.2825 | 37.2825 |  |  |  | IL1B
C7 | 37.2636 | 37.2636 | HP2 | 38.3198 | 1.0562 | IL1B | HP2¦IL1B
C8 | Undetermined |  |  |  |  | IL1B
C9 | 39.3761 | 39.3761 |  |  |  | IL1B
C10 | Undetermined |  | LC3 | 37.1856 | 0 | IL1B | LC3¦IL1B
C11 | 37.1856 | 37.1856 |  |  |  | IL1B
C12 | Undetermined |  |  |  |  | IL1B
C13 | Undetermined |  | LO3 | 37.7183 | 0.0023823 | IL1B | LO3¦IL1B
C14 | 37.716 | 37.716 |  |  |  | IL1B
C15 | 37.7207 | 37.7207 |  |  |  | IL1B
C16 | 38.221 | 38.221 | LP3 | 37.1082 | 0.89973 | IL1B | LP3¦IL1B
C17 | 36.0174 | 36.0174 |  |  |  | IL1B
C18 | 37.0863 | 37.0863 |  |  |  | IL1B
C19 | Undetermined | 40.1 | HC3 | 40.1 | 0 | IL1B | HC3¦IL1B
C20 | Undetermined | 40.1 |  |  |  | IL1B
C21 | Undetermined | 40.1 |  |  |  | IL1B
C22 | 37.4304 | 37.4304 | HO3 | 37.4689 | 0.12682 | IL1B | HO3¦IL1B
C23 | 37.6399 | 37.6399 |  |  |  | IL1B
C24 | 37.3365 | 37.3365 |  |  |  | IL1B
D1 | 37.4523 | 37.4523 | HP3 | 38.6837 | 0.91196 | IL1B | HP3¦IL1B
D2 | 38.9671 | 38.9671 |  |  |  | IL1B
D3 | 39.6316 | 39.6316 |  |  |  | IL1B
D4 | 37.6967 | 37.6967 | LC4 | 37.5243 | 1.0542 | IL1B | LC4¦IL1B
D5 | 38.7206 | 38.7206 |  |  |  | IL1B
D6 | 36.1557 | 36.1557 |  |  |  | IL1B
D7 | Undetermined |  | LO4 | 37.3255 | 0.22191 | IL1B | LO4¦IL1B
D8 | 37.5474 | 37.5474 |  |  |  | IL1B
D9 | 37.1036 | 37.1036 |  |  |  | IL1B
D10 | 38.1288 | 38.1288 | LP4 | 37.9242 | 0.79006 | IL1B | LP4¦IL1B
D11 | 38.7732 | 38.7732 |  |  |  | IL1B
D12 | 36.8707 | 36.8707 |  |  |  | IL1B
D13 | Undetermined |  | HC4 | 37.9161 | 0.67585 | IL1B | HC4¦IL1B
D14 | 37.2403 | 37.2403 |  |  |  | IL1B
D15 | 38.592 | 38.592 |  |  |  | IL1B
D16 | Undetermined |  | HO4 | 38.7217 | 0 | IL1B | HO4¦IL1B
D17 | Undetermined |  |  |  |  | IL1B
D18 | 38.7217 | 38.7217 |  |  |  | IL1B
D19 | 38.767 | 38.767 | HP4 | 38.2371 | 0.75553 | IL1B | HP4¦IL1B
D20 | 38.7757 | 38.7757 |  |  |  | IL1B
D21 | 37.1686 | 37.1686 |  |  |  | IL1B
E1 | 37.2421 | 37.2421 | LC5 | 36.7428 | 0.35422 | IL1B | LC5¦IL1B
E2 | 36.4577 | 36.4577 |  |  |  | IL1B
E3 | 36.5287 | 36.5287 |  |  |  | IL1B
E4 | 36.3797 | 36.3797 | LO5 | 36.5159 | 0.33318 | IL1B | LO5¦IL1B
E5 | 36.9747 | 36.9747 |  |  |  | IL1B
E6 | 36.1934 | 36.1934 |  |  |  | IL1B
E7 | 37.2802 | 37.2802 | LP5 | 36.9248 | 0.30117 | IL1B | LP5¦IL1B
E8 | 36.9503 | 36.9503 |  |  |  | IL1B
E9 | 36.5438 | 36.5438 |  |  |  | IL1B
E10 | 36.691 | 36.691 | HC5 | 37.142 | 0.45101 | IL1B | HC5¦IL1B
E11 | Undetermined |  |  |  |  | IL1B
E12 | 37.593 | 37.593 |  |  |  | IL1B
E13 | 39.0316 | 39.0316 | HO5 | 37.0544 | 1.4049 | IL1B | HO5¦IL1B
E14 | 36.2352 | 36.2352 |  |  |  | IL1B
E15 | 35.8966 | 35.8966 |  |  |  | IL1B
E16 | 35.9871 | 35.9871 | HP5 | 36.6104 | 0.72491 | IL1B | HP5¦IL1B
E17 | 37.6269 | 37.6269 |  |  |  | IL1B
E18 | 36.2172 | 36.2172 |  |  |  | IL1B
E19 | 38.7351 | 38.7351 | LC6 | 37.7599 | 0.76593 | IL1B | LC6¦IL1B
E20 | 36.864 | 36.864 |  |  |  | IL1B
E21 | 37.6807 | 37.6807 |  |  |  | IL1B
E22 | 38.6194 | 38.6194 | LO6 | 38.0736 | 0.80849 | IL1B | LO6¦IL1B
E23 | 38.6708 | 38.6708 |  |  |  | IL1B
E24 | 36.9306 | 36.9306 |  |  |  | IL1B
F1 | 38.157 | 38.157 | LP6 | 37.0228 | 0.80461 | IL1B | LP6¦IL1B
F2 | 36.5348 | 36.5348 |  |  |  | IL1B
F3 | 36.3765 | 36.3765 |  |  |  | IL1B
F4 | 38.9421 | 38.9421 | HC6 | 38.0091 | 1.2525 | IL1B | HC6¦IL1B
F5 | 38.8465 | 38.8465 |  |  |  | IL1B
F6 | 36.2387 | 36.2387 |  |  |  | IL1B
F7 | 35.9307 | 35.9307 | HO6 | 36.5453 | 0.85422 | IL1B | HO6¦IL1B
F8 | 37.7533 | 37.7533 |  |  |  | IL1B
F9 | 35.952 | 35.952 |  |  |  | IL1B
F10 | 36.134 | 36.134 | HP6 | 36.2976 | 0.23969 | IL1B | HP6¦IL1B
F11 | 36.6365 | 36.6365 |  |  |  | IL1B
F12 | 36.1222 | 36.1222 |  |  |  | IL1B
F13 | 38.6166 | 38.6166 | LPS1 | 38.231 | 0.53138 | IL1B | LPS1¦IL1B
F14 | 38.5967 | 38.5967 |  |  |  | IL1B
F15 | 37.4796 | 37.4796 |  |  |  | IL1B
F16 | Undetermined |  | LPS2 | 38.8332 | 1.2668 | IL1B | LPS2¦IL1B
F17 | 37.5663 | 37.5663 |  |  |  | IL1B
F18 | Undetermined | 40.1 |  |  |  | IL1B
F19 | 38.6067 | 38.6067 | LPS3 | 37.8287 | 0.77807 | IL1B | LPS3¦IL1B
F20 | 37.0506 | 37.0506 |  |  |  | IL1B
F21 | Undetermined |  |  |  |  | IL1B
F22 | 38.5745 | 38.5745 | LPS4 | 38.7007 | 0.089494 | IL1B | LPS4¦IL1B
F23 | 38.7725 | 38.7725 |  |  |  | IL1B
F24 | 38.7551 | 38.7551 |  |  |  | IL1B
G1 | 36.4567 | 36.4567 | LPS5 | 37.2078 | 0.5995 | IL1B | LPS5¦IL1B
G2 | 37.2429 | 37.2429 |  |  |  | IL1B
G3 | 37.924 | 37.924 |  |  |  | IL1B
G4 | 38.7736 | 38.7736 | LPS6 | 38.0615 | 0.5063 | IL1B | LPS6¦IL1B
G5 | 37.6409 | 37.6409 |  |  |  | IL1B
G6 | 37.7699 | 37.7699 |  |  |  | IL1B
G7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | IL1B | EMPTY¦IL1B
G8 | Undetermined | 40.1 |  |  |  | IL1B
G9 | Undetermined | 40.1 |  |  |  | IL1B
G10 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | IL1B | EMPTY¦IL1B
G11 | Undetermined | 40.1 |  |  |  | IL1B
G12 | Undetermined | 40.1 |  |  |  | IL1B
G13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | IL1B | EMPTY¦IL1B
G14 | Undetermined | 40.1 |  |  |  | IL1B
G15 | Undetermined | 40.1 |  |  |  | IL1B
G16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | IL1B | EMPTY¦IL1B
G17 | Undetermined | 40.1 |  |  |  | IL1B
G18 | Undetermined | 40.1 |  |  |  | IL1B
G19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | IL1B | EMPTY¦IL1B
G20 | Undetermined | 40.1 |  |  |  | IL1B
G21 | Undetermined | 40.1 |  |  |  | IL1B
G22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | IL1B | EMPTY¦IL1B
G23 | Undetermined | 40.1 |  |  |  | IL1B
G24 | Undetermined | 40.1 |  |  |  | IL1B
H1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | IL1B | EMPTY¦IL1B
H2 | Undetermined | 40.1 |  |  |  | IL1B
H3 | Undetermined | 40.1 |  |  |  | IL1B
H4 | Undetermined | 40.1 | BLANK | 40.1 | 0 | HSPA5 | BLANK¦HSPA5
H5 | Undetermined | 40.1 |  |  |  | HSPA5
H6 | Undetermined | 40.1 |  |  |  | HSPA5
H7 | 25.5012 | 25.5012 | 1:10 | 25.3771 | 0.1188 | HSPA5 | 1:10¦HSPA5
H8 | 25.4132 | 25.4132 |  |  |  | HSPA5
H9 | 25.217 | 25.217 |  |  |  | HSPA5
H10 | 26.1802 | 26.1802 | 1:20 | 26.2261 | 0.034536 | HSPA5 | 1:20¦HSPA5
H11 | 26.2345 | 26.2345 |  |  |  | HSPA5
H12 | 26.2636 | 26.2636 |  |  |  | HSPA5
H13 | 27.2071 | 27.2071 | 1:40 | 27.1464 | 0.060649 | HSPA5 | 1:40¦HSPA5
H14 | 28.2328 |  |  |  |  | HSPA5
H15 | 27.0858 | 27.0858 |  |  |  | HSPA5
H16 | 28.2594 | 28.2594 | 1:80 | 28.2865 | 0.049835 | HSPA5 | 1:80¦HSPA5
H17 | 28.2438 | 28.2438 |  |  |  | HSPA5
H18 | 28.3564 | 28.3564 |  |  |  | HSPA5
H19 | 29.4464 | 29.4464 | 1:160 | 29.3322 | 0.081477 | HSPA5 | 1:160¦HSPA5
H20 | 29.2878 | 29.2878 |  |  |  | HSPA5
H21 | 29.2622 | 29.2622 |  |  |  | HSPA5
I1 | 30.1607 | 30.1607 | 1:320 | 30.3859 | 0.16138 | HSPA5 | 1:320¦HSPA5
I2 | 30.4662 | 30.4662 |  |  |  | HSPA5
I3 | 30.5307 | 30.5307 |  |  |  | HSPA5
I4 | 29.5488 | 29.5488 | LC1 | 29.3668 | 0.13285 | HSPA5 | LC1¦HSPA5
I5 | 29.2354 | 29.2354 |  |  |  | HSPA5
I6 | 29.3161 | 29.3161 |  |  |  | HSPA5
I7 | 29.1096 | 29.1096 | LO1 | 28.8858 | 0.15835 | HSPA5 | LO1¦HSPA5
I8 | 28.7672 | 28.7672 |  |  |  | HSPA5
I9 | 28.7805 | 28.7805 |  |  |  | HSPA5
I10 | 28.7834 | 28.7834 | LP1 | 28.5806 | 0.15327 | HSPA5 | LP1¦HSPA5
I11 | 28.5456 | 28.5456 |  |  |  | HSPA5
I12 | 28.4129 | 28.4129 |  |  |  | HSPA5
I13 | 31.3724 | 31.3724 | HC1 | 31.4156 | 0.11157 | HSPA5 | HC1¦HSPA5
I14 | 31.3057 | 31.3057 |  |  |  | HSPA5
I15 | 31.5686 | 31.5686 |  |  |  | HSPA5
I16 | 28.2074 | 28.2074 | HO1 | 28.0342 | 0.14764 | HSPA5 | HO1¦HSPA5
I17 | 27.8466 | 27.8466 |  |  |  | HSPA5
I18 | 28.0485 | 28.0485 |  |  |  | HSPA5
I19 | 32.3647 | 32.3647 | HP1 | 32.2802 | 0.1463 | HSPA5 | HP1¦HSPA5
I20 | 32.0744 | 32.0744 |  |  |  | HSPA5
I21 | 32.4016 | 32.4016 |  |  |  | HSPA5
I22 | 28.864 | 28.864 | LC2 | 28.7389 | 0.11329 | HSPA5 | LC2¦HSPA5
I23 | 28.763 | 28.763 |  |  |  | HSPA5
I24 | 28.5897 | 28.5897 |  |  |  | HSPA5
J1 | 35.9931 | 35.9931 | LO2 | 37.2559 | 1.0654 | HSPA5 | LO2¦HSPA5
J2 | 37.1754 | 37.1754 |  |  |  | HSPA5
J3 | 38.5992 | 38.5992 |  |  |  | HSPA5
J4 | 35.0339 | 35.0339 | LP2 | 35.0576 | 0.023754 | HSPA5 | LP2¦HSPA5
J5 | 35.0814 | 35.0814 |  |  |  | HSPA5
J6 | 36.2002 |  |  |  |  | HSPA5
J7 | 37.5591 | 37.5591 | HC2 | 37.8082 | 0.24913 | HSPA5 | HC2¦HSPA5
J8 | 36.5843 |  |  |  |  | HSPA5
J9 | 38.0573 | 38.0573 |  |  |  | HSPA5
J10 | 29.6855 | 29.6855 | HO2 | 29.5663 | 0.095992 | HSPA5 | HO2¦HSPA5
J11 | 29.5627 | 29.5627 |  |  |  | HSPA5
J12 | 29.4505 | 29.4505 |  |  |  | HSPA5
J13 | 28.7019 | 28.7019 | HP2 | 28.5499 | 0.11256 | HSPA5 | HP2¦HSPA5
J14 | 28.4329 | 28.4329 |  |  |  | HSPA5
J15 | 28.515 | 28.515 |  |  |  | HSPA5
J16 | 29.6931 | 29.6931 | LC3 | 29.6241 | 0.092613 | HSPA5 | LC3¦HSPA5
J17 | 29.4932 | 29.4932 |  |  |  | HSPA5
J18 | 29.6861 | 29.6861 |  |  |  | HSPA5
J19 | 29.0757 | 29.0757 | LO3 | 29.1349 | 0.10666 | HSPA5 | LO3¦HSPA5
J20 | 29.2847 | 29.2847 |  |  |  | HSPA5
J21 | 29.0444 | 29.0444 |  |  |  | HSPA5
J22 | 29.9793 | 29.9793 | LP3 | 29.8464 | 0.11861 | HSPA5 | LP3¦HSPA5
J23 | 29.8686 | 29.8686 |  |  |  | HSPA5
J24 | 29.6913 | 29.6913 |  |  |  | HSPA5
K1 | 31.8941 | 31.8941 | HC3 | 31.8913 | 0.030287 | HSPA5 | HC3¦HSPA5
K2 | 31.8528 | 31.8528 |  |  |  | HSPA5
K3 | 31.9269 | 31.9269 |  |  |  | HSPA5
K4 | 31.0568 | 31.0568 | HO3 | 31.0746 | 0.22344 | HSPA5 | HO3¦HSPA5
K5 | 30.8104 | 30.8104 |  |  |  | HSPA5
K6 | 31.3568 | 31.3568 |  |  |  | HSPA5
K7 | 31.0606 | 31.0606 | HP3 | 30.8264 | 0.16586 | HSPA5 | HP3¦HSPA5
K8 | 30.6982 | 30.6982 |  |  |  | HSPA5
K9 | 30.7205 | 30.7205 |  |  |  | HSPA5
K10 | 28.2479 | 28.2479 | LC4 | 27.9836 | 0.1897 | HSPA5 | LC4¦HSPA5
K11 | 27.8914 | 27.8914 |  |  |  | HSPA5
K12 | 27.8116 | 27.8116 |  |  |  | HSPA5
K13 | 28.3999 | 28.3999 | LO4 | 28.053 | 0.26396 | HSPA5 | LO4¦HSPA5
K14 | 27.999 | 27.999 |  |  |  | HSPA5
K15 | 27.7601 | 27.7601 |  |  |  | HSPA5
K16 | 29.4443 |  | LP4 | 28.7644 | 0.065557 | HSPA5 | LP4¦HSPA5
K17 | 28.6988 | 28.6988 |  |  |  | HSPA5
K18 | 28.83 | 28.83 |  |  |  | HSPA5
K19 | 29.9888 | 29.9888 | HC4 | 29.5792 | 0.28974 | HSPA5 | HC4¦HSPA5
K20 | 29.3636 | 29.3636 |  |  |  | HSPA5
K21 | 29.3853 | 29.3853 |  |  |  | HSPA5
K22 | 32.6077 | 32.6077 | HO4 | 32.1721 | 0.31626 | HSPA5 | HO4¦HSPA5
K23 | 31.8664 | 31.8664 |  |  |  | HSPA5
K24 | 32.0423 | 32.0423 |  |  |  | HSPA5
L1 | 28.2961 | 28.2961 | HP4 | 28.2948 | 0.048299 | HSPA5 | HP4¦HSPA5
L2 | 28.2351 | 28.2351 |  |  |  | HSPA5
L3 | 28.3534 | 28.3534 |  |  |  | HSPA5
L4 | 26.7638 | 26.7638 | LC5 | 26.7559 | 0.022205 | HSPA5 | LC5¦HSPA5
L5 | 26.7256 | 26.7256 |  |  |  | HSPA5
L6 | 26.7782 | 26.7782 |  |  |  | HSPA5
L7 | 26.3938 | 26.3938 | LO5 | 26.2463 | 0.12965 | HSPA5 | LO5¦HSPA5
L8 | 26.0782 | 26.0782 |  |  |  | HSPA5
L9 | 26.267 | 26.267 |  |  |  | HSPA5
L10 | 26.5762 | 26.5762 | LP5 | 26.632 | 0.055765 | HSPA5 | LP5¦HSPA5
L11 | 26.6877 | 26.6877 |  |  |  | HSPA5
L12 | 25.8867 |  |  |  |  | HSPA5
L13 | 26.0156 | 26.0156 | HC5 | 26.232 | 0.15641 | HSPA5 | HC5¦HSPA5
L14 | 26.3801 | 26.3801 |  |  |  | HSPA5
L15 | 26.3002 | 26.3002 |  |  |  | HSPA5
L16 | 25.9181 | 25.9181 | HO5 | 25.7815 | 0.15691 | HSPA5 | HO5¦HSPA5
L17 | 25.5617 | 25.5617 |  |  |  | HSPA5
L18 | 25.8646 | 25.8646 |  |  |  | HSPA5
L19 | 25.8939 | 25.8939 | HP5 | 25.7805 | 0.093172 | HSPA5 | HP5¦HSPA5
L20 | 25.782 | 25.782 |  |  |  | HSPA5
L21 | 25.6656 | 25.6656 |  |  |  | HSPA5
M1 | 25.9249 | 25.9249 | LC6 | 25.6922 | 0.16464 | HSPA5 | LC6¦HSPA5
M2 | 25.5692 | 25.5692 |  |  |  | HSPA5
M3 | 25.5825 | 25.5825 |  |  |  | HSPA5
M4 | 25.9144 | 25.9144 | LO6 | 25.9045 | 0.16422 | HSPA5 | LO6¦HSPA5
M5 | 25.6987 | 25.6987 |  |  |  | HSPA5
M6 | 26.1006 | 26.1006 |  |  |  | HSPA5
M7 | 26.2704 | 26.2704 | LP6 | 26.1886 | 0.097186 | HSPA5 | LP6¦HSPA5
M8 | 26.2433 | 26.2433 |  |  |  | HSPA5
M9 | 26.052 | 26.052 |  |  |  | HSPA5
M10 | 26.5068 | 26.5068 | HC6 | 26.5016 | 0.022082 | HSPA5 | HC6¦HSPA5
M11 | 26.5257 | 26.5257 |  |  |  | HSPA5
M12 | 26.4724 | 26.4724 |  |  |  | HSPA5
M13 | 26.3482 |  | HO6 | 25.3019 | 0.30948 | HSPA5 | HO6¦HSPA5
M14 | 25.6114 | 25.6114 |  |  |  | HSPA5
M15 | 24.9924 | 24.9924 |  |  |  | HSPA5
M16 | 25.1513 | 25.1513 | HP6 | 25.3439 | 0.17072 | HSPA5 | HP6¦HSPA5
M17 | 25.3141 | 25.3141 |  |  |  | HSPA5
M18 | 25.5663 | 25.5663 |  |  |  | HSPA5
M19 | 25.2219 | 25.2219 | LPS1 | 25.062 | 0.11747 | HSPA5 | LPS1¦HSPA5
M20 | 24.9431 | 24.9431 |  |  |  | HSPA5
M21 | 25.021 | 25.021 |  |  |  | HSPA5
M22 | 26.4899 | 26.4899 | LPS2 | 26.4219 | 0.048075 | HSPA5 | LPS2¦HSPA5
M23 | 26.3888 | 26.3888 |  |  |  | HSPA5
M24 | 26.3871 | 26.3871 |  |  |  | HSPA5
N1 | 25.2989 | 25.2989 | LPS3 | 25.2782 | 0.015113 | HSPA5 | LPS3¦HSPA5
N2 | 25.2724 | 25.2724 |  |  |  | HSPA5
N3 | 25.2633 | 25.2633 |  |  |  | HSPA5
N4 | 25.2811 | 25.2811 | LPS4 | 25.2007 | 0.06389 | HSPA5 | LPS4¦HSPA5
N5 | 25.1248 | 25.1248 |  |  |  | HSPA5
N6 | 25.1963 | 25.1963 |  |  |  | HSPA5
N7 | 25.9015 | 25.9015 | LPS5 | 25.8615 | 0.10902 | HSPA5 | LPS5¦HSPA5
N8 | 25.9705 | 25.9705 |  |  |  | HSPA5
N9 | 25.7126 | 25.7126 |  |  |  | HSPA5
N10 | 26.1135 | 26.1135 | LPS6 | 26.206 | 0.26078 | HSPA5 | LPS6¦HSPA5
N11 | 26.5615 | 26.5615 |  |  |  | HSPA5
N12 | 25.9432 | 25.9432 |  |  |  | HSPA5
N13 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HSPA5 | EMPTY¦HSPA5
N14 | Undetermined | 40.1 |  |  |  | HSPA5
N15 | Undetermined | 40.1 |  |  |  | HSPA5
N16 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HSPA5 | EMPTY¦HSPA5
N17 | Undetermined | 40.1 |  |  |  | HSPA5
N18 | Undetermined | 40.1 |  |  |  | HSPA5
N19 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HSPA5 | EMPTY¦HSPA5
N20 | Undetermined | 40.1 |  |  |  | HSPA5
N21 | Undetermined | 40.1 |  |  |  | HSPA5
N22 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HSPA5 | EMPTY¦HSPA5
N23 | Undetermined | 40.1 |  |  |  | HSPA5
N24 | Undetermined | 40.1 |  |  |  | HSPA5
O1 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HSPA5 | EMPTY¦HSPA5
O2 | Undetermined | 40.1 |  |  |  | HSPA5
O3 | Undetermined | 40.1 |  |  |  | HSPA5
O4 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HSPA5 | EMPTY¦HSPA5
O5 | Undetermined | 40.1 |  |  |  | HSPA5
O6 | Undetermined | 40.1 |  |  |  | HSPA5
O7 | Undetermined | 40.1 | EMPTY | 40.1 | 0 | HSPA5 | EMPTY¦HSPA5
O8 | Undetermined | 40.1 |  |  |  | HSPA5
O9 | Undetermined | 40.1 |  |  |  | HSPA5

## IL1B
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 35.4188 | 0.057016 | 0.161% | 0.1 | -1
1:20 | 37.1866 | 0.39193 | 1.054% | 0.05 | -1.301
1:40 | 37.1877 | 0.12667 | 0.3406% | 0.025 | -1.6021
1:80 | 38.2354 | 0.76136 | 1.991% | 0.0125 | -1.9031
1:160 | 40.1 | 0 | 0% | 0.00625 | -2.2041
1:320 | 40.1 | 0 | 0% | 0.003125 | -2.5051
| Slope | -3.1505
| Efficiency | 2.0769
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | delta delta Ct (to Housekeepers)
BLANK¦IL1B | BLANK | 40.1 | 0 | 0% | 0.11893
1:10¦IL1B | 1:10 | 35.4188 | 0.057016 | 0.161% | 3.6403
1:20¦IL1B | 1:20 | 37.1866 | 0.39193 | 1.054% | 1
1:40¦IL1B | 1:40 | 37.1877 | 0.12667 | 0.3406% | 0.99922
1:80¦IL1B | 1:80 | 38.2354 | 0.76136 | 1.991% | 0.46463
1:160¦IL1B | 1:160 | 40.1 | 0 | 0% | 0.11893
1:320¦IL1B | 1:320 | 40.1 | 0 | 0% | 0.11893
LC1¦IL1B | LC1 | 38.8915 | 0.064787 | 0.1666% | 0.28766 | 1.2715
LO1¦IL1B | LO1 | 37.643 | 0.49118 | 1.305% | 0.71637 | 2.7127
LP1¦IL1B | LP1 | 36.7515 | 0.10791 | 0.2936% | 1.3744 | 5.8205
HC1¦IL1B | HC1 | 38.1943 | 0.43626 | 1.142% | 0.4788 | 9.7007
HO1¦IL1B | HO1 | 38.2191 | 0.4714 | 1.233% | 0.4702 | 1.5713
HP1¦IL1B | HP1 | 38.7363 | 0.0079594 | 0.02055% | 0.32221 | 11.6597
LC2¦IL1B | LC2 | 38.7573 | 0.1002 | 0.2585% | 0.31728 | 1.1812
LO2¦IL1B | LO2 | 40.1 | 0 | 0% | 0.11893 | 23.4943
LP2¦IL1B | LP2 | 40.1 | 0 | 0% | 0.11893 | 21.7252
HC2¦IL1B | HC2 | 39.6812 | 0.59222 | 1.492% | 0.16151
HO2¦IL1B | HO2 | 37.5973 | 0.31475 | 0.8372% | 0.74073 | 6.3796
HP2¦IL1B | HP2 | 38.3198 | 1.0562 | 2.756% | 0.43683 | 1.8943
LC3¦IL1B | LC3 | 37.1856 | 0 | 0% | 1.0008 | 7.6167
LO3¦IL1B | LO3 | 37.7183 | 0.0023823 | 0.006316% | 0.67801 | 4.6345
LP3¦IL1B | LP3 | 37.1082 | 0.89973 | 2.425% | 1.059 | 10.9223
HC3¦IL1B | HC3 | 40.1 | 0 | 0% | 0.11893 | 3.6334
HO3¦IL1B | HO3 | 37.4689 | 0.12682 | 0.3385% | 0.81358 | 13.1153
HP3¦IL1B | HP3 | 38.6837 | 0.91196 | 2.357% | 0.33483 | 4.1089
LC4¦IL1B | LC4 | 37.5243 | 1.0542 | 2.809% | 0.78129 | 2.3263
LO4¦IL1B | LO4 | 37.3255 | 0.22191 | 0.5945% | 0.9035 | 3.9634
LP4¦IL1B | LP4 | 37.9242 | 0.79006 | 2.083% | 0.58329 | 3.7836
HC4¦IL1B | HC4 | 37.9161 | 0.67585 | 1.782% | 0.58676 | 4.2322
HO4¦IL1B | HO4 | 38.7217 | 0 | 0% | 0.32565 | 14.2836
HP4¦IL1B | HP4 | 38.2371 | 0.75553 | 1.976% | 0.46406 | 1.9602
LC5¦IL1B | LC5 | 36.7428 | 0.35422 | 0.964% | 1.3831 | 2.249
LO5¦IL1B | LO5 | 36.5159 | 0.33318 | 0.9124% | 1.6327 | 1.9525
LP5¦IL1B | LP5 | 36.9248 | 0.30117 | 0.8156% | 1.2109 | 2.1394
HC5¦IL1B | HC5 | 37.142 | 0.45101 | 1.214% | 1.0332 | 1.4251
HO5¦IL1B | HO5 | 37.0544 | 1.4049 | 3.791% | 1.1014 | 1.0752
HP5¦IL1B | HP5 | 36.6104 | 0.72491 | 1.98% | 1.5237 | 1.7324
LC6¦IL1B | LC6 | 37.7599 | 0.76593 | 2.028% | 0.65771 | 0.80603
LO6¦IL1B | LO6 | 38.0736 | 0.80849 | 2.123% | 0.52297 | 0.61923
LP6¦IL1B | LP6 | 37.0228 | 0.80461 | 2.173% | 1.1272 | 1.4303
HC6¦IL1B | HC6 | 38.0091 | 1.2525 | 3.295% | 0.54821 | 0.86379
HO6¦IL1B | HO6 | 36.5453 | 0.85422 | 2.337% | 1.5979 | 1.8091
HP6¦IL1B | HP6 | 36.2976 | 0.23969 | 0.6603% | 1.9152 | 2.2105
LPS1¦IL1B | LPS1 | 38.231 | 0.53138 | 1.39% | 0.46614 | 0.44063
LPS2¦IL1B | LPS2 | 38.8332 | 1.2668 | 3.262% | 0.30018 | 0.92453
LPS3¦IL1B | LPS3 | 37.8287 | 0.77807 | 2.057% | 0.62548 | 0.67454
LPS4¦IL1B | LPS4 | 38.7007 | 0.089494 | 0.2312% | 0.33069 | 0.30633
LPS5¦IL1B | LPS5 | 37.2078 | 0.5995 | 1.611% | 0.98463 | 1.0399
LPS6¦IL1B | LPS6 | 38.0615 | 0.5063 | 1.33% | 0.52763 | 0.88081

## HSPA5
Standard dilution | Av CT | SD CT | CV CT | Dilution | log dilution
1:10 | 25.3771 | 0.1188 | 0.4681% | 0.1 | -1
1:20 | 26.2261 | 0.034536 | 0.1317% | 0.05 | -1.301
1:40 | 27.1464 | 0.060649 | 0.2234% | 0.025 | -1.6021
1:80 | 28.2865 | 0.049835 | 0.1762% | 0.0125 | -1.9031
1:160 | 29.3322 | 0.081477 | 0.2778% | 0.00625 | -2.2041
1:320 | 30.3859 | 0.16138 | 0.5311% | 0.003125 | -2.5051
| Slope | -3.3696
| Efficiency | 1.9805
Helper | Sample | Av Ct | SD Ct | CV Ct | delta Ct (to STD 20) | delta delta Ct (to Housekeepers)
BLANK¦HSPA5 | BLANK | 40.1 | 0 | 0% | 7.6314e-05
1:10¦HSPA5 | 1:10 | 25.3771 | 0.1188 | 0.4681% | 1.7863
1:20¦HSPA5 | 1:20 | 26.2261 | 0.034536 | 0.1317% | 1
1:40¦HSPA5 | 1:40 | 27.1464 | 0.060649 | 0.2234% | 0.53318
1:80¦HSPA5 | 1:80 | 28.2865 | 0.049835 | 0.1762% | 0.24464
1:160¦HSPA5 | 1:160 | 29.3322 | 0.081477 | 0.2778% | 0.11973
1:320¦HSPA5 | 1:320 | 30.3859 | 0.16138 | 0.5311% | 0.058275
LC1¦HSPA5 | LC1 | 29.3668 | 0.13285 | 0.4524% | 0.11693 | 0.51688
LO1¦HSPA5 | LO1 | 28.8858 | 0.15835 | 0.5482% | 0.16244 | 0.6151
LP1¦HSPA5 | LP1 | 28.5806 | 0.15327 | 0.5363% | 0.2001 | 0.84743
HC1¦HSPA5 | HC1 | 31.4156 | 0.11157 | 0.3551% | 0.028834 | 0.58419
HO1¦HSPA5 | HO1 | 28.0342 | 0.14764 | 0.5266% | 0.29068 | 0.97141
HP1¦HSPA5 | HP1 | 32.2802 | 0.1463 | 0.4532% | 0.01597 | 0.57789
LC2¦HSPA5 | LC2 | 28.7389 | 0.11329 | 0.3942% | 0.17958 | 0.66853
LO2¦HSPA5 | LO2 | 37.2559 | 1.0654 | 2.86% | 0.00053291 | 0.10528
LP2¦HSPA5 | LP2 | 35.0576 | 0.023754 | 0.06776% | 0.0023936 | 0.43726
HC2¦HSPA5 | HC2 | 37.8082 | 0.24913 | 0.6589% | 0.00036538 | 0.13688
HO2¦HSPA5 | HO2 | 29.5663 | 0.095992 | 0.3247% | 0.10203 | 0.87876
HP2¦HSPA5 | HP2 | 28.5499 | 0.11256 | 0.3942% | 0.20434 | 0.88612
LC3¦HSPA5 | LC3 | 29.6241 | 0.092613 | 0.3126% | 0.098076 | 0.74645
LO3¦HSPA5 | LO3 | 29.1349 | 0.10666 | 0.3661% | 0.13701 | 0.93649
LP3¦HSPA5 | LP3 | 29.8464 | 0.11861 | 0.3974% | 0.084254 | 0.86899
HC3¦HSPA5 | HC3 | 31.8913 | 0.030287 | 0.09497% | 0.020832 | 0.63645
HO3¦HSPA5 | HO3 | 31.0746 | 0.22344 | 0.719% | 0.036399 | 0.58677
HP3¦HSPA5 | HP3 | 30.8264 | 0.16586 | 0.538% | 0.043127 | 0.52922
LC4¦HSPA5 | LC4 | 27.9836 | 0.1897 | 0.6779% | 0.30089 | 0.89591
LO4¦HSPA5 | LO4 | 28.053 | 0.26396 | 0.9409% | 0.28696 | 1.2588
LP4¦HSPA5 | LP4 | 28.7644 | 0.065557 | 0.2279% | 0.17648 | 1.1448
HC4¦HSPA5 | HC4 | 29.5792 | 0.28974 | 0.9795% | 0.10113 | 0.72945
HO4¦HSPA5 | HO4 | 32.1721 | 0.31626 | 0.983% | 0.017194 | 0.75418
HP4¦HSPA5 | HP4 | 28.2948 | 0.048299 | 0.1707% | 0.24325 | 1.0275
LC5¦HSPA5 | LC5 | 26.7559 | 0.022205 | 0.08299% | 0.69628 | 1.1322
LO5¦HSPA5 | LO5 | 26.2463 | 0.12965 | 0.494% | 0.98627 | 1.1795
LP5¦HSPA5 | LP5 | 26.632 | 0.055765 | 0.2094% | 0.75778 | 1.3388
HC5¦HSPA5 | HC5 | 26.232 | 0.15641 | 0.5963% | 0.996 | 1.3738
HO5¦HSPA5 | HO5 | 25.7815 | 0.15691 | 0.6086% | 1.355 | 1.3228
HP5¦HSPA5 | HP5 | 25.7805 | 0.093172 | 0.3614% | 1.356 | 1.5417
LC6¦HSPA5 | LC6 | 25.6922 | 0.16464 | 0.6408% | 1.4403 | 1.7651
LO6¦HSPA5 | LO6 | 25.9045 | 0.16422 | 0.6339% | 1.2458 | 1.475
LP6¦HSPA5 | LP6 | 26.1886 | 0.097186 | 0.3711% | 1.026 | 1.3018
HC6¦HSPA5 | HC6 | 26.5016 | 0.022082 | 0.08332% | 0.82838 | 1.3053
HO6¦HSPA5 | HO6 | 25.3019 | 0.30948 | 1.223% | 1.8806 | 2.129
HP6¦HSPA5 | HP6 | 25.3439 | 0.17072 | 0.6736% | 1.8273 | 2.1091
LPS1¦HSPA5 | LPS1 | 25.062 | 0.11747 | 0.4687% | 2.2155 | 2.0942
LPS2¦HSPA5 | LPS2 | 26.4219 | 0.048075 | 0.182% | 0.87474 | 2.6941
LPS3¦HSPA5 | LPS3 | 25.2782 | 0.015113 | 0.05979% | 1.9112 | 2.0611
LPS4¦HSPA5 | LPS4 | 25.2007 | 0.06389 | 0.2535% | 2.0152 | 1.8667
LPS5¦HSPA5 | LPS5 | 25.8615 | 0.10902 | 0.4216% | 1.2829 | 1.3549
LPS6¦HSPA5 | LPS6 | 26.206 | 0.26078 | 0.9951% | 1.0138 | 1.6924

## Housekeeper deltaCT
| B2M | YWHAZ | HMBS | Geometric mean
LC1 | 0.25259 | 0.23717 | 0.19328 | 0.22623
LO1 | 0.29458 | 0.32852 | 0.19031 | 0.26408
LP1 | 0.26458 | 0.29195 | 0.17044 | 0.23613
HC1 | 0.07449 | 0.052506 | 0.030743 | 0.049357
HO1 | 0.31041 | 0.3764 | 0.22933 | 0.29924
HP1 | 0.03263 | 0.034519 | 0.018735 | 0.027634
LC2 | 0.3212 | 0.30329 | 0.19898 | 0.26862
LO2 | 0.0055929 | 0.0051822 | 0.0044749 | 0.0050619
LP2 | 0.0073561 | 0.012238 | 0.0018221 | 0.0054741
HC2 | 0.0031007 | 0.0030862 | 0.0019875 | 0.0026693
HO2 | 0.13342 | 0.15163 | 0.077373 | 0.11611
HP2 | 0.24133 | 0.30885 | 0.16453 | 0.2306
LC3 | 0.17176 | 0.13323 | 0.099117 | 0.13139
LO3 | 0.17467 | 0.17864 | 0.10035 | 0.1463
LP3 | 0.13877 | 0.12213 | 0.053781 | 0.096956
HC3 | 0.048799 | 0.041388 | 0.017362 | 0.032731
HO3 | 0.074273 | 0.080536 | 0.039906 | 0.062033
HP3 | 0.14781 | 0.16129 | 0.022699 | 0.081491
LC4 | 0.38684 | 0.3516 | 0.27853 | 0.33585
LO4 | 0.26705 | 0.25761 | 0.1722 | 0.22796
LP4 | 0.18798 | 0.26986 | 0.072227 | 0.15417
HC4 | 0.21047 | 0.14724 | 0.085992 | 0.13864
HO4 | 0.036248 | 0.032479 | 0.010066 | 0.022799
HP4 | 0.29693 | 0.28977 | 0.1542 | 0.23674
LC5 | 0.72919 | 0.68067 | 0.46866 | 0.615
LO5 | 0.92663 | 0.81851 | 0.77093 | 0.83621
LP5 | 0.7055 | 0.75831 | 0.33894 | 0.56601
HC5 | 1.0646 | 0.7249 | 0.49377 | 0.72498
HO5 | 1.241 | 0.96931 | 0.89364 | 1.0244
HP5 | 1.0078 | 0.85395 | 0.79064 | 0.87955
LC6 | 0.94466 | 0.86751 | 0.66299 | 0.81599
LO6 | 0.85151 | 0.91121 | 0.77639 | 0.84456
LP6 | 0.84148 | 0.89419 | 0.65059 | 0.78812
HC6 | 0.80347 | 0.69576 | 0.45727 | 0.63465
HO6 | 0.97148 | 0.88748 | 0.79933 | 0.8833
HP6 | 1.0014 | 0.84528 | 0.76835 | 0.86641
LPS1 | 0.68008 | 1.1117 | 1.566 | 1.0579
LPS2 | 0.19942 | 0.2932 | 0.58538 | 0.32468
LPS3 | 0.53459 | 1.0664 | 1.3986 | 0.92728
LPS4 | 0.66935 | 1.21 | 1.5533 | 1.0795
LPS5 | 0.61262 | 1.0979 | 1.2621 | 0.94685
LPS6 | 0.42663 | 0.79491 | 0.63382 | 0.59903